## Revision History
Date | Name | Changes
2024-12-18 | Akash Borate | Draft Template to share with Ingrasys

## EVT Build Matrix_1218
For Meta
For Ingrasys
Ingrasys | Configuration | Config A
Description
Rack Qty
01-CI Server Chassis (mini-rack) | Category |  | Ingrasys Note | Ingrasys Owner | Meta Note | Status
01- CI Compute Tray Assy | ODM PN | 1A72BSJ00-600-G
FB PN
| Quantity | 18
19-GB300 Module | ODM PN
FB PN
| Vendor | NVIDIA
MPN
| Quantity | 4 1
05- CPU Coldplate | ODM PN | TEMP-S000225733
FB PN
| Vendor | Cooler Master
| MPN | LC-04906-01-GP3S1
| Quantity | 2
05- GPU Coldplate | ODM PN | TEMP-S000225734
FB PN
| Vendor | Cooler Master
| MPN | LC-04907-01-GP3S1
| Quantity | 4
19- GB300 Module w/o cold plate | ODM PN | TEMP-S000225738
FB PN
| Vendor | NVIDIA
| MPN | 675-24480-0000-ES1
| Quantity | 1
11-Grace ARM | ODM PN |  | [12/27]Included in GB300(Nvidia consign) | Thomas Yeh
FB PN
Vendor
MPN
| Quantity | 1
10-SOCAMM | ODM PN | TEMP-S000225747
FB PN
| Vendor | Micron
| MPN | MT62F8G32DADV-026DWT:F
| Quantity | 1 8
19-GPU Chip | ODM PN |  | [12/27]Included in GB300(Nvidia consign)
FB PN
| Quantity | 1
19- NIC Card CX8 Dual Port 200G | ODM PN | TEMP-S000225739
FB PN
| Vendor | NVIDIA
| MPN | 900-9X88R-00CX-SP0
| Quantity | 2
19- Backend NIC, IO board | ODM PN | AD002476012
FB PN
| Vendor | NVIDIA
MPN
| Quantity | 2
19- HMC module for GB300 | ODM PN | TEMP-S000225740
FB PN
| Vendor | NVIDIA
| MPN | 699-24764-0004-ES1
| Quantity | 1
09- 2TB E1.S boot drive | ODM PN | ABS3T8HD000 Samsung: TEMP-S000225741 Micron: TEMP-S000225742 Kioxia: TEMP-S000225743
FB PN
| Vendor | Samsung Samsung/Micron/Kioxia
| MPN | Samsung: MZTL61T9HFJA-00AFB Micron: MTFDKBT1T9TFR-1BC4DABVA Kioxia: KXDZDRJJ1T92
| Quantity | 2 1
09- 8TB E1.S SSD | ODM PN | Samsung: TEMP-S000225744 WD: TEMP-S000225745 Micron: TEMP-S000225746 | [12/27]The system spec from Meta is 16TB, but this SSDs' spec is 8TB need Meta to clarify whitch is correct | Thomas Yeh
FB PN
| Vendor | Samsung/WD/Micron
| MPN | Samsung: MZOL67T6HBLC-00AFB WD: WUS6A7676PJP8X7 Micron: MTFDLBU7T6THC-1BK4FABVA
| Quantity | 4
19- PDB | ODM PN | PDB Brick: 1A72BTF00-600-G PDB Discrete: 1A72BTF00-600-G | [12/27]Included in GB300(Nvidia consign)
FB PN
| Quantity | 1
19- FAN Board_R | ODM PN | 1A72BTG00-600-G
FB PN
| Quantity | 1
19- FAN Board_L | ODM PN | 1A72BT500-600-G
FB PN
| Quantity | 1
19- FIO board | ODM PN | 1A72BTH00-600-G
FB PN
| Quantity | 1
19- DC-SCM 2.0 (include TPM+BSM+Sensor board) | ODM PN | 1A72BTC00-600-G
FB PN
| Quantity | 1
19- HDD BP (E1.S midplane) 19-E1.S backplane | ODM PN | 1A72BTD00-600-G
FB PN
| Quantity | 1
19- OSFP carrier board | ODM PN | 1A72BTJ00-600-G
FB PN
| Quantity | 1
05- FAN 4056 | ODM PN | TEMP-S000225519/TEMP-S000225520 | IGS update
FB PN
| Vendor | AVC/Sunon
| MPN | DFPQ0456B2GY081/XG40561BX-1Q991-S9W
| Quantity | 8
05- L10 Manifold (hot and cold, 1 set) | ODM PN | TEMP-S000225735 | IGS update
FB PN
| Vendor | Cooler Master
| MPN | LC-04915-01-GP3S1
| Quantity | 1
07- Fan extend cble | ODM PN |  | deleted
FB PN
Vendor
MPN
| Quantity | 1
07- HDDBD Power cable 07- 48V Power connector | ODM PN
FB PN
| Vendor | GLE Amphenol
MPN
| Quantity | 1
07- RJ 45 Front panel cable 07- DC-SCI cable | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Leakage sensor cable_1 07- DC-SCM2.0 cable | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Leakage sensor cable_2 07- NIC0 3-to-1 cable | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Leakage sensor cable_3 07- NIC1 3-to 1 cable | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Leakage sensor cable_4 07- Front IO board SlimSAS | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- 5 way cable (MCIO 38 Pin, MCIO x8, MCIO 148 Pin, Genz 4C+NIC1 power and sideband) 07- E1.S Backplane power cable | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- 5 way cable (MCIO 38 Pin, MCIO x8, MCIO 148 Pin, Genz 4C+NIC0 power and sideband) 07- E1.S Backplane MCIO Y cable 1 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- SlimSAS 74Pin to DC-SCI cable 07- E1.S Backplane MCIO Y cable 2 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- SlimSAS 124Pin cable 07- OSFP PWR cable | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- GenZ 4C + cable 07- OSFP sideband cable 1 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- HMC MCIOx8 Cable1 07- OSFP sideband cable 2 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- HMC MCIOx8 Cable0 07- E1.S SSD Y cable | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Right OSFP Sideband cable | ODM PN
FB PN
| Vendor | GLE
MPN
| Quantity | 1
07- Left OSFP Sideband cable | ODM PN
FB PN
| Vendor | GLE
MPN
| Quantity | 1
07- Right OSFP Overpass cable 1 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Right OSFP Overpass cable 0 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Left OSFP Overpass cable 1 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Left OSFP Overpass cable 0 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- PDB Sideband cable 07- Leakage sensor cable 1 | ODM PN
FB PN
| Vendor | GLE Amphenol
MPN
| Quantity | 1
07- GB200 Stby power cable 07- Leakage sensor cable 2 | ODM PN
FB PN
| Vendor | GLE Amphenol
MPN
| Quantity | 1
07- OSFP Power cable 07- Leakage sensor cable 3 | ODM PN
FB PN
| Vendor | GLE Amphenol
MPN
| Quantity | 1
07- Radsok Power Cable (2+2) 07- Leakage sensor cable 4 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Radsok Power Cable (3+3) 07- Hotswap sideband cable | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
27- Compute Tray Assy | ODM PN
FB PN
| Quantity | 1
27- MB Carrier Assy | ODM PN
FB PN
| Quantity | 2
Coolant | ODM PN |  | Follow GB200, IGS update
FB PN
| Quantity | 0
01- CI RMC Tray Assy | ODM PN | 1A72AMG00-600-G | Follow GB200, IGS update
| FB PN | 01-101003
| Quantity | 1
19- RMC_LED_board | ODM PN
FB PN
| Quantity | 1
19- RMC rear I/O BD | ODM PN
FB PN
| Quantity | 1
19-Rack Management Controller Board | ODM PN
FB PN
| Quantity | 1
05- Fan board | ODM PN
FB PN
| Quantity | 2
19-DC-SCM 2.0 (include TPM+BSM+Sensor board) | ODM PN
FB PN
| Quantity | 1
05- FAN 4056 | ODM PN | TEMP-S000222166/ TEMP-S000222167
FB PN
| Vendor | AVC/Sunon
| MPN | DFPQ0456B2GY079/XG40561BX-1Q979-S9W
| Quantity | 4
07- Fan signal cable_1 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Fan power cable_1 | ODM PN
FB PN
| Vendor | GLE
MPN
| Quantity | 1
07- Rear IO Singal cable | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Rear IO Power cable | ODM PN
FB PN
| Vendor | GLE
MPN
| Quantity | 1
07- RMC LCCU internal Power cable (Cold & hot water) | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- RMC LCCU internal Power cable_0 | ODM PN
FB PN
Vendor
MPN
| Quantity | 1
07- Leak detection cable_1 | ODM PN | DQ900AA0800
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Leak detection cable_2 | ODM PN |  | Follow GB200, remove leak detection cable
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Leak detection cable_3 | ODM PN |  | Follow GB200, remove leak detection cable
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- 48V Busbar cable | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Fan signal cable_0 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- Fan power cable_0 | ODM PN
FB PN
| Vendor | GLE
MPN
| Quantity | 1
27- Metal Chassis | ODM PN
FB PN
| Quantity | 1
27- RMC fan carrier | ODM PN
FB PN
| Quantity | 1
20 - CI NVSO Tray Assy | ODM PN | TBD
| FB PN | TBD
| Vendor | NVIDIA
| MPN | 920-9K33R-00MV-ES1
| Quantity | 1 9
27- Chassis Mechanical | ODM PN
FB PN
| Quantity | 1
55 - Rack & Power Sub-assy | Quantity | 1
06- HPR 80KW Rack Frame | ODM PN
FB PN
| Quantity | 1
Canister | ODM PN | 1A72B7000-600-G | Follow Catalina, IGS update | Gavin Su
| FB PN | 27-100238
| Quantity | 1
Fiber Patch Panel (1OU) | ODM PN | TEMP-S000222270 | Follow Catalina, IGS update | Jessy Chang
| FB PN | 23-103173
| Vendor | Corning
| MPN | FC-F-01OU128MCA
| Quantity | 1
Cable Cartridge (Left/Right) | ODM PN
FB PN
| Vendor | NVIDIA
| MPN | 965-24972-0020-000
| Quantity | 1 4
27- ORV3 power shelf rail | ODM PN | TEMP-S000222271 | Follow Catalina, IGS update. 1*RMC+1*Management SW+1*Minipack3+1*1OU Pizza Box+1*2OU Pizza box | Jessy Chang
| FB PN | 27-001501
| Vendor | Rittal
| MPN | 7844557
| Quantity | 6 5
27- ORV3 IT rail | ODM PN | TEMP-S000222274 | Follow Catalina, IGS update. 4*Supercap+4*Power shelf | Jessy Chang
| FB PN | 27-001499
| Vendor | Rittal
| MPN | 7844556
| Quantity | 3 8
27- Left Adapter Bracket Pre-assembly | ODM PN
FB PN
| Quantity | 1
27- Right Adapter Bracket Pre-assembly | ODM PN
FB PN
| Quantity | 1
27- Cartridge support bracket | ODM PN
FB PN
| Quantity | 1
27- Support Bracket | ODM PN
FB PN
| Quantity | 1
27- Drip tray | ODM PN
FB PN
| Quantity | 1
27- Top front_Rack Stiffener | ODM PN
FB PN
| Quantity | 1
27- Top back_Rack Stiffener | ODM PN
FB PN
| Quantity | 1
27- Bottom front_Rack Stiffener | ODM PN
FB PN
| Quantity | 1
27- Bottom back_Rack Stiffener | ODM PN
FB PN
| Quantity | 1
Rack Manifold with Bracket _left | ODM PN
FB PN
| Vendor | Cooler Master
MPN
| Quantity | 1
Rack Manifold with Bracket _right | ODM PN
FB PN
| Vendor | Cooler Master
MPN
| Quantity | 1
27- Top Scale out Eject Bar | ODM PN
FB PN
| Quantity | 2
27- Middle Scale out Eject Bar | ODM PN
FB PN
| Quantity | 2
27- Bottom Scale out Eject Bar | ODM PN
FB PN
| Quantity | 2
27- L10 system rail kit | ODM PN | TEMP-S000222734 TEMP-S000222735 TEMP-S000222736 | Follow Catalina, IGS update | Jessy Chang
| FB PN | 27-100239
| Vendor | Rittal
MPN
| Quantity | 27
Hot Manifold | ODM PN | TEMP-S000221562 |  | Eric
FB PN
| Vendor | CoolerMaster/AVC
| MPN | LC-04541-03-GP2S3/
| Quantity | 1
Cold Manifold | ODM PN | TEMP-S000221560 |  | Eric
FB PN
| Vendor | CoolerMaster/AVC
| MPN | LC-04540-03-GP2S3/
| Quantity | 1
Liquid Tube to AALC | ODM PN
FB PN
| Quantity | 1
14- Power Shelf | ODM PN |  | Follow Catalina pre BOM, IGS update. | Jessy Chang
| FB PN | 14-100015
| Vendor | AEI
| MPN | 700-037148-1000
| Quantity | 4
03- PSU (5.5 KW) | ODM PN |  | Follow Catalina pre BOM, IGS update. | Jessy Chang
| FB PN | 03-100049
| Vendor | AEI
| MPN | 700-037147-0000
| Quantity | 24
14- BBU Shelf | ODM PN
FB PN
| Vendor | Panasonic
MPN
| Quantity | 3
07- ORV3 AC input Cable_NEMA-A (left) | ODM PN | TEMP-S000222276
| FB PN | 07-100165
| Vendor | Amphenol
| MPN | 10175249-C78303
| Quantity | 6
07- ORV3 AC input Cable_NEMA-A (right) | ODM PN | TEMP-S000222277
| FB PN | 07-100169
| Vendor | Amphenol
| MPN | 10175743-C78303
| Quantity | 6
07- ORV3 AC input Cable_NEMA | ODM PN
FB PN
| Quantity | 6
54 - Network Sub-assy | Quantity | 1
07- RS485_0.5M - 2 for Power Shelf - 2 for BBU Shelf | ODM PN
FB PN
| Quantity | 4
07- RS485_1.5M - PSU to Wedge400 (upper x 1, lower x 1) - BBU to Wedge400 (upper x 1, lower x 1) | ODM PN
FB PN
| Quantity | 4
20- Wedge 400 | ODM PN
FB PN
| Vendor | Celestica
| MPN | R4018-F1051-04
| Quantity | 2
27- Wedge 400 Tray | ODM PN
FB PN
| Vendor | Celestica
| MPN | 3PL07TA0050
| Quantity | 2
27- Minipack 3 | ODM PN | TEMP-S000224821
FB PN
| Vendor | Celestica
| MPN | R3214-F9013-A3
| Quantity | 1
27- DC PSU Kit | ODM PN
FB PN
| Vendor | Celestica
| MPN | R3214-F8005-A1
| Quantity | 1
20- Management Switch 7010, come with tray | ODM PN | TEMP-S000222287 | Follow Catalina, IGS update | Jessy Chang
| FB PN | 20-100100
| Vendor | Arista
| MPN | FB-7010TX-48C-DC-RV3-F
| Quantity | 1
27- Management Switch Tray | ODM PN
FB PN
Vendor
MPN
| Quantity | 1
27- NV Switch Tray with slides | ODM PN
FB PN
| Vendor | NVIDIA
MPN
| Quantity | 1
24- Optics- tranceiver | ODM PN | TEMP-S000224305 | Follow Catalina, IGS update | Jessy Chang
| FB PN | 24-000842
| Vendor | NVIDIA
| MPN | 980-9I31N-00NM00
| Quantity | 4
07- 400G Fiber Cable - Compute Tray to Fiber PP L=2800 (L2=600mm) | ODM PN
FB PN
| Vendor | Corning
MPN
| Quantity | 40
07- 400G Fiber Cable - Compute Tray to Fiber PP L=3600 (L2=1000mm) | ODM PN
FB PN
| Vendor | Corning
MPN
| Quantity | 32
07- 400G Fiber Cable - Compute Tray to Fiber PP L=3600 (L2=600mm) | ODM PN
FB PN
| Vendor | Corning
MPN
| Quantity | 32
07- 200G DAC Cable - Compute Tray to Wedge400, 1M | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 28
07- GB300 Stby power cable | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 8
07- 10G DAC - RMC to Wedge400 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- 10G DAC - Management Switch to Wedge400_RSW1 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07- 10G DAC - Management Switch to Wedge400_RSW2 | ODM PN
FB PN
| Vendor | Amphenol
MPN
| Quantity | 1
07 - 100G DAC – Management Switch to Tor SW | ODM PN
FB PN
| Vendor | Amphenol/Molex
MPN
Quantity
07- RJ45 Cable - Compute Tray to RMC L1 | ODM PN
FB PN
| Quantity | 8
07- RJ45 Cable - Compute Tray to RMC L2 | ODM PN
FB PN
| Quantity | 4
07- RJ45 Cable - Compute Tray to RMC L3 | ODM PN
FB PN
| Quantity | 6
07- RJ45 Cable - NVSW_BMC to Management Switch | ODM PN
FB PN
| Quantity | 9
07- RJ45 Cable - NVSW_CP to Management Switch | ODM PN
FB PN
| Quantity | 9
07- 1.6T DAC Cable - Rack1_NVSW to Rack2_NVSW | ODM PN
FB PN
Vendor
| MPN | Amphenol
| Quantity | 162 per 2 Racks
07- RJ45 Cable - Wedge400_RSW2 to Power shelf-1 | ODM PN
FB PN
| Quantity | 1
07- RJ45 Cable - Power shelf-1 to Power shelf-2 & Power shelf-2 to Power shelf-3 | ODM PN
FB PN
| Quantity | 2
07- RJ45 Cable - Wedge400-RSW2 to BBU-1 | ODM PN
FB PN
| Quantity | 1
07- RJ45 Cable - BBU-1 to BBU-2 & BBU-2 to BBU-3 | ODM PN
FB PN
| Quantity | 2
07- RJ45 Cable - Rack1_MGNT Switch to Rack2_MGNT switch | ODM PN
FB PN
| Quantity | 2 per 2 Racks
07- RJ45 Cable - Rack1_RMC to AALC | ODM PN
FB PN
| Quantity | 2
07- RJ45 Cable - Rack2_RMC to AALC | ODM PN
FB PN
| Quantity | 2
07- RJ45 Cable - AALC1_PSU to Rack1_Wedge400 | ODM PN
FB PN
| Quantity | 1
07- RJ45 Cable - AALC2_PSU to Rack1_Wedge400 | ODM PN
FB PN
| Quantity | 1
07- RJ45 Cable - AALC3_PSU to Rack2_Wedge400 | ODM PN
FB PN
| Quantity | 1
07- RJ45 Cable - AALC4_PSU to Rack2_Wedge400 | ODM PN
FB PN
| Quantity | 1
07- leakage detection RJ45 Cable - Swtich Tray to RMC | ODM PN
FB PN
| Quantity | 9
1 GBE and 1 Console to TOR PON device | ODM PN
FB PN
| Quantity | 2
1 GBE and 1 Console to TOR PON device | ODM PN
FB PN
| Quantity | 9x2
1 GBE and 1 Console to TOR PON device | ODM PN
FB PN
| Quantity | 2x2
1 GBE to PON device | ODM PN
FB PN
| Quantity | 1
Coolant, ship in Wet - NV tray and the rest of L11 | Quantity | ea
26- Rack Packing_with Wooden Crate | Quantity | 1
1OU Air Baffle 1OU Pizza Box | ODM PN | TEMP-S000223211 | Follow Catalina, IGS update | Jessy Chang
| FB PN | 05-000676
| Vendor | Blue Rose Packaging
| MPN | BRP-61425.ARB
| Quantity | 1
2OU Pizza Box | ODM PN | TEMP-S000223212 | Follow Catalina, IGS update | Jessy Chang
| FB PN | 05-000677
| Vendor | Blue Rose Packaging
| MPN | BRP-63320.ARB
| Quantity | 1