## Revision History
TS | Name | Changes
2024-12-18 | Akash Borate | Draft Template to share with Ingrasys
12/28/2024 | Enya Chen | Based on draft template, Ingrasys release inital Clemente build matrix, updated items are marked with red. @Meta PLM and PQE team, there are some open items need Meta help to confirm or clarify, including Mfg PN of commodities parts. (See detail Ingrasys notes in Column I, need Meta help to provide feedback or comment in Column K)
01/08/2025 | Enya Chen | 1). Add "EVT2 Rack config" tab for IGS rack and Meta rack discussion @Meta, need Meta help to reivew and provide Meta rack configuraiton. 2). Add SOCAMM 2nd source (Kingston). 3). Add L10 Compute tray Cables' MPN and ODMPN. 4). Change to Quanta RMC. 5). Add Canister ODMPN. 6). Remove (Row 388-433) as they are included in Canister. 7). Remove Fiber Patch Panel, fiber and transiver. (should be in Side PWR Rack). 8). Based on IT Rack Cable Mapping discussing with Jaret. Add 800G AEC cable, 400G DAC cable and 10G DAC cable. 9). Change 2OU Pizza Box Qty from 1 to 3.
01/08/2025 | [cont] | @Michael, there are some parts' MPN need Meta help to confirm - (Row 26-30) 19- GB300 Module w/o cold plate - (Row 32-36) 10-SOCAMM - (Row 46-50) 10-LGA for CX8 - (Row 54-58) 19- NIC Card CX8 Dual Port 200G - (Row 59-63) 19- CX7 Backend NIC, IO board - (Row 64-66) 19- HMC module for GB300 - (Row 69-73) 09- 2TB E1.S boot drive - (Row 74-78) 09- 8TB E1.S SSD - (Row 345-349) 20 - CI NVSO Tray Assy - (Row 355-359) 06- IT Rack Frame - (Row 366-372) Cable Cartridge (Left/Right) - (Row 373-377) 27- ORV3 power shelf rail - (Row 378-382) 27- ORV3 IT rail - (Row 383-387) 27- MiniPack3 Railkit - (Row 434-438) 27- L10 system rail kit - (Row 452-456) 14- Power Shelf - (Row 457-461) 03- PSU (5.5 KW) - (Row 467-476) 07- ORV3 AC input Cable_NEMA-A (right) - (Row 508-512) 20- Management Switch 7010, come with tray - (Row 543-581) 800G AEC, 400G DAC cable and 10G DAC @Akash and Michael, per SOT meeting discussion, Meta will confirm L11 Cable list by 1/10 and update in SOT&Build Matrix. @Kavya, there are some question in need Meta help to clarify, pls see detail IGS notes in Column I
1/14/2025 | Akash Borate | 1) Moved L10 and L11 separate 2) Updated the rack config layout details with dummy trays
1/22/2025 | Kavya Srikanta Mudi | EVT2 - L11 Build Matrix Row 37 : 10-SOCAMM : Added the newly created FBPN 10-100141 @Enya : The MPN for Micron provided by CSM is Micron:MTD64C40327NL2N031F1. Hence upddating the same in build matrix Row 107 : Hot Manifold : Added newly created FBPN 27-100380 Row 112 : Cold Manifold : Added newly created FBPN 27-100381 Row 211 : 07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 2m : Added newly created FBPN 07-100608 @Enya : Please provide ODM PN Row 216 : 07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 2.2m : Added newly created FBPN 07-100594 @Enya : Please provide ODM PN Question : Row 213 & 218 : How can we have same Molex MPN across both 2m and 2.2m DAC cables? As per Datasheet for 2.0M Molex MPN is 2253611201 while for 2.2M it is 2253611206. Hence updated the same. Please reverify.
1/22/2025 | cont. | EVT2 - L10 Build Matrix Row 17 : 05- CPU Coldplate : Added the newly created FBPN 05-100220 Row 22 : 05- GPU Coldplate : Added the newly created FBPN 05-100219 Row 70 : 09- 2TB E1.S boot drive : Added the newly created FBPN 09-100274 Row 75 : 09- 8TB E1.S SSD : Added the newly created FBPNs 09-100273 (Samsung), 09-100272 (Micron), 09-100271 (WD) Row 80 : 19- PDB : Added the newly created FBPN 19-100591 @Enya : We see that the ODM PNs provided from PDB Brick: 1A72BTF00-600-G & PDB Discrete: 1A72BTF00-600-G are same and also they are differing from all the other ODM PNs provided. Can you please check and confirm if they are accurate and needs any udpate ? Row 89 : 19- FIO board : Added the newly created FBPN19-100592 Row 95 : 19-E1.S backplane : Added the newly created FBPN 19-100593 Row 101 : 19- HSC Board : Added the newly created FBPN 19-100594
1/22/2025 | cont. | Row 119 : 07- 54V Power connector : Added the newly created FBPN 07-100610 Row 124 : 07- DC-SCI cable : Added the newly created FBPN 07-100611 Row 129 : 07- DC-SCM2.0 cable : Added the newly created FBPN 07-100612 Row 134 : 07- NIC0 3-to-1 cable : Added the newly created FBPN 07-100613 Row 139 : 07- NIC1 3-to 1 cable : Added the newly created FBPN 07-100614 Row 144 : 07- Front IO board SlimSAS : Added the newly created FBPN 07-100615 Row 149 : 07- E1.S Backplane power cable : Added the newly created FBPN 07-100616 Row 154 : 07- E1.S Backplane MCIO Y cable 1 : Added the newly created FBPN 07-100617 Row 159 : 07- E1.S Backplane MCIO Y cable 2 : Added the newly created FBPN 07-100618 Row 164 : 07- OSFP PWR cable : Added the newly created FBPN 07-100619 Row 169 : 07- OSFP sideband cable 1 : Added the newly created FBPN 07-100620 Row 174 : 07- OSFP sideband cable 2 : Added the newly created FBPN 07-100621 Row 179 : 07- E1.S SSD Y cable : Added the newly created FBPN 07-100622 Row 214 : 07- Leakage sensor cable 1 : Added the newly created 07-100623 Row 219 : 07- Leakage sensor cable 2 : Added the newly created 07-100624 Row 224 : 07- Leakage sensor cable 3 : Added the newly created 07-100625 Row 229 : 07- Leakage sensor cable 4 : Added the newly created 07-100626 Row 234 : 07- Hotswap sideband cable : Added the newly created 07-100627 Row 239 : 07- 54V Busbar Clip : Added the newly created 07-100628 Row 244 : 27- Compute Tray Assy : Added the newly created 27-100382 @Enya : Please provide ODM PN
2025-01-24 | Enya Chen | EVT2 - L10 Build Matrix: (updated items are marked with red) 1). Update build matrix as structure form @Kui - (Row 10 - 80): Update structure for 19- GB300 Module - (Row 113 - 124): Update structure for 19- DC-SCM 2.0 ASSY 2). Add ODMPN and MPN: - (Row23 - 27) 05- SOCAMM Heatsinnk Left: Add ODMPN/MPN; include Cooler Master/AVC - (Row28 - 32) 05- SOCAMM Heatsinnk Right: Add ODMPN/MPN; include Cooler Master/AVC - (Row56 - 60) 05- GPU Cold Plate: Add ODMPN/MPN; inlcude Cooler Master - (Row 119 -121) 19- TPM: Add ODMPN 1A72BTA00-600-G - (Row139 - 143) 05- L10 Manifold (hot and cold, 1 set); Add ODMPN/MPN; include Cooler Master/AVC/Auras - (Row234 - 238) 07- 54V Busbar Clip: Add ODMPN/MPN; include TE/Bizlink - (Row239 - 241) 27- Compute Tray Assy: Add ODMPN 1A72CHE00-600-G 3). Update Information (Description, ODMPN or MPN) - (Row61 - 65) 10-SOCAMM: update ODMPN/MPN - (Row66 - 70): Update derscription from 10-LGA SOCAMM to 07-LGA SOCAMM Connecter; update ODMPN/MPN - (Row71 - 75): Update derscription from 10-LGA for CX8 to 07-LGA for CX8 Connecter. - (Row67 - 80) 19- NIC Card CX8 Dual Port 200G: Update ODMPN/MPN from TEMP-S000225739/6900-9X88E-00CX-SP0 to TEMP-S000227028/692-9X88E-00CX-ES1. - (Row81 - 85): Update description from 19- CX7 Backend NIC, IO board to 19- CX7 Frontend NIC, IO board. - (Row101 - 103) 19- PDB: Correct PBD Discrte ODMPN from 1A72BTF00-600-G to 1A72BTE00-600-G @Kavya, ODMPN of PDB Bike and PDB Discrete should be different, IGS has correct tht ODMPN of PDB Discrete 4). Remove 27- MB Carrier Assy (Row242 - 244).
2025-01-24 | cont. | EVT2 - L11 Build Matrix: (updated itmes are marked with red) 1). Update build matrix Structure: - Add L11 TLA Column (Row 6-7); Add L11 ODMPN 1A72BSQ00-600-G - (Row8 - 23): Add L10 Comupute tray, RMC and NVSO Tray under (Row8) 01-CI Server Chassis (mini-rack). 2). Add ODMPN and MPN: - (Row34-38) Cable Cartridge (Left/Right): Add ODMPN TEMP-S000224304. 3). Update Information (Description, ODMPN, MPN or Qty) - (Row19 - 23) 20 - CI NVSO Tray Assy: Update ODMPN/MPN from TEMP-S000225750/920-9K33R-00MV-ES1 to TEMP-S000226516/920-9K33R-00MV-ES0; update Qty from 9 to 3 - (Row59 - 63) Hot Manifold: Update ODMPN/MPN for CM part from TEMP-S000221562/LC-04541-03-GP2S3 to TEMP-S000227454/LC-05125-01-GP2S1; add AVC part's ODMPN/MPN TEMP-S000227002/SFA3680001-1 - (Row64 - 68) Cold Manifold: Update ODMPN/MPN for CM part from TEMP-S000221560/LC-04540-03-GP2S3 to TEMP-S000227453/LC-05124-01-GP2S1; add AVC ODMPN/MPN TEMP-S000227001/SFA3690001-1 - (Row113 - 117) 27- MiniPack3 Outer shelf: Add ODMPN TEMP-S000227194; update Vendor from Celestica to IMG. - (Row158 - 162) 07- 10G DAC 2.5m: Add detail cable type information (SFP+ to SFP+) in description. - (Row163 - 172) 07- 10G DAC 2.5m: Add detail cable type information (SFP+ to QSFP28) in description; Update ODMPN/MPN from TEMP-S000222299/ L02SF085-SD-H to TEMP-S000227577/L02QF025-SD-H 4). Remove parts old AC input whip left (Row79 - 83) and right (Row 84 - 88); add new AC input Whip (Row89 - 93), ODMPN/MPN TEMP-S000227146/10178161-C7A303 5). Add (Row94 - 96) VCM: ODMPN is 1A72CCY00-600-G. 6). Add (Row97 - 99) VCM (dual thick): ODMPN is 1A72CD400-600-G 7). Remvoe 800G cable (Row123 - 132) as they will be prepared by Meta-DC. 8). Add (Row148 - 152) Transciever A; @Kavya, IGS will update MPN once gettting information from Michael. 9). Add (Row153 - 156) 07- Loop back Cables - MP3: @Kavya, IGS will update MPN once getting information. 10). Remove (Row178 - 192) as it is same part at (Row158 - 172)
1/31/2025 | Kavya Srikanta Mudi | EVT2 - L10 Build Matrix Note : We see that lot of ODM PNs and MPNs are modified. We have a recommendation, going forward if there are any changes please always strike through and add the new value and highlight the cell for easy visibility. It's very hard to determine such changes if they are directly updated and hard to track based on revision history. 1. Row 126 : Coolant : Added newly created FBPN 05-100229 @Enya : Please provide ODM PN 2. Row 140 : 05- L10 Manifold (hot and cold, 1 set) : Added newly created FBPN 05-100229 3. Row 135 : 05- FAN 4056 : Added newly created FBPN 05-100223 4. Row 123 : 27- SCM Bracket : Added newly created FBPN 27-100383 @Enya : Please provide ODM PN 5. Row 120 : 19- TPM : Added newly created FBPN 19-100596 6. Row 117 : 19- SCM BOARD : Added newly created FBPN 19-100597 @Enya : Please provide ODM PN 7. Row 114 : 19- DC-SCM 2.0 ASSY : Added newly created FBPN 19-100598 8. Row 108 : 19- FAN Board_L : Added newly created FBPN 05-100222 9. Row 105 : 19- FAN Board_R : Added newly created FBPN 05-100221 10. Row 87 : 19- HMC module for GB300 : Added newly created FBPN 19-100603 11. Row 82 : 19- CX7 Frontend NIC, IO board : Added newly created FBPN 19-100602 @Enya : As per CSM the MPN for Front End NIC is 900-9X7AX-A54N-MC0 and not CX75343AMC-NEAC_FB. Please check and confirm 12. Row 77 : 19- NIC Card CX8 Dual Port 200G : Added newly created FBPN 19-100600 @Enya : As per BOM Structure Back End NIC is 800G and not 200G. 13. Row 72 : 07-LGA for CX8 Connecter : Added newly created FBPN 07-100632 14. Row 67 : 07-LGA SOCAMM Connecter : Added newly created FBPN 07-100631 15. Row 49 : 19- GPU Module w/ Cold Plate : Added newly created FBPN 19-100606 @Enya : Please provide ODM PN 16. Row 29 : 05- SOCAMM Heatsinnk Right : Added newly created FBPN 05-100226 17. Row 24 : 05- SOCAMM Heatsinnk Left : Added newly created FBPN 05-100225 18. Row 11 : 19- GB300 Module : Added newly created FBPN 19-100607 @Enya : Please provide ODM PN 19. Row 8 : 01- CI Compute Tray Assy : Added newly created FBPN 01-101139 (Samsung), 01-101140 (Micron), 01-101141 (WD) @Enya : Please provide ODM PN for Micron and WD EVT2 - L11 Build Matrix 1. Row 20 : 20 - CI NVSO Tray Assy : Added newly created FBPN 20-100200 2. Row 10 : 01- CI Compute Tray Assy : Added newly created FBPNs 01-101139 (Samsung), 01-101140 (Micron), 01-101141 (WD) @Enya : Please provide ODM PN for Micron and WD 3. Row 8 : 01-CI Server Chassis (mini-rack) : Added newly created FBPNs 01-101142 (Samsung), 01-101143 (Micron), 01-101144 (WD) @Enya : We did not see any specific row to capture FBPNs, could you please add the same. Also please confirm if there will be any ODM PNs provided. Note : 1. 09-100275 is created for BSM. But since we did not find a row in Matrix, adding it here. 2. The Quantity of GPU Coldplate is 1 in BOM Stcrture where as it is 0 in Build matrix. Can you please check and confirm 3. FBPN not created for 19- SXM7 GPU Module w/o cold plate as there is no MPN infromation available, will be added in DVT as per discussion with Dipni 4. FBPN not created for 19-HPM w/o GPU as there is no MPN infromation available, will be added in DVT as per discussion with Dipni 5. Row 60, why is GPU Coldplate quanity 0 ? 6. 05- GPU Cold Plate is moved from 19- GB300 Module to under 19- GPU Module w/ Cold Plate. Please udpate it accordingly. 7. We will be creating 3 Compute Tray Assembly Part numbers where as we only see 1 ODM PN, please help with remaining ODM PNs. Also we need to split the configs based on 3 vendors for 09- 8TB E1.S SSD. Request you to work with Akash and update the matrix accordingly. 8. 27-100384 is created for 27- Chassis Mechanical which should be defined under 01-CI Server Chassis (mini-rack)
2/8/2025 | Enya Chen | EVT2 - L10 Build Matrix 1. Row 286-288 : Coolant : Added ODM PN TEMP-S000189576 2. Row 275-279 : 07- 54V Busbar Clip : Updated Bizlink ODM PN TEMP-S000227991 and MPN 747-BL01B6S8BNB3Y24S2YK 3. Row 180-184 : 05- L10 Manifold (hot and cold, 1 set) : Updated Cooler Master ODM PN TEMP-S000226519 4. Row 158-160 : 19-BSM : Newly created and updated ODM PN 1A72BTB00-600-G and added FB PN 09-100275 (Base on last build matrix update) 5. Row 155-157 : 27- SCM Bracket : Added ODM PN 1A31NCD00-600-G 6. Row 149-151 : 19- SCM BOARD : Added ODM PN 1003BTN00-600-G 7. Row 134-136 : 19- PDB : Deleted PDB Brick 8. Row 131-133 : 27- SSD latch : Newly created and updated ODM PN 1A72CL900-600-G 9. Row 125-130 : 09- 8TB E1.S SSD : Added new row and updated ODM Assy PN TEMP-S000228056 10.Row 122-124 : 27- SSD holder : Newly created and updated ODM PN 1A72CEE00-600-G 11. Row 116-121 :09- 2TB E1.S boot drive : Added new row and updated ODM Assy PN TEMP-S000228055 12. Row 86-95 : 10-SOCAMM and 07-LGA SOCAMM Connector : Deleted and move to row 48-57 13. Row 81-85: 05- GPU Cold Plate: Copied from row 18-22 but quantity is 0 14. Row 73-75 : 19- GPU Module w/ Cold Plate : Added ODM PN TEMP-S000228054 15. Row 63-72 : 05- SOCAMM Heatsinnk Left and 05- SOCAMM Heatsinnk Right : Copied from row 23-32 but quantity is 0 16. Row 58-62 : 05- CPU Cold Plate : Copied from row 13-17 but quantity is 0 17. Row 48-57 : 10-SOCAMM and 07-LGA SOCAMM Connector : Move from row 86-95 and update Lotes ODM PN TEMP-S000227143 ->TEMP-S000228020 and Lotes MPN ACAM0018-P005C06CC ->ACAM0018-P005C40CC 18. Row 43-47 : 11- CPU : Added MPN Phantom PN (FBPN=MPN) @Kavya, as discussing with Kui, the CPU should be use phantom PN (FBPN =MPN), no ODM PN. Please let me know if i am misunderstand. 19. Row 38-42 : 19-HPM + SOCAMM w/cold plate w/o GPU : Added ODM PN TEMP-S000228053 20. Row 28-32 : 05- SOCAMM Heatsinnk Right : Updated Auras ODM PN TEMP-S000227729 and MPN 0S51B00114 21. Row 23-27 : 05- SOCAMM Heatsinnk Left : Updated Auras ODM PN TEMP-S000227728 and MPN 0S51B00115 22. Row 18-22 : 05- GPU Cold Plate : Updated ODM PN TEMP-S000226518 (CM), TEMP-S000227380 (AVC), TEMP-S000227348 (Auras) and MPN LC-04907-02-GP3S1 (CM), SFA3730001-1 (AVC), 0S51B00053 (Auras) 23. Row 13-17 : 05- GPU Cold Plate : Updated ODM PN TEMP-S000226515 (CM), TEMP-S000227382 (AVC), TEMP-S000227347 (Auras) and MPN LC-04906-02-GP3S1 (CM), SFA3720001-1 (AVC), 0S51B00052 (Auras) 24. Row 7-9 : 01- CI Compute Tray Assy : Update ODM PN 1A72BSJ00-600-G (Samsung) Note: 1. Based on BOM structure to adjust Build Matrix Structure. 2. As discussing with Kui, Ultrapass cable will be removed from L10 level, thus deleting Row167-171. 3. Row 7-9 : 01- CI Compute Tray Assy : Ingrasys will provide MPN for Micron and WD once ODMPN release. 4. Row76-80: 19- SXM7 GPU Module w/o Cold Plate: as discussing with Kui, the Qty should be 1 in Build matrix as one 19- GPU Module w/ Cold Plate only include one SXM7. 5. Kui will provide MPN of - Row76-80: 19- SXM7 GPU Module w/o Cold Plate - 19-HPM + SOCAMM w/o GPU; @Kui, the part doesn't shown in current BOM structure. Please help to clarify if the part needs to be added under Row38-42 (19-HPM + SOCAMM w/cold plate w/o GPU)
2/13/2025 | Pedro Acosta | EVT2 - L10 Build Matrix 1. Updated the Fusion BOM to reference ODM and MPN information provided on the BM 2/8/25 file on ECO-CS-AI-100764 2. Updated 19-100606 BOM: 19-100612 Qty changed to x1 on ECO-CS-AI-100764 @Enya: 3. Please provide ODM Number for the following FBPNs - Rows: 43, 76, 4. Please provide Vendor and MPN - Rows: 78, 79 5. Provided FBPN Mapping - Rows: 39, 44, 77, 123, 132 6. Please provide ODM PN for Micron and WD - Row: 7
2/21/2025 | Enya Chen | EVT2 - L11 Build Matrix (Based on latest Meta rack config and BOM structure - no Compute and NVSW tray) 1. Row 8 : Delete 01-CI Server Chassis (mini-rack) 2. Row 9-11 : Delete 01- CI Compute Tray Assy 3. Row 13-17 : 01- CI RMC Tray Assy move to under 15-; based on latest BOM structure. 4. Row 19-23 : Delete 20 - CI NVSO Tray Assy 5. Row 49 : Add 27- MiniPack3 Railkit ODM PN : TEMP-S000227145 6. Row 69 : 14- Power Shelf add ODM PN : TEMP-S000225752 7. Row 74 : 03- PSU (5.5 KW) add ODM PN : TEMP-S000225753 8. Row 79-83 : Add new AC Whip (07- ORV3 AC Whip) information : ODM PN : TEMP-S000227146 (Amphenol/ 10178161-C7A303) 9. Row 84- 93 : Delete old AC whip: 07- ORV3 AC input Cable_NEMA-A (left) and (right); Amphenol/10175249-C78303; Amphenol/10175743-C78303. 10. Row 94-96: Add VCM-1 (01_top-slim-vcm-44u_clc.asm): ODMPN 1A72CCY00-600-G 11. Row 97-99: Add VCM-2 (01_top-slim-vcm-44u-b_clc.asm): ODMPN 1A72CD400-600-G 12. Row 106: Change Minipack3 MPN from R3214-F9013-A3 to R3214-F9013-A2; Information from vendor, as currently only have PVT sample (A2). 13. Row117-121 : Description update to 07- 800G DAC 2x400G, add ODM PN : TEMP-S000227734/ TEMP-S000227731/ TEMP-S000229185, vendor add Luxshare/ Amphenol, MPN : Luxshare : L8BSQ015-SD-R/ Amphenol : NND1DQ-0002/ Amphenol : NND1DE-0002 Note: Meta approves use NND1DE-0002 (30AWS) in EVT2 phase since NND1DQ-0002 (25AWG) has LT problem 14. Row122-126: Remove 800G AEC/DAC cable; it will be prepared in DC. 15. Row127-131: update description to 07- 10G DAC -2500mm (SFP+ to QSFP28) quantity change to 2. 16. Row132-136: update description to 07- 10G DAC -2500mm (SFP+ to SFP+) 17. Row141-145 : Delete 07- GB300 Stby power cable. 18. Row146-150 : Delete 07- 10G DAC - RESW to SPR RSW - 2500mm. 19. Row147-171: Update RJ45 Qty, type (based on latest MRD discussing with Dipni); add all RJ45 ODMPN, MFG and MPN. 20. Row176-178 : Delete 07- leakage detection RJ45 Cable - RMC to NVSW 1600mm 21. Row179-183 :update description to 07- Leakage sensor RJ45 cable - 5600mm, ODM PN : TEMP-S000222267, Amphenol/ HWHHW-AA08 22. Row197: Update 2OU Pizza Box Quantity update to 3. @Pedro, Please help to provide FBPN (Row : 80, 95, 100,151, 157, 162, 167, 172) Note: 1. Latest Meta rack doesn't have compute tray, Please help to confrim if L11 "15-" only need 1. 2. About 07- RJ45 Cable, shield - 500mm (Row 175-161), Dipni is chekcing if w/o shielding RJ45 (GLE/ WJE240761B) could be use since it is used in Catalina project. 3. @Kui @Pedro, there are no compute tray in L11, does the L10 Build matrix still need to maintain? If so, which L10 build matrix should be update? Full compute tray or GPU-less compute tray? 4. @Kui @Pedro, regarding GPUs, NVIDIA has informed us that they are still in discussions with Meta about the FRU definition. therefore, GPU MPN has not been released yet.
2/24/2025 | Pedro Acosta | UPDATES PROVIDED IN BOLD BLUE COLOR NOTED BELOW EVT2 - L11 Build Matrix (Based on latest Meta rack config and BOM structure - no Compute and NVSW tray) @enya: I would like to keep the TLAs 15-102063, 15-102064, 15-102065 structured as is which would contain the 01-101142, 01-101143, and 01-101144 Chassis Servers of the GPU version structured and continue to main as Config A (to be used with DVT in the future). Config B would be the new TLA 15-102135 which has a new 01-Chassis 01-101157 but that one will be detached from the TLA used for EVT. 1. Row 8 : Delete 01-CI Server Chassis (mini-rack) 2. Row 9-11 : Delete 01- CI Compute Tray Assy 3. Row 13-17 : 01- CI RMC Tray Assy move to under 15-; based on latest BOM structure. - Updated ODM PN on ECO-CS-AI-100794 4. Row 19-23 : Delete 20 - CI NVSO Tray Assy - This is currently structured under the -01 Chassis, please update Build Matrix to reflect this 5. Row 49 : Add 27- MiniPack3 Railkit ODM PN : TEMP-S000227145 - Updated ODM PN on ECO-CS-AI-100794 6. Row 69 : 14- Power Shelf add ODM PN : TEMP-S000225752 - ODM PN Already reflects on FBPN, No update 7. Row 74 : 03- PSU (5.5 KW) add ODM PN : TEMP-S000225753 - ODM PN Already reflects on FBPN, No update 8. Row 79-83 : Add new AC Whip (07- ORV3 AC Whip) information : ODM PN : TEMP-S000227146 (Amphenol/ 10178161-C7A303) - Updated ODM PN on ECO-CS-AI-100794 9. Row 84- 93 : Delete old AC whip: 07- ORV3 AC input Cable_NEMA-A (left) and (right); Amphenol/10175249-C78303; Amphenol/10175743-C78303. Removed on ECO-CS-AI-100794 10. Row 94-96: Add VCM-1 (01_top-slim-vcm-44u_clc.asm): ODMPN 1A72CCY00-600-G - Added on ECO-CS-AI-100794 11. Row 97-99: Add VCM-2 (01_top-slim-vcm-44u-b_clc.asm): ODMPN 1A72CD400-600-G - Added on ECO-CS-AI-100794 12. Row 106: Change Minipack3 MPN from R3214-F9013-A3 to R3214-F9013-A2; Information from vendor, as currently only have PVT sample (A2). - Updated 54-1000090 BOM to replace new 30-100078 on ECO-CS-AI-100794 13. Row117-121 : Description update to 07- 800G DAC 2x400G, add ODM PN : TEMP-S000227734/ TEMP-S000227731/ TEMP-S000229185, vendor add Luxshare/ Amphenol, MPN : Luxshare : L8BSQ015-SD-R/ Amphenol : NND1DQ-0002/ Amphenol : NND1DE-0002 - Updated ODM PN and MPNs, and Description on ECO-CS-AI-100794 Note: Meta approves use NND1DE-0002 (30AWS) in EVT2 phase since NND1DQ-0002 (25AWG) has LT problem 14. Row122-126: Remove 800G AEC/DAC cable; it will be prepared in DC. - Removed on ECO-CS-AI-100794 15. Row127-131: update description to 07- 10G DAC -2500mm (SFP+ to QSFP28) quantity change to 2. - Updated Description and Qty change to x2 on ECO-CS-AI-100794
2/24/2025 | cont. | 16. Row132-136: update description to 07- 10G DAC -2500mm (SFP+ to SFP+) - Updated Description on ECO-CS-AI-100794 17. Row141-145 : Delete 07- GB300 Stby power cable. - Removed on ECO-CS-AI-100794 18. Row146-150 : Delete 07- 10G DAC - RESW to SPR RSW - 2500mm. - Removed on ECO-CS-AI-100794 19. Row147-171: Update RJ45 Qty, type (based on latest MRD discussing with Dipni); add all RJ45 ODMPN, MFG and MPN. - Updated on ECO-CS-AI-100794 20. Row176-178 : Delete 07- leakage detection RJ45 Cable - RMC to NVSW 1600mm - Removed on ECO-CS-AI-100794 21. Row179-183 :update description to 07- Leakage sensor RJ45 cable - 5600mm, ODM PN : TEMP-S000222267, Amphenol/ HWHHW-AA08 - Updated Description and Parent BOM on ECO-CS-AI-100794 22. Row197: Update 2OU Pizza Box Quantity update to 3. - Qty is already x3 on the BOM, No update done @Pedro, Please help to provide FBPN (Row : 80, 95, 100,151, 157, 162, 167, 172) - FBPNs provided for each Row. Note the rows may have shifted as I inserted a couple of lines. Note: (I believe most of the questions have been answered on email, please let me know if still pending information for these items) 1. Latest Meta rack doesn't have compute tray, Please help to confrim if L11 "15-" only need 1. 2. About 07- RJ45 Cable, shield - 500mm (Row 175-161), Dipni is chekcing if w/o shielding RJ45 (GLE/ WJE240761B) could be use since it is used in Catalina project. 3. @Kui @Pedro, there are no compute tray in L11, does the L10 Build matrix still need to maintain? If so, which L10 build matrix should be update? Full compute tray or GPU-less compute tray? 4. @Kui @Pedro, regarding GPUs, NVIDIA has informed us that they are still in discussions with Meta about the FRU definition. therefore, GPU MPN has not been released yet.
2/27/2025 | Enya Chen | EVT2 - L11 Build Matrix (Based on latest Meta rack config and BOM structure - no Compute and NVSW tray) 1. Row 7 : Add Config-B L11 Meta Rack ODM PN : 1A72D6F00-600-G. 2. Row44 : Update 27- ORV3 power shelf rail quantity to 8. 3. Row49 : Update 27- ORV3 IT rail quantity to 3. Note: Change item4-11, Based on Thermal information, change to use GB200 RMF in EVT2 phase due toe GB300 RFM LT problem (has get confirmation from Meta Thermal team) 4. Row60-64 : Delete Hot Manifold. (GB300 RMF) 5. Row65-69 : Delete Cold Mainifold. (GB300 RMF) 6. Row70-74 : Add GB200 Meta RMF_GS_Cold_CPC-Parker. (Based on Thermal information to update mainifold) 7. Row75-79 : Add GB200 Meta RMF_GS_Hot_CPC-Parker. (Based on Thermal information to update mainifold) 8. Row80-84 : Add GB200 RMF Hose GS Cold 6ft. (Based on Thermal information to update mainifold) 9. Row85-89 : Add GB200 RMF Hose GS Cold 4ft. (Based on Thermal information to update mainifold) 10. Row90-94 : Add GB200 RMF Hose GS Hot 6ft. (Based on Thermal information to update mainifold) 11. Row95-99 : Add GB200 RMF Hose GS Hot 4ft. (Based on Thermal information to update mainifold) @Pedro, Please help to provide FBPN (Row : 71, 76, 81, 86, 91, 96) @Pedro, Row189-193 (07- RJ45 Cable, shield - 500mm); suggest to apply a new FBPN for shielding RJ45 (07-100376 which used in GB200 is FBPN for RJ45 w/o shiedling - MFG/MPN GLE/WJE240761B) - Per check with Dipni in MRD, the RJ45 need to use shielding config.
2025-07-03 | Pedro Acosta | EVT2 - L11 Build Matrix (Based on latest Meta rack config and BOM structure - no Compute and NVSW tray) 1. Row 7 : Add Config-B L11 Meta Rack ODM PN : 1A72D6F00-600-G. --> We dont enter QPNs at the TLA level 2. Row44 : Update 27- ORV3 power shelf rail quantity to 8. --> Updated Qty to x8 on ECO-CS-AI-100794 3. Row49 : Update 27- ORV3 IT rail quantity to 3. --> Updated Qty to x3 on ECO-CS-AI-100794 Note: Change item4-11, Based on Thermal information, change to use GB200 RMF in EVT2 phase due toe GB300 RFM LT problem (has get confirmation from Meta Thermal team) 4. Row60-64 : Delete Hot Manifold. (GB300 RMF) - Removed from BOM on ECO-CS-AI-100808 5. Row65-69 : Delete Cold Mainifold. (GB300 RMF) - Removed from BOM on ECO-CS-AI-100808 6. Row70-74 : Add GB200 Meta RMF_GS_Cold_CPC-Parker. (Based on Thermal information to update mainifold) - Added to BOM on ECO-CS-AI-100808 7. Row75-79 : Add GB200 Meta RMF_GS_Hot_CPC-Parker. (Based on Thermal information to update mainifold) - Added to BOM on ECO-CS-AI-100808 8. Row80-84 : Add GB200 RMF Hose GS Cold 6ft. (Based on Thermal information to update mainifold) - Added to BOM on ECO-CS-AI-100808 9. Row85-89 : Add GB200 RMF Hose GS Cold 4ft. (Based on Thermal information to update mainifold) - Added to BOM on ECO-CS-AI-100808 10. Row90-94 : Add GB200 RMF Hose GS Hot 6ft. (Based on Thermal information to update mainifold) - Added to BOM on ECO-CS-AI-100808 11. Row95-99 : Add GB200 RMF Hose GS Hot 4ft. (Based on Thermal information to update mainifold) - Added to BOM on ECO-CS-AI-100808 @Pedro, Please help to provide FBPN (Row : 71, 76, 81, 86, 91, 96) - New FBPNs provided on each ROW and released on ECO-CS-AI-100808 @Pedro, Row189-193 (07- RJ45 Cable, shield - 500mm); suggest to apply a new FBPN for shielding RJ45 (07-100376 which used in GB200 is FBPN for RJ45 w/o shiedling - MFG/MPN GLE/WJE240761B) - Per check with Dipni in MRD, the RJ45 need to use shielding config. - New cable created 07-100713 and structured to BOM on ECO-CS-AI-100808
3/24/2025 | Enya Chen | EVT2 - L10 Build Matrix Config B (With Out GPU / Cold Plate Configuration, Samsung Only) : 1. Row 7-9 : 01- CI Compute Tray Assy : Update ODM PN 1A72BSJ00-600-GNG 2. Row 13-17 : 05- CPU Cold Plate : Updated ODM PN TEMP-S000229169 (BOYD), Vendor (add BOYD) and MPN 119851 (BOYD) 3. Row 18-22 : 05- GPU Cold Plate : Updated ODM PN TEMP-S000229170 (BOYD), Vendor (add BOYD) and MPN 119850 (BOYD) 4. Row 23-27 : 05- SOCAMM Heatsinnk Left : Updated ODM PN TEMP-S000229172 (BOYD), Vendor (add BOYD) and MPN 119853 (BOYD) 5. Row 28-32 : 05- SOCAMM Heatsinnk Right : Updated ODM PN TEMP-S000229173 (BOYD), Vendor (add BOYD) and MPN 119854 (BOYD) 6. Row 33-37 : 19- GB300 Module (including GPU) : Update ODM PN TEMP-S000228858, MPN 675-24480-0020-000 7. Row 58-62 : 05- CPU Cold Plate : Copied from row 13-17 but quantity is 0 8. Row 63-72 : 05- SOCAMM Heatsinnk Left and 05- SOCAMM Heatsinnk Right : Copied from row 23-32 but quantity is 0 9. Row 81-85: 05- GPU Cold Plate: Copied from row 18-22 but quantity is 1 10. Row 180-184 : 05- L10 Manifold (hot and cold, 1 set) : Updated ODM PN TEMP-S000229171 (BOYD), Vendor (add BOYD) and MPN 119852 (BOYD) 11. Row 190-194 : 07- DC-SCI cable : Updated ODM PN TEMP-S000231355 12. Row 195-199 : 07- DC-SCM2.0 cable : Updated ODM PN TEMP-S000229418 13. Row 200-204 : 07- NIC0 3-to-1 cable : Updated ODM PN TEMP-S000229419 14. Row 275-279 : 07- 54V Busbar Clip : Updated Bizlink ODM PN TEMP-S000228740 and MPN 115H0-040908-R1 Note: The Config-A L10 Compute Tray FBPNs (01-101139, 01-101140, 01-101141) and L11 FBPNs (15-102063, 15-102064, 15-102065), which were not used in EVT2, have now been changed for use in the DVT phase. Therefore, they have been grayed out to indicate they are no used in EVT2 Build matrix. ,
2025-04-04 | Pedro Acosta | EVT2 - L10 Build Matrix Config B (With Out GPU / Cold Plate Configuration, Samsung Only) : The following changes were incoporated on ECO-CS-AI-100863 1. Row 7-9 : 01- CI Compute Tray Assy : Update ODM PN 1A72BSJ00-600-GNG 2. Row 13-17 : 05- CPU Cold Plate : Updated ODM PN TEMP-S000229169 (BOYD), Vendor (add BOYD) and MPN 119851 (BOYD) 3. Row 18-22 : 05- GPU Cold Plate : Updated ODM PN TEMP-S000229170 (BOYD), Vendor (add BOYD) and MPN 119850 (BOYD) 4. Row 23-27 : 05- SOCAMM Heatsinnk Left : Updated ODM PN TEMP-S000229172 (BOYD), Vendor (add BOYD) and MPN 119853 (BOYD) 5. Row 28-32 : 05- SOCAMM Heatsinnk Right : Updated ODM PN TEMP-S000229173 (BOYD), Vendor (add BOYD) and MPN 119854 (BOYD) 6. Row 33-37 : 19- GB300 Module (including GPU) : Update ODM PN TEMP-S000228858, MPN 675-24480-0020-000 7. Row 58-62 : 05- CPU Cold Plate : Copied from row 13-17 but quantity is 0 8. Row 63-72 : 05- SOCAMM Heatsinnk Left and 05- SOCAMM Heatsinnk Right : Copied from row 23-32 but quantity is 0 9. Row 81-85: 05- GPU Cold Plate: Copied from row 18-22 but quantity is 1 10. Row 180-184 : 05- L10 Manifold (hot and cold, 1 set) : Updated ODM PN TEMP-S000229171 (BOYD), Vendor (add BOYD) and MPN 119852 (BOYD) 11. Row 190-194 : 07- DC-SCI cable : Updated ODM PN TEMP-S000231355 12. Row 195-199 : 07- DC-SCM2.0 cable : Updated ODM PN TEMP-S000229418 13. Row 200-204 : 07- NIC0 3-to-1 cable : Updated ODM PN TEMP-S000229419 This AVL Update was incorporated on ECO-CS-AI-100855 14. Row 275-279 : 07- 54V Busbar Clip : Updated Bizlink ODM PN TEMP-S000228740 and MPN 115H0-040908-R1

## EVT2 - L10 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Config B
| Description | With GPU / With Cold Plate Samsung, Micron, WD | With Out GPU / Cold Plate Configuration Samsung Only
| Rack Qty | 1 | 1 | Ingrasys Note | Ingrasys Owner | Meta Note | Status
01-CI Server Chassis (mini-rack) | Category | 01-101142 (Samsung) 01-101143 (Micron) 01-101144 (WD) | 01-101157 (Samsung)
01- CI Compute Tray Assy | ODM PN | Samsung: 1A72BSJ00-600-G Micron: 1A72D1G00-600-G WD: 1A72D1H00-600-G | Samsung: 1A72BSJ00-600-GNG
| FB PN | 01-101139 (Samsung) 01-101140 (Micron) 01-101141 (WD) | 01-101156 (Samsung)
| Quantity | 3 | 3
19- GB300 Module | ODM PN | TEMP-S000228052 | TEMP-S000228052 | [1/23] IGS update MfgPN and ODMPN [1/8] IGS suggest remove the level there are no assy MPN include Row16-46. [12/27] Does it mean IGS should be create a subBOM and ODMPN include (Row15-42)? | Thomas Yeh |  | Open
| FB PN | 01-101139 (Samsung) 01-101140 (Micron) 01-101141 (WD) | 19-100625
| Quantity | 1 | 1
05- CPU Cold Plate | ODM PN | CM: TEMP-S000226515 AVC: TEMP-S000227382 Auras: TEMP-S000227347 BOYD: TEMP-S000229169 | CM: TEMP-S000226515 AVC: TEMP-S000227382 Auras: TEMP-S000227347 BOYD: TEMP-S000229169 | [12/27] IGS update. | Eric Chou |  | Closed
| FB PN | 05-100220 | 05-100220
| Vendor | CM/AVC/Auras/BOYD | CM/AVC/Auras/BOYD
| MPN | CM: LC-04906-02-GP3S1 AVC: SFA3720001-1 Auras: 0S51B00052 BOYD: 119851 | CM: LC-04906-02-GP3S1 AVC: SFA3720001-1 Auras: 0S51B00052 BOYD: 119851
| Quantity | 2 | 2
05- GPU Cold Plate | ODM PN | CM: TEMP-S000226518 AVC: TEMP-S000227380 Auras: TEMP-S000227348 BOYD: TEMP-S000229170 | CM: TEMP-S000226518 AVC: TEMP-S000227380 Auras: TEMP-S000227348 BOYD: TEMP-S000229170 | [12/27] IGS update. | Eric Chou |  | Closed
| FB PN | 05-100219 | 05-100219
| Vendor | CM/AVC/Auras/BOYD | CM/AVC/Auras/BOYD
| MPN | CM: LC-04907-02-GP3S1 AVC: SFA3730001-1 Auras: 0S51B00053 BOYD: 119850 | CM: LC-04907-02-GP3S1 AVC: SFA3730001-1 Auras: 0S51B00053 BOYD: 119850
| Quantity | 4 | 4
05- SOCAMM Heatsinnk Left | ODM PN | CM:754-24059-0006-000 AVC: TEMP-S000227388 Auras: TEMP-S000227728 BOYD: TEMP-S000229172 | CM:754-24059-0006-000 AVC: TEMP-S000227388 Auras: TEMP-S000227728 BOYD: TEMP-S000229172
| FB PN | 05-100225 | 05-100225
| Vendor | Cooler Master / AVC / Auras/BOYD | Cooler Master / AVC / Auras/BOYD
| MPN | CM: CC-03850-01-GP3S1 AVC: SFA3750001-1 Auras: 0S51B00115 BOYD: 119853 | CM: CC-03850-01-GP3S1 AVC: SFA3750001-1 Auras: 0S51B00115 BOYD: 119853
| Quantity | 2 | 2
05- SOCAMM Heatsinnk Right | ODM PN | CM: 754-24059-0007-000 AVC: TEMP-S000227389 Auras: TEMP-S000227729 BOYD: TEMP-S000229173 | CM: 754-24059-0007-000 AVC: TEMP-S000227389 Auras: TEMP-S000227729 BOYD: TEMP-S000229173
| FB PN | 05-100226 | 05-100226
| Vendor | Cooler Master / AVC / Auras/BOYD | Cooler Master / AVC / Auras/BOYD
| MPN | CM: CC-03851-01-GP3S1 AVC: SFA3760001-1 Auras: 0S51B00114 BOYD: 119854 | CM: CC-03851-01-GP3S1 AVC: SFA3760001-1 Auras: 0S51B00114 BOYD: 119854
| Quantity | 2 | 2
19- GB300 Module (including GPU) | ODM PN | TEMP-S000225738 | TEMP-S000225738 TEMP-S000228858 | [12/27] Need Meta confirm the Mfg PN | Thomas Yeh |  | Open
| FB PN | 19-100601 | 19-100624
| Vendor | NVIDIA | NVIDIA
| MPN | 675-24480-0000-ES1 | 675-24480-0000-ES1 675-24480-0020-000
| Quantity | 1 | 1
19-HPM GB300 Module w/o GPU 19-HPM + SOCAMM w/cold plate w/o GPU | ODM PN | TEMP-S000228053 | TEMP-S000228053
| FB PN | 19-100613 | 19-100613
Vendor
MPN
| Quantity | 1 | 1
11- CPU | ODM PN
| FB PN | 11-100097 | 11-100097
| Vendor | NVIDIA | NVIDIA
| MPN | PHantom PN (FBPN=MPN) | PHantom PN (FBPN=MPN)
| Quantity | 2 | 2
10-SOCAMM | ODM PN | Micron: TEMP-S000227026 Kingston: TEMP-S000226361 | Micron: TEMP-S000227026 Kingston: TEMP-S000226361 | [1/23] IGS update MfgPN and ODMPN [1/8] Add Second Source. [12/27] IGS update. Need Meta help to confirm MPN | Thomas Yeh |  | Open
| FB PN | 10-100141 | 10-100141
| Vendor | Micron/Kingston | Micron/Kingston
| MPN | Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128 | Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128
| Quantity | 8 | 8
07-LGA SOCAMM Connecter | ODM PN | Lotes: TEMP-S000228020 FIT: TEMP-S000226159 | Lotes: TEMP-S000228020 FIT: TEMP-S000226159 | [1/23] IGS update MfgPN and ODMPN [1/8] IGS Update.MPN Information from Meta. | Thomas Yeh |  | Closed
| FB PN | 07-100631 | 07-100631
| Vendor | Lotes/FIT | Lotes/FIT
| MPN | Lotes: ACAM0018-P005C40CC FIT: PL06946-12NN0-4H | Lotes: ACAM0018-P005C40CC FIT: PL06946-12NN0-4H
| Quantity | 8 | 8
05- CPU Cold Plate | ODM PN | CM: TEMP-S000226515 AVC: TEMP-S000227382 Auras: TEMP-S000227347 BOYD: TEMP-S000229169 | CM: TEMP-S000226515 AVC: TEMP-S000227382 Auras: TEMP-S000227347 BOYD: TEMP-S000229169 | [12/27] IGS update. | Eric Chou |  | Closed
| FB PN | 05-100220 | 05-100220
| Vendor | CM/AVC/Auras/BOYD | CM/AVC/Auras/BOYD
| MPN | CM: LC-04906-02-GP3S1 AVC: SFA3720001-1 Auras: 0S51B00052 BOYD: 119851 | CM: LC-04906-02-GP3S1 AVC: SFA3720001-1 Auras: 0S51B00052 BOYD: 119851
| Quantity | 0 | 0
05- SOCAMM Heatsinnk Left | ODM PN | CM:754-24059-0006-000 AVC: TEMP-S000227388 Auras: TEMP-S000227728 BOYD: TEMP-S000229172 | CM:754-24059-0006-000 AVC: TEMP-S000227388 Auras: TEMP-S000227728 BOYD: TEMP-S000229172
| FB PN | 05-100225 | 05-100225
| Vendor | Cooler Master / AVC / Auras/BOYD | Cooler Master / AVC / Auras/BOYD
| MPN | CM: CC-03850-01-GP3S1 AVC: SFA3750001-1 Auras: 0S51B00115 BOYD: 119853 | CM: CC-03850-01-GP3S1 AVC: SFA3750001-1 Auras: 0S51B00115 BOYD: 119853
| Quantity | 0 | 0
05- SOCAMM Heatsinnk Right | ODM PN | CM: 754-24059-0007-000 AVC: TEMP-S000227389 Auras: TEMP-S000227729 BOYD: TEMP-S000229173 | CM: 754-24059-0007-000 AVC: TEMP-S000227389 Auras: TEMP-S000227729 BOYD: TEMP-S000229173
| FB PN | 05-100226 | 05-100226
| Vendor | Cooler Master / AVC / Auras/BOYD | Cooler Master / AVC / Auras/BOYD
| MPN | CM: CC-03851-01-GP3S1 AVC: SFA3760001-1 Auras: 0S51B00114 BOYD: 119854 | CM: CC-03851-01-GP3S1 AVC: SFA3760001-1 Auras: 0S51B00114 BOYD: 119854
| Quantity | 0 | 0
19- GPU Module w/ Cold Plate | ODM PN | TEMP-S000228054
| FB PN | 19-100606
| Quantity | 4
19- SXM7 GPU Module w/o Cold Plate | ODM PN
| FB PN | 19-100612 | 19-100612
Vendor
MPN
| Quantity | 1 | 1
05- GPU Cold Plate | ODM PN | CM: TEMP-S000226518 AVC: TEMP-S000227380 Auras: TEMP-S000227348 BOYD: TEMP-S000229170 | CM: TEMP-S000226518 AVC: TEMP-S000227380 Auras: TEMP-S000227348 BOYD: TEMP-S000229170 | [12/27] IGS update. | Eric Chou |  | Closed
| FB PN | 05-100219 | 05-100219
| Vendor | CM/AVC/Auras/BOYD | CM/AVC/Auras/BOYD
| MPN | CM: LC-04907-02-GP3S1 AVC: SFA3730001-1 Auras: 0S51B00053 BOYD: 119850 | CM: LC-04907-02-GP3S1 AVC: SFA3730001-1 Auras: 0S51B00053 BOYD: 119850
| Quantity | 1 | 1
10-SOCAMM | ODM PN | Micron: TEMP-S000225747 Micron: TEMP-S000227026 Kingston: TEMP-S000226361 | Micron: TEMP-S000225747 Micron: TEMP-S000227026 Kingston: TEMP-S000226361 | [1/23] IGS update MfgPN and ODMPN [1/8] Add Second Source. [12/27] IGS update. Need Meta help to confirm MPN | Thomas Yeh |  | Open
| FB PN | 10-100141 | 10-100141
| Vendor | Micron/Kingston | Micron/Kingston
| MPN | Micron: MT62F8G32DADV-026DWT:F Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128 | Micron: MT62F8G32DADV-026DWT:F Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128
| Quantity | 8 | 8
10-LGA SOCAMM 07-LGA SOCAMM Connecter | ODM PN | Lotes: TEMP-S000226158 Lotes: TEMP-S000227143 FIT: TEMP-S000226159 | Lotes: TEMP-S000226158 Lotes: TEMP-S000227143 FIT: TEMP-S000226159 | [1/23] IGS update MfgPN and ODMPN [1/8] IGS Update.MPN Information from Meta. | Thomas Yeh |  | Closed
| FB PN | 07-100631 | 07-100631
| Vendor | Lotes/FIT | Lotes/FIT
| MPN | Lotes: ACAM0018-P005C06C Lotes: ACAM0018-P005C06CC FIT: PL06946-12NN0-4H | Lotes: ACAM0018-P005C06C Lotes: ACAM0018-P005C06CC FIT: PL06946-12NN0-4H
| Quantity | 8 | 8
07-LGA for CX8 Connecter | ODM PN | TEMP-S000226160 | TEMP-S000226160 | [1/8] IGS Update. Need Meta help to confirm MPN | Thomas Yeh |  | Open
| FB PN | 07-100632 | 07-100632
| Vendor | Foxconn | Foxconn
| MPN | PL08517-12NN0-4H | PL08517-12NN0-4H
| Quantity | 2 | 2
19- NIC Card CX8 Dual Port 800G | ODM PN | TEMP-S000227028 | TEMP-S000227028 | [12/27] Need Meta confirm the Mfg PN | Thomas Yeh |  | Open
| FB PN | 19-100600 | 19-100600
| Vendor | NVIDIA | NVIDIA
| MPN | 692-9X88E-00CX-ES1 | 692-9X88E-00CX-ES1
| Quantity | 2 | 2
19- CX7 Frontend NIC, IO board | ODM PN | TEMP-S000226360 | TEMP-S000226360 | [1/8] IGS Update. [12/27] Could Meta help to provdie Mfg PN? | Thomas Yeh |  | Open
| FB PN | 19-100602 | 19-100602
| Vendor | NVIDIA | NVIDIA
| MPN | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB
| Quantity | 2 | 2
19- HMC module for GB300 | ODM PN | TEMP-S000225740 | TEMP-S000225740 | [12/27] Need Meta confirm the Mfg PN | Thomas Yeh |  | Open
| FB PN | 19-100603 | 19-100603
| Vendor | NVIDIA | NVIDIA
| MPN | 699-24764-0004-ES1 | 699-24764-0004-ES1
| Quantity | 1 | 1
09- 2TB E1.S boot drive | ODM PN | Samsung: TEMP-S000225741 Micron: TEMP-S000225742 Kioxia: TEMP-S000225743 | Samsung: TEMP-S000225741 Micron: TEMP-S000225742 Kioxia: TEMP-S000225743 | [12/27] Information from Meta Catherine. | Thomas Yeh |  | Closed
| ODM Assy PN | TEMP-S000228055 | TEMP-S000228055 | [12/27] Information from Meta Catherine. | Thomas Yeh |  | Closed
| FB PN | 09-100274 | 09-100274
| Vendor | Samsung/Micron/Kioxia | Samsung/Micron/Kioxia
| MPN | Samsung: MZTL61T9HFJA-00AFB Micron: MTFDKBT1T9TFR-1BC4DABVA Kioxia: KXDZDRJJ1T92 | Samsung: MZTL61T9HFJA-00AFB Micron: MTFDKBT1T9TFR-1BC4DABVA Kioxia: KXDZDRJJ1T92
| Quantity | 1 | 1
27- SSD holder | ODM PN | 1A72CEE00-600-G | 1A72CEE00-600-G
| FB PN | 27-100408 | 27-100408
| Quantity | 1 | 1
09- 8TB E1.S SSD | ODM PN | Samsung: TEMP-S000225744 WD: TEMP-S000225745 Micron: TEMP-S000225746 | Samsung: TEMP-S000225744 | [12/27] Informamtionn from Meta Catherine. The system spec from Meta is 16TB, but this SSDs' spec is 8TB need Meta to clarify whitch is correct | Thomas Yeh |  | Open
| ODM Assy PN | TEMP-S000228056 | TEMP-S000228056 | [12/27] Information from Meta Catherine. | Thomas Yeh |  | Closed
| FB PN | 09-100273 (Samsung) 09-100272 (Micron) 09-100271 (WD) | 09-100273 (Samsung)
| Vendor | Samsung/WD/Micron | Samsung/WD/Micron
| MPN | Samsung: MZOL67T6HBLC-00AFB WD: WUS6A7676PJP8X7 Micron: MTFDLBU7T6THC-1BK4FABVA | Samsung: MZOL67T6HBLC-00AFB
| Quantity | 4 | 4
27- SSD latch | ODM PN | 1A72CL900-600-G | 1A72CL900-600-G
| FB PN | 27-100267 | 27-100267
| Quantity | 1 | 1
19- PDB | ODM PN | PDB Discrete: 1A72BTE00-600-G | PDB Discrete: 1A72BTE00-600-G | [1/23] IGS update ODMPN [12/27] IGS update | Thomas Yeh |  | Closed
| FB PN | 19-100591 | 19-100591
| Quantity | 1 | 1
19- FAN Board_R 05- FAN Board_R | ODM PN | 1A72BTG00-600-G | 1A72BTG00-600-G | [12/27] IGS update | Thomas Yeh |  | Closed
| FB PN | 05-100221 | 05-100221
| Quantity | 1 | 1
19- FAN Board_L 05- FAN Board_L | ODM PN | 1A72BT500-600-G | 1A72BT500-600-G | [12/27] IGS update | Thomas Yeh |  | Closed
| FB PN | 05-100222 | 05-100222
| Quantity | 1 | 1
19- FIO board | ODM PN | 1A72BTH00-600-G | 1A72BTH00-600-G | [12/27] IGS update | Thomas Yeh |  | Closed
| FB PN | 19-100592 | 19-100592
| Quantity | 1 | 1
19- DC-SCM 2.0 ASSY (include 2*TPM+1*BSM+1*Sensor board) (include 2*TPM+1*Sensor board) | ODM PN | 1A72BTC00-600-G | 1A72BTC00-600-G | [12/27] IGS update | Thomas Yeh |  | Closed
| FB PN | 19-100598 | 19-100598
| Quantity | 1 | 1
19- SCM BOARD | ODM PN | 1003BTN00-600-G | 1003BTN00-600-G
| FB PN | 19-100597 | 19-100597
| Quantity | 1 | 1
19- TPM | ODM PN | 1A72BTA00-600-G | 1A72BTA00-600-G
| FB PN | 19-100596 | 19-100596
| Quantity | 1 | 1
27- SCM Bracket | ODM PN | 1A31NCD00-600-G | 1A31NCD00-600-G
| FB PN | 27-100383 | 27-100383
| Quantity | 1 | 1
19-BSM | ODM PN | 1A72BTB00-600-G | 1A72BTB00-600-G | [12/27] IGS update | Thomas Yeh |  | Closed
| FB PN | 09-100275 | 09-100275
| Quantity | 1 | 1
19-E1.S backplane | ODM PN | 1A72BTD00-600-G | 1A72BTD00-600-G | [12/27] IGS update | Thomas Yeh |  | Closed
| FB PN | 19-100595 | 19-100595
| Quantity | 1 | 1
19- OSFP carrier board | ODM PN | 1A72BTJ00-600-G | 1A72BTJ00-600-G | [12/27] IGS update | Thomas Yeh |  | Closed
| FB PN | 19-100593 | 19-100593
| Quantity | 1 | 1
07-UltraPass Cable | ODM PN | TEMP-MF00006714 | TEMP-MF00006714 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
FB PN
| Vendor | Amphenol | Amphenol
| MPN | KFGE25-18-A580D4A | KFGE25-18-A580D4A
| Quantity | 4 | 4
19- HSC Board | ODM PN | 1A72CF700-600-G | 1A72CF700-600-G | [1/8] IGS update. | Thomas Yeh |  | Closed
| FB PN | 19-100594 | 19-100594
| Quantity | 1 | 1
05- FAN 4056 | ODM PN | AVC: TEMP-S000225519 Sunon: TEMP-S000225520 | AVC: TEMP-S000225519 Sunon: TEMP-S000225520 | [12/27] IGS update | Alan Chang |  | Closed
| FB PN | 05-100223 | 05-100223
| Vendor | AVC Sunon | AVC Sunon
| MPN | AVC: DFPQ0456B2GY081 Sunon: XG40561BX-1Q991-S9W | AVC: DFPQ0456B2GY081 Sunon: XG40561BX-1Q991-S9W
| Quantity | 8 | 8
05- L10 Manifold (hot and cold, 1 set) | ODM PN | CM: TEMP-S000226519 AVC: TEMP-S000227387 Auras: TEMP-S000227350 BOYD: TEMP-S000229171 | CM: TEMP-S000226519 AVC: TEMP-S000227387 Auras: TEMP-S000227350 BOYD: TEMP-S000229171 | [12/27] IGS update | Alan Chang |  | Closed
| FB PN | 05-100224 | 05-100224
| Vendor | Cooler Master / AVC / Auras/ BOYD | Cooler Master / AVC / Auras/ BOYD
| MPN | CM: LC-04915-02-GP3S1 AVC: SFA3740001-1 Auras: 0S53B00024 BOYD: 119852 | CM: LC-04915-02-GP3S1 AVC: SFA3740001-1 Auras: 0S53B00024 BOYD: 119852
| Quantity | 1 | 1
07- 54V Power connector | ODM PN | TEMP-S000225990 | TEMP-S000225990 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100610 | 07-100610
| Vendor | Amphenol | Amphenol
| MPN | HWHHW-BA88 | HWHHW-BA88
| Quantity | 1 | 1
07- DC-SCI cable | ODM PN | TEMP-S000225991 TEMP-S000231355 | TEMP-S000225991 TEMP-S000231355 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100611 | 07-100611
| Vendor | Amphenol | Amphenol
| MPN | HGZ168-1229 | HGZ168-1229
| Quantity | 1 | 1
07- DC-SCM2.0 cable | ODM PN | TEMP-S000225992 TEMP-S000229418 | TEMP-S000225992 TEMP-S000229418 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100612 | 07-100612
| Vendor | Amphenol | Amphenol
| MPN | HGZ168-1230 | HGZ168-1230
| Quantity | 1 | 1
07- NIC0 3-to-1 cable | ODM PN | TEMP-S000225994 TEMP-S000229419 | TEMP-S000225994 TEMP-S000229419 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100613 | 07-100613
| Vendor | Amphenol | Amphenol
| MPN | HGZ168-1231 | HGZ168-1231
| Quantity | 1 | 1
07- NIC1 3-to 1 cable | ODM PN | TEMP-S000225993 | TEMP-S000225993 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100614 | 07-100614
| Vendor | Amphenol | Amphenol
| MPN | HGZ168-1232 | HGZ168-1232
| Quantity | 1 | 1
07- Front IO board SlimSAS | ODM PN | TEMP-S000225995 | TEMP-S000225995 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100615 | 07-100615
| Vendor | Amphenol | Amphenol
| MPN | HSL38-4032 | HSL38-4032
| Quantity | 1 | 1
07- E1.S Backplane power cable | ODM PN | TEMP-S000225996 | TEMP-S000225996 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100616 | 07-100616
| Vendor | Amphenol | Amphenol
| MPN | HWHHW-BA89 | HWHHW-BA89
| Quantity | 1 | 1
07- E1.S Backplane MCIO Y cable 1 | ODM PN | TEMP-S000225997 | TEMP-S000225997 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100617 | 07-100617
| Vendor | Amphenol | Amphenol
| MPN | HMC74-C264 | HMC74-C264
| Quantity | 1 | 1
07- E1.S Backplane MCIO Y cable 2 | ODM PN | TEMP-S000225998 | TEMP-S000225998 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100618 | 07-100618
| Vendor | Amphenol | Amphenol
| MPN | HMC74-C265 | HMC74-C265
| Quantity | 1 | 1
07- OSFP PWR cable | ODM PN | TEMP-S000225999 | TEMP-S000225999 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100619 | 07-100619
| Vendor | Amphenol | Amphenol
| MPN | HWHHW-BA90 | HWHHW-BA90
| Quantity | 1 | 1
07- OSFP sideband cable 1 | ODM PN | TEMP-S000226000 | TEMP-S000226000 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100620 | 07-100620
| Vendor | Amphenol | Amphenol
| MPN | HWHHW-BA91 | HWHHW-BA91
| Quantity | 1 | 1
07- OSFP sideband cable 2 | ODM PN | TEMP-S000226001 | TEMP-S000226001 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100621 | 07-100621
| Vendor | Amphenol | Amphenol
| MPN | HWHHW-BA92 | HWHHW-BA92
| Quantity | 1 | 1
07- E1.S SSD Y cable | ODM PN | TEMP-S000226109 | TEMP-S000226109 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100622 | 07-100622
| Vendor | Amphenol | Amphenol
| MPN | HGZ56-0922 | HGZ56-0922
| Quantity | 1 | 1
07- Leakage sensor cable 1 | ODM PN | TEMP-S000226002 | TEMP-S000226002 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100623 | 07-100623
| Vendor | Amphenol | Amphenol
| MPN | HWHHW-BA93 | HWHHW-BA93
| Quantity | 1 | 1
07- Leakage sensor cable 2 | ODM PN | TEMP-S000226003 | TEMP-S000226003 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100624 | 07-100624
| Vendor | Amphenol | Amphenol
| MPN | HWHHW-BA94 | HWHHW-BA94
| Quantity | 1 | 1
07- Leakage sensor cable 3 | ODM PN | TEMP-S000226004 | TEMP-S000226004 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100625 | 07-100625
| Vendor | Amphenol | Amphenol
| MPN | HWHHW-BA95 | HWHHW-BA95
| Quantity | 1 | 1
07- Leakage sensor cable 4 | ODM PN | TEMP-S000226005 | TEMP-S000226005 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100626 | 07-100626
| Vendor | Amphenol | Amphenol
| MPN | HWHHW-BA96 | HWHHW-BA96
| Quantity | 1 | 1
07- Hotswap sideband cable | ODM PN | TEMP-S000226110 | TEMP-S000226110 | [1/8] IGS update MfgPN and ODMPN [12/27] IGS update Interal cable list. Will provide MfgPN and ODMPN. | Thomas Yeh |  | Closed
| FB PN | 07-100627 | 07-100627
| Vendor | Amphenol | Amphenol
| MPN | HWHHW-BB41 | HWHHW-BB41
| Quantity | 1 | 1
07- 54V Busbar Clip | ODM PN | TE: TEMP-S000227638 Bizlink: TEMP-S000227991 Bizlink: TEMP-S000228740 | TE: TEMP-S000227638 Bizlink: TEMP-S000227991 Bizlink: TEMP-S000228740 | [1/23] IGS update MfgPN and ODMPN [1/8] IGS update. | Thomas Yeh |  | Closed
| FB PN | 07-100628 | 07-100628
| Vendor | TE/Bizlink | TE/Bizlink
| MPN | TE: 2502255-1 Bizlink: 747-BL01B6S8BNB3Y24S2YK Bizlink: 115H0-040908-R1 | TE: 2502255-1 Bizlink: 747-BL01B6S8BNB3Y24S2YK Bizlink: 115H0-040908-R1
| Quantity | 1 | 1
27- Compute Tray Assy | ODM PN | 1A72CHE00-600-G | 1A72CHE00-600-G
| FB PN | 27-100382 | 27-100382
| Quantity | 1 | 1
27- MB Carrier Assy | ODM PN
FB PN
| Quantity | 2 | 2
Coolant | ODM PN | TEMP-S000189576 | TEMP-S000189576
| FB PN | 05-100229 | 05-100229
| Quantity | 0 | 0

## EVT2 - L11 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Config B
| Description |  | NO-GPU; L10 DETACHED
| Rack Qty | 1 | 1 | Meta Note | Ingrasys Note | Ingrasys Owner | Meta Note | Status
TLA | FBPN | 15-102063 (Samsung) 15-102064 (Micron) 15-102065 (WD) | 15-102135 (Samsung)
| ODM PN | 1A72BSQ00-600-G | 1A72D6F00-600-G
01-CI Server Chassis (mini-rack) | Category | 01-101142 (Samsung) 01-101143 (Micron) 01-101144 (WD) | 01-101157 (Samsung) | Removed only from 15-10135 on ECO-CS-AI-100787
01- CI Compute Tray Assy | ODM PN | 1A72BSJ00-600-G
| FB PN | 01-101139 (Samsung) 01-101140 (Micron) 01-101141 (WD) | 01-101156 (Samsung) | Removed only from 15-10135 on ECO-CS-AI-100787
| Quantity | 3 | 3
01- CI RMC Tray Assy | ODM PN | TEMP-S000226516 | TEMP-S000226516
| FB PN | 01-101125 | 01-101125 | Updated ODM PN on ECO-CS-AI-100794
| Vendor | Qunta | Qunta
| MPN | 3RL05MA0010 | 3RL05MA0010
| Quantity | 1 | 1
20 - CI NVSO Tray Assy | ODM PN | TEMP-S000225750 TEMP-S000226516 | TEMP-S000225750 TEMP-S000226516
| FB PN | 20-100200 | 20-100200 | Structured to 01-Chassis Server | [1/8] IGS update Mfg/MFg PN and ODMPN, Need Meta help to Confirm MPN. | Jessy Chang |  | Open
| Vendor | NVIDIA | NVIDIA
| MPN | 920-9K33R-00MV-ES1 920-9K33R-00MV-ES0 | 920-9K33R-00MV-ES1 920-9K33R-00MV-ES0
| Quantity | 9 3 | 9 3
55 - Rack & Power Sub-assy | Quantity | 55-100197 | 55-100197
|  | 1 | 1 |  | [1/8] IGS update ODMPN. [12/27] Follow Catalina, IGS update. Will interal recheck | Jessy Chang |  | Closed
06- IT Rack Frame | ODM PN | TEMP-S000226517 | TEMP-S000226517
| FB PN | 06-100018 | 06-100018
| Vendor | Rittal | Rittal |  | [1/8] IGS update Mfg/MFg PN. Need Meta help to Confirm MPN. | Jessy Chang |  | Open
| MPN | 7844664 | 7844664
| Quantity | 1 | 1
Canister | ODM PN | 1A72B7000-600-G1 | 1A72B7000-600-G1
| FB PN | 27-100238 | 27-100238
| Quantity | 1 | 1 |  | [1/8] IGS update Qty to 4. Need Meta confirm MPN. - 4 pcs = 4*Power Shelf [12/27] Ref Catalina, IGS update. Need Meta confirm the MPN. 1*RMC+1*Management SW+1*Minipack3+1*1OU Pizza Box+1*2OU Pizza box | Jessy Chang |  | Open
Cable Cartridge (Left/Right) | ODM PN | TEMP-S000224304 | TEMP-S000224304
| FB PN | 07-100580 | 07-100580
| Vendor | NVIDIA | NVIDIA
| MPN | 965-24972-0020-000 | 965-24972-0020-000
| Quantity | 1 4 | 1 4 |  | [1/8] IGS update Qty to 6. Need Meta confirm MPN. - 6 pcs = 1*1OU Pizza + 3*2OU pizza box + 1*RMC + 1*Management SW [12/27] Ref Catalina, IGS update. Need Meta confirm the MPN.. 4*Supercap+4*Power shelf | Jessy Chang |  | Open
27- ORV3 power shelf rail | ODM PN | TEMP-S000222271 | TEMP-S000222271
| FB PN | 27-001501 | 27-001501
| Vendor | Rittal | Rittal
| MPN | 7844557 | 7844557
| Quantity | 4 8 | 4 8 | Updated on ECO-CS-AI-100794 | [1/8] IGS adds the Item and MPN PN from Catherine. | Jessy Chang |  | Closed
27- ORV3 IT rail | ODM PN | TEMP-S000222274 | TEMP-S000222274
| FB PN | 27-001499 | 27-001499
| Vendor | Rittal | Rittal
| MPN | 7844556 | 7844556
| Quantity | 6 3 | 6 3 | Updated on ECO-CS-AI-100794 | [1/8] IGS fill in MFG/MPN. Need Meta confirm MPN. [12/27] Ref Catalina, IGS update | Jessy Chang |  | Open
27- MiniPack3 Railkit | ODM PN | TEMP-S000227145 | TEMP-S000227145
| FB PN | 27-001629 | 27-001629
| Vendor | KingSlide | KingSlide
| MPN | U602-625-IM | U602-625-IM
| Quantity | 1 | 1 |  | [12/27] IGS update | Eric |  | Closed
27- L10 system rail kit | ODM PN | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736 | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736
| FB PN | 27-100239 | 27-100239
| Vendor | Kingslide | Kingslide
| MPN | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP
| Quantity | 27 | 27 |  | [12/27] IGS update | Eric |  | Closed
Hot Manifold | ODM PN | CM: TEMP-S000227454 AVC: TEMP-S000227002 | CM: TEMP-S000227454 AVC: TEMP-S000227002
| FB PN | 27-100380 | 27-100380
| Vendor | CoolerMaster/AVC | CoolerMaster/AVC
| MPN | CM: LC-05125-01-GP2S1 AVC: SFA3680001-1 | CM: LC-05125-01-GP2S1 AVC: SFA3680001-1
| Quantity | 1 | 1 |  | [12/27] IGS update. Need Meta confirm the MPN. | Jessy Chang |  | Open
Cold Manifold | ODM PN | CM: TEMP-S000227453 AVC: TEMP-S000227001 | CM: TEMP-S000227453 AVC: TEMP-S000227001
| FB PN | 27-100381 | 27-100381
| Vendor | CoolerMaster/AVC | CoolerMaster/AVC
| MPN | CM: LC-05124-01-GP2S1 AVC: SFA3690001-1 | CM: LC-05124-01-GP2S1 AVC: SFA3690001-1
| Quantity | 1 | 1 |  | [12/27] IGS update. Need Meta confirm the MPN. | Jessy Chang |  | Open
GB200 Meta RMF_GS_Cold_CPC-Parker | ODM PN | TEMP-S000227050 | TEMP-S000227050
| FB PN | 27-100372 27-100419 | 27-100372 27-100419 | Added to BOM on ECO-CS-AI-100808
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05004-01-GP2S1 | LC-05004-01-GP2S1
| Quantity | 1 | 1
GB200 Meta RMF_GS_Hot_CPC-Parker | ODM PN | TEMP-S000227051 | TEMP-S000227051
| FB PN | 27-100373 27-100420 | 27-100373 27-100420 | Added to BOM on ECO-CS-AI-100808
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05008-01-GP2S1 | LC-05008-01-GP2S1
| Quantity | 1 | 1
GB200 RMF Hose GS Cold 6ft | ODM PN | TEMP-S000224357 | TEMP-S000224357
| FB PN | 27-100377 27-100421 | 27-100377 27-100421 | Added to BOM on ECO-CS-AI-100808
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05015-01-GP2S1 | LC-05015-01-GP2S1
| Quantity | 1 | 1
GB200 RMF Hose GS Cold 4ft | ODM PN | TEMP-S000224358 | TEMP-S000224358
| FB PN | 27-100376 27-100422 | 27-100376 27-100422 | Added to BOM on ECO-CS-AI-100808
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05016-01-GP2S1 | LC-05016-01-GP2S1
| Quantity | 1 | 1
GB200 RMF Hose GS Hot 6ft | ODM PN | TEMP-S000224359 | TEMP-S000224359
| FB PN | 27-100378 27-100423 | 27-100378 27-100423 | Added to BOM on ECO-CS-AI-100808
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05017-01-GP2S1 | LC-05017-01-GP2S1
| Quantity | 1 | 1
GB200 RMF Hose GS Hot 4ft | ODM PN | TEMP-S000224360 | TEMP-S000224360
| FB PN | 27-100375 27-100424 | 27-100375 27-100424 | Added to BOM on ECO-CS-AI-100808
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05018-01-GP2S1 | LC-05018-01-GP2S1
| Quantity | 1 | 1
14- Power Shelf | ODM PN | TEMP-S000225752 | TEMP-S000225752
| FB PN | 14-100015 | 14-100015
| Vendor | AEI | AEI
| MPN | 700-037148-1000 | 700-037148-1000
| Quantity | 4 | 4
03- PSU (5.5 KW) | ODM PN | TEMP-S000225753 | TEMP-S000225753
| FB PN | 03-100049 | 03-100049
| Vendor | AEI | AEI
| MPN | 700-037147-0000 | 700-037147-0000
| Quantity | 24 | 24
07- ORV3 AC Whip | ODM PN | TEMP-S000227146 | TEMP-S000227146
| FB PN | 07-100609 | 07-100609 | Added on ECO-CS-AI-100794
| Vendor | Amphenol | Amphenol
| MPN | 10178161-C7A303 | 10178161-C7A303
| Quantity | 8 | 8
07- ORV3 AC input Cable_NEMA-A (left) | ODM PN | TEMP-S000222276 | TEMP-S000222276
| FB PN | 07-100165 | 07-100165
| Vendor | Amphenol | Amphenol | Removed on ECO-CS-AI-100794
| MPN | 10175249-C78303 | 10175249-C78303
| Quantity | 6 | 6
07- ORV3 AC input Cable_NEMA-A (right) | ODM PN | TEMP-S000222277 | TEMP-S000222277
| FB PN | 07-100169 | 07-100169
| Vendor | Amphenol | Amphenol | Removed on ECO-CS-AI-100794
| MPN | 10175743-C78303 | 10175743-C78303
| Quantity | 6 | 6
01_top-slim-vcm-44u_clc.asm | ODM PN | 1A72CCY00-600-G | 1A72CCY00-600-G
| FB PN | 27-100415 | 27-100415 | Added on ECO-CS-AI-100794
| Quantity | 2 | 2
01_top-slim-vcm-44u-b_clc.asm | ODM PN | 1A72CD400-600-G | 1A72CD400-600-G
| FB PN | 27-100416 | 27-100416 | Added on ECO-CS-AI-100794
| Quantity | 1 | 1
54 - Network Sub-assy | Quantity | 54-100090 | 54-100090
|  | 1 | 1
20 - Minipack3 ORV3 DC bundle (include PSU + power cord) | ODM PN | TEMP-S000224821 | TEMP-S000224821 |  | [1/8] IGS update description.Mfg PN has confirmed by Catherine [12/27] IGS update. Need Meta help to confirm MPN | Jessy Chang |  | Closed
| FB PN | 30-100078 | 30-100078 | Updated on ECO-CS-AI-100794
| Vendor | Celestica | Celestica
| MPN | R3214-F9013-A2 | R3214-F9013-A2
| Quantity | 1 | 1
27- MiniPack3 Outer shelf | ODM PN | TEMP-S000227194 | TEMP-S000227194 |  | [1/8] IGS update description and MPN. MPN has confirmed by Catherine. [12/27] IGS update. Need Meta help to confirm if this part need to be used and MPN. | Jessy Chang |  | Closed
| FB PN | 27-100124 | 27-100124
| Vendor | IMG | IMG
| MPN | R4002-F0101-03 | R4002-F0101-03
| Quantity | 1 | 1
20- Management Switch 7010, come with tray | ODM PN | TEMP-S000222287 | TEMP-S000222287 |  | [12/27] Ref Catalina, IGS update. Need Meta help to confirm MPN. | Jessy Chang |  | Open
| FB PN | 20-100100 | 20-100100
| Vendor | Arista | Arista
| MPN | FB-7010TX-48C-DC-RV3-F | FB-7010TX-48C-DC-RV3-F
| Quantity | 1 | 1
07- 800G OSFP to 2x400G OSFP DAC, 2m | ODM PN | TEMP-S000227734 TEMP-S000227731 TEMP-S000229185 | TEMP-S000227734 TEMP-S000227731 TEMP-S000229185 |  | [1/8] IGS update. Need Meta confirm MPN and final Rack connection. | Jessy Chang |  | Open
| FB PN | 07-100643 | 07-100643 | Updated on ECO-CS-AI-100794
| Vendor | Luxshare/ Amphenol | Luxshare/ Amphenol
| MPN | Luxshare : L8BSQ015-SD-R Amphenol : NND1DQ-0002 Amphenol : NND1DE-0002 | Luxshare : L8BSQ015-SD-R Amphenol : NND1DQ-0002 Amphenol : NND1DE-0002
| Quantity | 3 | 3
07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 2m | ODM PN |  |  |  | [1/8] IGS update. Need Meta confirm MPN and final Rack connection. | Jessy Chang |  | Open
| FB PN | 07-100608 | 07-100608 | Removed on ECO-CS-AI-100794
| Vendor | Credo/Molex | Credo/Molex
| MPN | Credo: CAC82X321A1B-C1-HW Molex: 2253611201 | Credo: CAC82X321A1B-C1-HW Molex: 2253611201
| Quantity | 24 | 24
07- 10G DAC -2500mm (SFP+ to QSFP28) | ODM PN | TEMP-S000227577 | TEMP-S000227577 |  | [1/8] IGS update. Need Meta confirm MPN and final Rack connection. | Jessy Chang | Removed the Grayed out area | Open
| FB PN | 07-100676 | 07-100676 | Updated on ECO-CS-AI-100794
| Vendor | LXP | LXP
| MPN | L02QF025-SD-H | L02QF025-SD-H
| Quantity | 2 | 2
07- 10G DAC -2500mm (SFP+ to SFP+) | ODM PN | TEMP-S000222299 | TEMP-S000222299 |  | [1/8] IGS update. Need Meta confirm MPN and final Rack connection. | Jessy Chang |  | Open
| FB PN | 07-100679 | 07-100679 | Updated on ECO-CS-AI-100794
| Vendor | LXP | LXP
| MPN | L02SF085-SD-H | L02SF085-SD-H
| Quantity | 1 | 1
07- GB300 Stby power cable | ODM PN |  |  |  | [1/8] IGS update. Need Meta confirm MPN and final Rack connection. | Jessy Chang |  | Open
| FB PN | 07-100675 | 07-100675 | Removed on ECO-CS-AI-100794
| Vendor | Amphenol | Amphenol
MPN
| Quantity | 8 | 8
07- 10G DAC - RESW to SPR RSW - 2500mm | ODM PN |  |  |  | [1/8] IGS update. Need Meta confirm MPN and final Rack connection. | Jessy Chang |  | Open
| FB PN | 07-100686 | 07-100686 | Removed on ECO-CS-AI-100794
Vendor
MPN
Quantity
07- RJ45 Cable, shield - 2500mm | ODM PN | TEMP-S000222309 TEMP-S000229179 | TEMP-S000222309 TEMP-S000229179 |  | [1/8] IGS update. Need Meta confirm MPN and final Rack connection. | Jessy Chang |  | Open
| FB PN | 07-100363 | 07-100363 | Updated on ECO-CS-AI-100794
| Vendor | GLE Bellwether | GLE Bellwether
| MPN | GLE : WJE240801B Bellwether : 76183-453R | GLE : WJE240801B Bellwether : 76183-453R
| Quantity | 3 | 3
07- RJ45 Cable, shield - 1500mm | ODM PN | TEMP-S000222307 | TEMP-S000222307
| FB PN | 07-100361 | 07-100361 | Updated on ECO-CS-AI-100794
| Vendor | GLE | GLE
| MPN | WJE240794B | WJE240794B
| Quantity | 4 | 4
07- RJ45 Cable, shield - 500mm | ODM PN | TEMP-S000228930 TEMP-S000229178 | TEMP-S000228930 TEMP-S000229178
| FB PN | 07-100376 07-100713 | 07-100376 07-100713 | Added to BOM on ECO-CS-AI-100808
| Vendor | GLE Bellwether | GLE Bellwether
| MPN | GLE : WJE250310B Bellwether : 76183-454R | GLE : WJE250310B Bellwether : 76183-454R
| Quantity | 4 | 4
07- RJ45 Cable, shield - 2000mm | ODM PN | TEMP-S000222325 | TEMP-S000222325 |  | [1/8] IGS update. Need Meta confirm MPN and final Rack connection. | Jessy Chang |  | Open
| FB PN | 07-100392 | 07-100392 | Updated on ECO-CS-AI-100794
| Vendor | GLE | GLE
| MPN | WJE240799B | WJE240799B
| Quantity | 4 | 4
07- RJ45 Cable, shield -6500mm | ODM PN | TEMP-S000226126 | TEMP-S000226126
| FB PN | 07-100684 | 07-100684 | Updated on ECO-CS-AI-100794
| Vendor | GLE | GLE
| MPN | WJE250008B | WJE250008B
| Quantity | 6 | 6
07- leakage detection RJ45 Cable - RMC to NVSW 1600mm | ODM PN | [5 empty] | Removed the Grayed out area
| FB PN | 07-100678 | 07-100678 | Removed on ECO-CS-AI-100794
| Quantity | 2 | 2
07- Leakage sensor RJ45 cable - 5600mm | ODM PN | TEMP-S000222267 | TEMP-S000222267
| FB PN | 07-100524 | 07-100524 | Updated on ECO-CS-AI-100794
| Vendor | Amphenol | Amphenol |  |  |  | Removed the Grayed out area
| MPN | HWHHW-AA08 | HWHHW-AA08
| Quantity | 1 | 1
Termination plug, 120 ohm | ODM PN | TEMP-S000227590 | TEMP-S000227590
| FB PN | 27-100417 | 27-100417 | Added to BOM on ECO-CS-AI-100794
| Vendor | Amphenol | Amphenol
| MPN | RJP-1MF-0002-HF | RJP-1MF-0002-HF
| Quantity | 1 | 1
Coolant, ship in Wet - NV tray and the rest of L11 | Quantity | ea | ea
26- Rack Packing_with Wooden Crate | Quantity | 1 | 1
1OU Pizza Box | ODM PN | TEMP-S000223211 | TEMP-S000223211
| FB PN | 05-000676 | 05-000676
| Vendor | Blue Rose Packaging | Blue Rose Packaging
| MPN | BRP-61425.ARB | BRP-61425.ARB
| Quantity | 1 | 1
2OU Pizza Box | ODM PN | TEMP-S000223212 | TEMP-S000223212
| FB PN | 05-000677 | 05-000677
| Vendor | Blue Rose Packaging | Blue Rose Packaging
| MPN | BRP-63320.ARB | BRP-63320.ARB
| Quantity | 3 | 3 | Qty is already x3; no update
[5 empty] | [12/27] IGS update. | Jessy Chang |  | Closed
[5 empty] | [1/9] IGS update Qty to 3. [12/27] IGS update. | Jessy Chang |  | Closed

## EVT2 Rack config
f
| EVT2 Rack config (Foxconn Rack) |  |  |  | EVT2 Rack config (Meta Rack)
| U44 | Rack Management Conroller | U44 |  | U44 | Rack Management Conroller | U44
| U43 | 2OU Air Baffle | U43 | not assy Suppercap shelf in EVT2 | U43 | 2OU Air Baffle | U43
| U42 |  | U42 | not assy Suppercap shelf in EVT2 | U42 |  | U42
| U41 | Power Shelf_1 | U41 |  | U41 | Power Shelf_1 | U41
| U40 | Power Shelf_2 | U40 |  | U40 | Power Shelf_2 | U40
| U39 | Minipack 3/ FE RSW | U39 |  | U39 | Minipack 3/ FE RSW | U39
| U38 |  | U38 |  | U38 |  | U38
| U37 |  | U37 |  | U37 |  | U37
| U36 |  | U36 |  | U36 |  | U36
| U35 | Dummy Compute Tray -18 | U35 |  | U35 | Dummy Compute Tray - 18 | U35 | Dummy Chassis for Compute tray
| U34 | Dummy Compute Tray - 17 | U34 |  | U34 | Dummy Compute Tray - 17 | U34 | Dummy Chassis for Compute tray
| U33 | Dummy Compute Tray - 16 | U33 |  | U33 | Dummy Compute Tray - 16 | U33 | Dummy Chassis for Compute tray
| U32 | Compute Tray-15 | U32 |  | U32 | Dummy Compute Tray - 15 | U32 | Dummy Chassis for Compute tray
| U31 | Compute Tray-14 | U31 |  | U31 | Dummy Compute Tray - 14 | U31 | Dummy Chassis for Compute tray
| U30 | Compute Tray-13 | U30 |  | U30 | Dummy Compute Tray - 13 | U30 | Dummy Chassis for Compute tray
| U29 | Compute Tray-12 | U29 |  | U29 | Dummy Compute Tray - 12 | U29 | Dummy Chassis for Compute tray
| U28 | Compute Tray-11 | U28 |  | U28 | Dummy Compute Tray - 11 | U28 | Dummy Chassis for Compute tray
| U27 | Compute Tray-10 | U27 |  | U27 | Dummy Compute Tray - 10 | U27 | Dummy Chassis for Compute tray
| U26 | Compute Tray-09 | U26 |  | U26 | Dummy Compute Tray - 09 | U26 | Dummy Chassis for Compute tray
| U25 | Swtich Tray-09 | U25 |  | U25 | Swtich Tray-02 | U25
| U24 | Swtich Tray-08 | U24 |  | U24 | Swtich Tray-01 | U24
| U23 | Swtich Tray-07 | U23 |  | U23 | Dummy Switch Tray - 03 | U23 | Dummy Chassis for Switch tray
| U22 | Swtich Tray-06 | U22 |  | U22 | Dummy Switch Tray - 04 | U22 | Dummy Chassis for Switch tray
| U21 | Swtich Tray-05 | U21 |  | U21 | Dummy Switch Tray - 05 | U21 | Dummy Chassis for Switch tray
| U20 | Swtich Tray-04 | U20 |  | U20 | Dummy Switch Tray - 06 | U20 | Dummy Chassis for Switch tray
| U19 | Swtich Tray-03 | U19 |  | U19 | Dummy Switch Tray - 07 | U19 | Dummy Chassis for Switch tray
| U18 | Dummy Switch Tray - 01 | U18 |  | U18 | Dummy Switch Tray - 08 | U18 | Dummy Chassis for Switch tray
| U17 | Dummy Switch Tray - 02 | U17 |  | U17 | Dummy Switch Tray - 09 | U17 | Dummy Chassis for Switch tray
| U16 | Compute Tray-08 | U16 |  | U16 | Dummy Compute Tray - 08 | U16 | Dummy Chassis for Compute tray
| U15 | Compute Tray-07 | U15 |  | U15 | Dummy Compute Tray - 07 | U15 | Dummy Chassis for Compute tray
| U14 | Compute Tray-06 | U14 |  | U14 | Dummy Compute Tray - 06 | U14 | Dummy Chassis for Compute tray
| U13 | Compute Tray-05 | U13 |  | U13 | Dummy Compute Tray - 05 | U13 | Dummy Chassis for Compute tray
| U12 | Compute Tray-04 | U12 |  | U12 | Dummy Compute Tray - 04 | U12 | Dummy Chassis for Compute tray
| U11 | Compute Tray-03 | U11 |  | U11 | Compute Tray-03 | U11
| U10 | Compute Tray-02 | U10 |  | U10 | Compute Tray-02 | U10
| U9 | Compute Tray-01 | U9 |  | U9 | Compute Tray-01 | U9
| U8 | 1OU Air Baffle | U8 |  | U8 | 1OU Air Baffle | U8
| U7 | Management SW (RESW) | U7 |  | U7 | Management SW (RESW) | U7
| U6 | 2OU Air Baffle | U6 |  | U6 | 2OU Air Baffle | U6
| U5 |  | U5 |  | U5 |  | U5
| U4 | Power Shelf_3 | U4 |  | U4 | Power Shelf_3 | U4
| U3 | Power Shelf_4 | U3 |  | U3 | Power Shelf_4 | U3
| U2 | 2OU Air Baffle | U2 | not assy Suppercap shelf in EVT2 | U2 | 2OU Air Baffle | U2
| U1 |  | U1 | not assy Suppercap shelf in EVT2 | U1 |  | U1