## Revision History
TS | Name | Changes
2025-03-18 | Akash Borate | Draft Template to share with Ingrasys
2025-03-21 | Enya Chen | 1. Ingrasys initial release DVT L10/L11 Build Matrix @Pedro: Based on discussing, #1). TLA keep to use (15-102063, 15-102064, 15-102065); #2). Remove mini-rack level; #3). FBPN of L10 Compute tray keep to use (01-101139, 01-101140, 01-101141) @Kui, per discussing, IGS add a "ODM ASSY PN" for Fan ASSY FRU (include fan and fan bracket)
2025-04-07 | Pedro Acosta | Channel Islands Clemente-GB300 L10 DVT 1. Updated new FBPNs to align with new MPN, and ODM PN provided. Green highlighted are items updated 2. Row # 156 - Duplicate ODM PN provided, please validate and provide new ODM PN 3. Row # 78-81 - New SXM7 Connected added, please provide ODM PN and MPN if available 4. Row # 6 - Missing ODM PN for Micron and WD Configurations, please provide ODM PN for remaining configuration 5. Row # 9 Confirm if we should be using a new ODM PN for the GB300 Module 6. Row # 40, 108, 138, 163, need ODM PN, please provide when available 7. Row #129-131, PDB Keep in the BOM and Build Matrix per PQE (Kui) Note* Three ECOs have been routed for approvals to release new FBPNs released, ECO-CS-AI-100855 - 07-Cables and misc FBPNs ECO-CS-AI-100856 - L6 PCBAs ECO-CS-AI-100859 - 19-CPU GPU Module and updates to 01-Server BOMs to add new FBPNs
2025-04-11 | Rex Tsai | DVT - L10 Build Matrix @Pedro, Please help to provide FBPN (Row : 13, 18, 131, 140, 146, 173, 211, 342, 345, 348, 351, 354, 357, 360, 363, 366, 369, 372) Add DVT - RMT L10 Build Matrix @Pedro, Please help to provide FBPN (Row : 7, 10, 13, 16, 19, 22, 25, 28, 31, 34, 37, 40, 43, 48, 53, 58, 63, 68, 73, 78, 83, 88, 93, 96, 99, 102, 105, 108, 113, 118, 121, 124, 127, 132, 137) DVT - L11 Build Matrix @Pedro, Please help to provide FBPN (Row : 6, 8, 11, 14, 18, 24, 30, 35, 40, 45, 75, 80, 85, 90, 95, 100, 120, 123, 127, 147, 152, 157, 162, 167, 207, 212, 217)

## DVT - L10 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Meta Comments | Ingrasys Note
| Description | With GPU / With Cold Plate Samsung, Micron, WD
| Rack Qty | 1
01- CI Compute Tray Assy | ODM PN | 1A72DR800-600-G (Samsung) 1A72EUL00-600-G (Micron) 1A72EUM00-600-G (WD) | Missing Micron, WD ODM PN | Updated
| FB PN | 01-101139 (Samsung) 01-101140 (Micron) 01-101141 (WD)
| Quantity | 1
19- GB300 Module | ODM PN | TEMP-S000228052 | Need new ODM PN?
| FB PN | 19-100682
| Quantity | 1
01 - QD Matrix A, DVT1 | ODM PN | CM: TEMP-S000230647 AVC: TEMP-S000230648 Auras: TEMP-S000230649 BOYD: TEMP-S000230650
| FB PN | TBD
| Vendor | CM/AVC/Auras/BOYD
| MPN | CM: TEMP-S000230647 AVC: TEMP-S000230648 Auras: TEMP-S000230649 BOYD: TEMP-S000230650
| Quantity | 1
01 - QD Matrix B, DVT1 | ODM PN | CM: TEMP-S000231081 AVC: TEMP-S000231083 Auras: TEMP-S000231084 BOYD: TEMP-S000231085
| FB PN | TBD
| Vendor | CM/AVC/Auras/BOYD
| MPN | CM: TEMP-S000231081 AVC: TEMP-S000231083 Auras: TEMP-S000231084 BOYD: TEMP-S000231085
| Quantity | 1
05- CPU Cold Plate | ODM PN | CM: TEMP-S000230368 AVC: TEMP-S000232109 Auras: TEMP-S000230497 BOYD: TEMP-S000230458
| FB PN | 05-100287
| Vendor | CM/AVC/Auras/BOYD
| MPN | CM: LC-04906-02-GP3S2 AVC: SFA3721002 Auras: 0S51B00144 BOYD: 121049
| Quantity | 2
05- GPU Cold Plate | ODM PN | CM: TEMP-S000230371 AVC: TEMP-S000232110 Auras: TEMP-S000230498 BOYD: TEMP-S000230461
| FB PN | 05-100283
| Vendor | CM/AVC/Auras/BOYD
| MPN | CM: LC-04907-02-GP3S2 AVC: SFA3731001 Auras: 0S51B00143 BOYD: 121048
| Quantity | 4
05- SOCAMM Heatsinnk Left | ODM PN | CM: TEMP-S000231829 AVC: TEMP-S000232112 Auras: TEMP-S000230500 BOYD: TEMP-S000229172
| FB PN | 05-100285
| Vendor | CM/AVC/Auras/BOYD
| MPN | CM: CC-03850-02-GP3S1 AVC: SFA3750003 Auras: 0S51B00145 BOYD: 119853
| Quantity | 2
05- SOCAMM Heatsinnk Right | ODM PN | CM: TEMP-S000231830 AVC: TEMP-S000232113 Auras: TEMP-S000230501 BOYD: TEMP-S000229173
| FB PN | 05-100286
| Vendor | CM/AVC/Auras/BOYD
| MPN | CM: CC-03851-02-GP3S1 AVC: SFA3760003 Auras: 0S51B00146 BOYD: 119854
| Quantity | 2
19- GB300 Module (including GPU) HPM + GPU | ODM PN | TEMP-S000228119
| FB PN | 19-100681
| Vendor | NVIDIA
| MPN | 675-24480-0000-QS1
| Quantity | 1
19-HPM + SOCAMM w/cold plate w/o GPU | ODM PN | 1A72D4500-600-G
| FB PN | 19-100680
| Quantity | 1
11- CPU | ODM PN |  | Need ODM PN
| FB PN | 11-100103
| Vendor | NVIDIA
| MPN | PHantom PN (FBPN=MPN)
| Quantity | 2
10-SOCAMM | ODM PN | Micron: TEMP-S000227026 Kingston: TEMP-S000226361
| FB PN | 10-100141
| Vendor | Micron/Kingston
| MPN | Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128
| Quantity | 8
07-LGA SOCAMM Connecter | ODM PN | Lotes: TEMP-S000228020 FIT: TEMP-S000226159
| FB PN | 07-100631
| Vendor | Lotes/FIT
| MPN | Lotes: ACAM0018-P005C40CC FIT: PL06946-12NN0-4H
| Quantity | 8
05- CPU Cold Plate | ODM PN | CM: TEMP-S000230368 AVC: TEMP-S000232109 Auras: TEMP-S000230497 BOYD: TEMP-S000230458
| FB PN | 05-100287
| Vendor | CM/AVC/Auras/BOYD
| MPN | CM: LC-04906-02-GP3S2 AVC: SFA3721002 Auras: 0S51B00144 BOYD: 121049
| Quantity | 0
05- SOCAMM Heatsinnk Left | ODM PN | CM: TEMP-S000231829 AVC: TEMP-S000232112 Auras: TEMP-S000230500 BOYD: TEMP-S000229172
| FB PN | 05-100285
| Vendor | CM/AVC/Auras/BOYD
| MPN | CM: CC-03850-02-GP3S1 AVC: SFA3750003 Auras: 0S51B00145 BOYD: 119853
| Quantity | 0
05- SOCAMM Heatsinnk Right | ODM PN | CM: TEMP-S000231830 AVC: TEMP-S000232113 Auras: TEMP-S000230501 BOYD: TEMP-S000229173
| FB PN | 05-100286
| Vendor | CM/AVC/Auras/BOYD
| MPN | CM: CC-03851-02-GP3S1 AVC: SFA3760003 Auras: 0S51B00146 BOYD: 119854
| Quantity | 0
19- GPU Module w/ Cold Plate | ODM PN | 1A72CYU00-600-G
| FB PN | 19-100678
| Quantity | 4
19- SXM7 GPU Module w/o Cold Plate | ODM PN | NA
| FB PN | 19-100677
Vendor
| MPN | NA
| Quantity | 1
07- SXM7 LGA Connector | ODM PN |  | Need ODM PN
| FB PN | 07-100762
| Vendor |  | Need Vendor
| MPN |  | Need MPN
| Quantity | 1 | SXM7 LGA should be 2
05- GPU Cold Plate | ODM PN | CM: TEMP-S000230371 AVC: TEMP-S000232110 Auras: TEMP-S000230498 BOYD: TEMP-S000230461
| FB PN | 05-100283
| Vendor | CM/AVC/Auras/BOYD
| MPN | CM: LC-04907-02-GP3S2 AVC: SFA3731001 Auras: 0S51B00143 BOYD: 121048
| Quantity | 0
07-LGA for CX8 Connecter | ODM PN | TEMP-S000232700
| FB PN | 07-100632
| Vendor | Foxconn
| MPN | PL08517-12NN0-4H
| Quantity | 2
19- NIC Card CX8 Dual Port 800G | ODM PN | TEMP-S000227028 TEMP-S000228538 | need new ODM? | Updated
| FB PN | 19-100676
| Vendor | NVIDIA
| MPN | 900-9X88E-00CX-QS3
| Quantity | 2
19- CX7 Frontend NIC, IO board | ODM PN | TEMP-S000226360
| FB PN | 19-100602
| Vendor | NVIDIA
| MPN | CX75343AMC-NEAC_FB
| Quantity | 2
19- HMC module for GB300 | ODM PN | TEMP-S000228108
| FB PN | 19-100683
| Vendor | NVIDIA
| MPN | 699-24764-0004-QS1
| Quantity | 1
27- HMC Bracket | ODM PN | 1A72AJ000-600-G | Need ODM PN | Updated
| FB PN | 27-100434
| Quantity | 1
09- 2TB E1.S boot drive | ODM PN | Samsung: TEMP-S000225741 Micron: TEMP-S000225742 Kioxia: TEMP-S000225743
| ODM Assy PN | 1A72D4300-600-G
| FB PN | 09-100274
| Vendor | Samsung/Micron/Kioxia
| MPN | Samsung: MZTL61T9HFJA-00AFB Micron: MTFDKBT1T9TFR-1BC4DABVA Kioxia: KXDZDRJJ1T92
| Quantity | 1
27- SSD holder | ODM PN | 1A72CEE00-600-G
| FB PN | 27-100408
| Quantity | 1
27- E1.S 9.5mm SSD Screw | ODM PN | 2A58BDB00-600-G
| FB PN | TBD
| Quantity | 2
09- 8TB E1.S SSD | ODM PN | Samsung: TEMP-S000225744 Micron: TEMP-S000225746 WD: TEMP-S000225745
| ODM Assy PN | 1A72D4300-600-G
| FB PN | 09-100273 (Samsung) 09-100272 (Micron) 09-100271 (WD)
| Vendor | Samsung/WD/Micron
| MPN | Samsung: MZOL67T6HBLC-00AFB WD: WUS6A7676PJP8X7 Micron: MTFDLBU7T6THC-1BK4FABVA
| Quantity | 4
27 - Fan/FIO Board Screw | ODM PN | 2A240FR00-600-G
| FB PN | TBD
| Quantity | 11
27- SSD latch | ODM PN | 1A72CL900-600-G
| FB PN | 27-100267
| Quantity | 1
27- E1.S 25mm Module Screw | ODM PN | 2A583MF00-600-G
| FB PN | TBD
| Quantity | 8
19- FIO board | ODM PN | 1A72DGP00-600-G
| FB PN | 19-100684
| Quantity | 1
19- OSFP Board | ODM PN | 1A72DHG00-600-G
| FB PN | 19-100685
| Quantity | 1
19- DC-SCM 2.0 ASSY (include 2*TPM+1*Sensor board) | ODM PN | 1A72DGF00-600-G
| FB PN | 19-100688
| Quantity | 1
19- SCM BOARD | ODM PN |  | need ODM PN?
| FB PN | 19-100687
| Quantity | 1
19- TPM | ODM PN | 1A72DGD00-600-G
| FB PN | 19-100686
| Quantity | 1
27- SCM Bracket | ODM PN | 1A31NCD00-600-G
| FB PN | 27-100383
| Quantity | 1
19-BSM | ODM PN | 1A72DGE00-600-G
| FB PN | 09-100298
| Quantity | 1
19-E1.S backplane | ODM PN | 1A72DGH00-600-G
| FB PN | 19-100689
| Quantity | 1 2
19- PDB | ODM PN | PDB Discrete: 1A72BTE00-600-G 1A72DGJ00-600-G
| FB PN | 19-100591 | Per Kui, we need to keep the PDB on the BOM and Build Matrix so I have added it back on | We have a new DVT ODM PN, do you want to update the new FBPN?
| Quantity | 1
05- FAN Board | ODM PN | 1A72DGK00-600-G | Is this FPC fan baord or
| FB PN | 05-100288
| Quantity | 2
19- Interposer | ODM PN | 1A72DGK00-600-G 1A72DGL00-600-G | Duplicate ODM PN Need new | Updated
| FB PN | 19-100691
| Quantity | 1
19- HSC Board | ODM PN | 1A72DGM00-600-G
| FB PN | 19-100692
| Quantity | 1
05- FAN 4056 | ODM PN | Foxconn: TEMP-S000229612 Delta: TEMP-S000229624 AVC: TEMP-S000229613
| ODM Assy PN | TBD | need ODM PN?
| FB PN | 05-100289
| Vendor | Foxconn/Delta/AVC
| MPN | Foxconn: PIE040M12H-P72-AB Delta: GFB0412ES-FLNW AVC: DFPU0456B2UY041
| Quantity | 8
05- L10 Manifold (hot and cold, 1 set) | ODM PN | CM: TEMP-S000226519 AVC: TEMP-S000232111/TEMP-S000232378 Auras: TEMP-S000230499 BOYD: TEMP-S000230476/TEMP-S000231938 |  | Updated
| FB PN | 05-100290
| Vendor | CM/AVC/Auras/BOYD
| MPN | CM: LC-04915-02-GP3S1 AVC: SFA4940001/SFA4940004 Auras: 0S53B00067 BOYD: 121050/121490 |  | Updated
| Quantity | 1
07- 48V Power cable | ODM PN | Amphenol: TEMP-S000230428 Bellwether: TEMP-S000231094 JPC: TEMP-S000231118
| FB PN | 07-100763
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BH08 Bellwether: 76840-100W JPC: PCB012701385-1
| Quantity | 1
07- DC-SCI cable | ODM PN | Amphenol: TEMP-S000230429 Molex: TEMP-S000231104 FIT: TEMP-S000231111
| FB PN | 07-100764
| Vendor | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ168-1337 Molex: 2126701154 FIT: CALL04L-ZZA03-DH
| Quantity | 1
07- 54V Busbar Clip | ODM PN | Amphenol: TBD FIT: TBD
| FB PN | 07-100628
| Vendor | Amphenol/FIT
| MPN | Amphenol: TBD FIT: TBD
| Quantity | 1
07- Busbar Cable | ODM PN | FIT: TEMP-S000232701 Amphenol: TEMP-S000232038
| FB PN | TBD
| Vendor | FIT / Amphenol
| MPN | FIT: JPB15LT-ZZ260-DH Amphenol: 10174690-1UF107LF
| Quantity | 1
07- NIC0 3-to-1 cable | ODM PN | Amphenol: TEMP-S000230430 Molex: TEMP-S000231105 FIT: TEMP-S000231112
| FB PN | 07-100766
| Vendor | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ168-1338 Molex: 2193241141 FIT: CAMQ06V-ZZB03-DH
| Quantity | 1
07- NIC1 3-to 1 cable | ODM PN | Amphenol: TEMP-S000230431 Molex: TEMP-S000231106 FIT: TEMP-S000231113
| FB PN | 07-100765
| Vendor | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ168-1339 Molex: 2193241142 FIT: CAMQ06V-ZZB04-DH
| Quantity | 1
07- Front IO board SlimSAS | ODM PN | Amphenol: TEMP-S000230432 Molex: TEMP-S000231107 FIT: TEMP-S000231114
| FB PN | 07-100767
| Vendor | Amphenol/Molex/FIT
| MPN | Amphenol: HSL38-4062 Molex: 2073711110 FIT: CAMJ04E-ZZB01-DH
| Quantity | 1
07- E1.S Backplane power cable | ODM PN | Amphenol: TEMP-S000230433 Bellwether: TEMP-S000231095 JPC: TEMP-S000231120
| FB PN | 07-100768
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BH09 Bellwether: 76840-101W JPC: PCB012701386-1
| Quantity | 1
07- E1.S Backplane MCIO Y cable 1 | ODM PN | Amphenol: TEMP-S000230434 Molex: TEMP-S000231108 FIT: TEMP-S000231115
| FB PN | 07-100769
| Vendor | Amphenol/Molex/FIT
| MPN | Amphenol: HMC74-C719 Molex: 2150711759 FIT: CANK06K-ZZA01-DH
| Quantity | 1
07- E1.S Backplane MCIO Y cable 2 | ODM PN | Amphenol: TEMP-S000230435 Molex: TEMP-S000231109 FIT: TEMP-S000231116
| FB PN | 07-100770
| Vendor | Amphenol/Molex/FIT
| MPN | Amphenol: HMC74-C720 Molex: 2150711760 FIT: CANK08K-ZZA02-DH
| Quantity | 1
07- OSFP PWR cable | ODM PN | Amphenol: TEMP-S000230436 Bellwether: TEMP-S000231096 JPC: TEMP-S000231121
| FB PN | 07-100777
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BH10 Bellwether: 76840-102W JPC: PCB012701387-1
| Quantity | 1
07- OSFP sideband cable 1 | ODM PN | Amphenol: TEMP-S000230437 Bellwether: TEMP-S000231097 JPC: TEMP-S000231128
| FB PN | 07-100778
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BH11 Bellwether: 76840-103W JPC: PCB012701379-1
| Quantity | 1
07- OSFP sideband cable 2 | ODM PN | Amphenol: TEMP-S000230438 Bellwether: TEMP-S000231098 JPC: TEMP-S000231122
| FB PN | 07-100779
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BH12 Bellwether: 76840-104W JPC: PCB012701379-2
| Quantity | 1
07- E1.S SSD Y cable | ODM PN | Amphenol: TEMP-S000230439 Molex: TEMP-S000231110 FIT: TEMP-S000231117
| FB PN | 07-100780
| Vendor | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ56-0957 Molex: 2126631230 FIT: CALH04H-ZZA03-DH
| Quantity | 1
07- Inlet leakage sensor cable | ODM PN | Amphenol: TEMP-S000230447 Molex: TEMP-S000232159 JPC: TEMP-S000232399 |  | Updated
| FB PN | 07-100781
| Vendor | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BH26 Molex: 68031217 JPC: PCB012701446-2 |  | Updated
| Quantity | 1
07- Outlet leakage sensor cable | ODM PN | Amphenol: TEMP-S000230448 Molex: TEMP-S000232160 JPC: TEMP-S000232400 |  | Updated
| FB PN | 07-100782
| Vendor | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BH27 Molex: 68031218 JPC: PCB012701446-1 |  | Updated
| Quantity | 1
07- Right CPU leakage sensor cable | ODM PN | Amphenol: TEMP-S000230445 Molex: TEMP-S000232161 JPC: TEMP-S000231123
| FB PN | 07-100783
| Vendor | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BH25 Molex: 68031216 JPC: PCB012701442-1
| Quantity | 1
07- Left CPU leakage sensor cable | ODM PN | Amphenol: TEMP-S000230446 Molex: TEMP-S000232162 JPC: TEMP-S000231125
| FB PN | 07-100784
| Vendor | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BH24 Molex: 68031213 JPC: PCB012701442-2
| Quantity | 1
07- Hotswap sideband cable | ODM PN | Amphenol: TEMP-S000230440 Bellwether: TEMP-S000231099 JPC: TEMP-S000231126
| FB PN | 07-100785
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BH13 Bellwether: 76840-105W JPC: PCB012701380-1
| Quantity | 1
07- PDB Interposer sideband cable | ODM PN | Amphenol: TEMP-S000230441 Bellwether: TEMP-S000231100 JPC: TEMP-S000231127
| FB PN | 07-100786
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BH14 Bellwether: 76840-106W JPC: PCB012701441-1
| Quantity | 1
07- Fan power cable Y cable | ODM PN | Amphenol: TEMP-S000230442 Bellwether: TEMP-S000231101 JPC: TEMP-S000231129
| FB PN | 07-100787
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BH15 Bellwether: 76840-107W JPC: PCB012701440-1
| Quantity | 1
07- Fan sideband signal cable | ODM PN | Amphenol: TEMP-S000230443 Bellwether: TEMP-S000231102 JPC: TEMP-S000231130
| FB PN | 07-100788
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BH16 Bellwether: 76840-108W JPC: PCB012701439-1
| Quantity | 1
07- Fan daisy cable | ODM PN | Amphenol: TEMP-S000230444 Bellwether: TEMP-S000231103 JPC: TEMP-S000231131
| FB PN | 07-100789
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BH17 Bellwether: 76840-109W JPC: PCB012701439-2
| Quantity | 1
07- Interposer P12V cable | ODM PN | Amphenol: TEMP-S000230905 Bellwether: TEMP-S000233009 JPC: TEMP-S000232401 |  | Updated
| FB PN | 07-100790
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BJ70 Bellwether: 76840-110W JPC: PCB012701463-1 |  | Updated
| Quantity | 1
07- GPU leakage sensor cable | ODM PN | Amphenol: TEMP-S000230449 Molex: TEMP-S000232163 JPC: TEMP-S000232402 |  | Updated
| FB PN | 07-100786
| Vendor | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BH28 Molex: 68031219 JPC: PCB012701447-1 |  | Updated
| Quantity | 4
07- CPU Coldplate leakage sensor cable | ODM PN | Amphenol: TEMP-S000232164 Molex: TEMP-S000232165 JPC: TEMP-S000232698 |  | Updated
| FB PN | 07-100792
| Vendor | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BK56 Molex: 68031214 JPC: PCB012701477-1 |  | Updated
| Quantity | 2
07- Short CPU leakage sensor cable | ODM PN | Amphenol: TEMP-S000232166 Molex: TEMP-S000232167 JPC: TEMP-S000232699 |  | Updated
| FB PN | 07-100793
| Vendor | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BK57 Molex: 68031215 JPC: PCB012701478-1 |  | Updated
| Quantity | 2
07- Fan extension cable | ODM PN | Amphenol: TEMP-S000231132 Bellwether: TEMP-S000233007 JPC: TEMP-S000232403 |  | Updated
| FB PN | 07-100794
| Vendor | Amphenol/Bellwether/JPC
| MPN | Amphenol: RWHHW-BJ42 Bellwether: 76840-111W JPC: PCB012701465-1 |  | Updated
| Quantity | 2
27- Compute Tray Assy | ODM PN | 1A72E3N00-600-G
| FB PN | 27-100436
| Quantity | 1
Coolant | ODM PN | TEMP-S000189576
| FB PN | 05-100229
| Quantity | 0
1U Fan single cage Assy | ODM PN | 1A723G100-600-G
| FB PN | TBD
| Quantity | 8
Fan Nut | ODM PN | 7D118W400-600-G
| FB PN | TBD
| Quantity | 32
Fan Rubber | ODM PN | 7D118W500-600-G
| FB PN | TBD
| Quantity | 32
HSC M4L8 Screw | ODM PN | 2A58BDG00-600-G
| FB PN | TBD
| Quantity | 2
HSC M3L8 Screw | ODM PN | 2A58BDF00-600-G
| FB PN | TBD
| Quantity | 2
HMC Bracket Screw | ODM PN | 2A58BDK00-600-G
| FB PN | TBD
| Quantity | 4
Cable Fan Mylar | ODM PN | 1B61HHU00-600-G
| FB PN | TBD
| Quantity | 1
UQD Screw | ODM PN | 2A580H900-G0C-G
| FB PN | TBD
| Quantity | 4
HSC Protector Cap | ODM PN | 1B61HJ600-600-G
| FB PN | TBD
| Quantity | 1
Chassis Handle Kit | ODM PN | 1A72ESA00-600-G
| FB PN | TBD
| Quantity | 1
TIM Pack | ODM PN | TEMP-S000227142
| FB PN | TBD
| Quantity | 1
Remark | Update
TBD
Delete

## DVT - RMC L10 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Meta Comments | Ingrasys Note
| Description | With GPU / With Cold Plate Samsung, Micron, WD
| Rack Qty | 1
01- Meta Clemente_L10 RMC Tray Assy | ODM PN | 1A72DR700-600-G
| FB PN | TBD
| Quantity | 1
19- Clemente_RMC LED Board[DVT-X02] | ODM PN | 1A72DHL00-600-G
| FB PN | TBD
| Quantity | 1
19- Clemente_RMC Rear IO Board[DVT-X02] | ODM PN | 1A72D6500-600-G
| FB PN | TBD
| Quantity | 1
19- Clemente_RMC Board[DVT-X02] | ODM PN | 1A72DHH00-600-G
| FB PN | TBD
| Quantity | 1
19- Clemente_RMC Fan Board[DVT-X02] | ODM PN | 1A72DHJ00-600-G
| FB PN | TBD
| Quantity | 2
19- Clemente_RMC DC-SCM 2.0[DVT-X02] | ODM PN | 1A72DGG00-600-G
| FB PN | TBD
| Quantity | 1
19- Clemente_BSM[DVT-X02] | ODM PN | 1A72DGE00-600-G
| FB PN | TBD
| Quantity | 1
27- RMC CASE ASSY | ODM PN | 1A31NCC00-600-G
| FB PN | TBD
| Quantity | 1
05- RMC Fan Module Sub-Assy_DVT | ODM PN | TEMP-S000231982
| FB PN | TBD
| Quantity | 4
19- RMC CASE AIR DUCT ASSY | ODM PN | 1A31NCH00-600-G
| FB PN | TBD
| Quantity | 1
SCREW_M3_L6 | ODM PN | 2A58B5200-000-GPK
| FB PN | TBD
| Quantity | 16
LED Board Screw | ODM PN | 2A58BBM00-600-G
| FB PN | TBD
| Quantity | 3
07- Fan power cable | ODM PN | TEMP-S000232055
| FB PN | TBD
| Vendor | VSO
| MPN | N-802-000-00002576
| Quantity | 1
07- Fan signal cable | ODM PN | TEMP-S000222456
| FB PN | TBD
| Vendor | Amphenol
| MPN | HSL38-3995
| Quantity | 1
07- 48V Busbar cable | ODM PN | TEMP-S000232056
| FB PN | TBD
| Vendor | Amphenol
| MPN | 10162876-1SF403LF
| Quantity | 1
07- RMC LCCU internal Power cable (Cold & hot water) | ODM PN | TEMP-S000222459
| FB PN | TBD
| Vendor | Amphenol
| MPN | 10177366-M0050YALF
| Quantity | 1
07- Rear IO Power cable | ODM PN | TEMP-S000232057
| FB PN | TBD
| Vendor | VSO
| MPN | N-802-000-00002573
| Quantity | 1
07- Rear IO Singal cable | ODM PN | TEMP-S000222460
| FB PN | TBD
| Vendor | Amphenol
| MPN | HMC124-1885
| Quantity | 1
07- Fan power cable_1 | ODM PN | TEMP-S000232058
| FB PN | TBD
| Vendor | VSO
| MPN | N-802-000-00002577
| Quantity | 1
07- Fan signal cable_1 | ODM PN | TEMP-S000222461
| FB PN | TBD
| Vendor | Amphenol
| MPN | HSL38-3996
| Quantity | 1
07- Rear IO leak cable_0 | ODM PN | TEMP-S000232060
| FB PN | TBD
| Vendor | Molex
| MPN | 686030961
| Quantity | 1
07- Rear IO leak cable_1 | ODM PN | TEMP-S000232061
| FB PN | TBD
| Vendor | Molex
| MPN | 686030962
| Quantity | 1
LBL, L10 SN Label, L10 FBPN Label, L10 HHPN Label, 17x6mm | ODM PN | 7J-3133-000
| FB PN | TBD
| Quantity | 3
LBL, Asset Label, 0.95x0.2inch | ODM PN | 7J-3219-000
| FB PN | TBD
| Quantity | 1
LBL,Engineering Evaluation Sample Only, 40x20mm | ODM PN | 7J-3142-000
| FB PN | TBD
| Quantity | 1
LBL, SSD Label, 50.8x12.7mm | ODM PN | OS01115
| FB PN | TBD
| Quantity | 4
RMC-FAN-CARRIER-ASSY | ODM PN | 1A31NCE00-600-G
| FB PN | TBD
| Quantity | 1
FAN-RUBBER_PDS | ODM PN | FOXCONN/EPD5 : 2A592HA00-000-GPK PINGOOD : TEMP-S000224894
| FB PN | TBD
| Vendor | FOXCONN/PINGOOD
| MPN | FOXCONN/EPD5 : 2A592HA00-000-GPK PINGOOD : WSS-7BH-TUB
| Quantity | 2
SCREW-M2_5-FAN-L | ODM PN | FOXCONN/EPD5 : 2A58B4V00-000-GPK Evergreen : TEMP-S000224876
| FB PN | TBD
| Vendor | FOXCONN/Evergreen
| MPN | FOXCONN/EPD5 : 2A58B4V00-000-GPK Evergreen : WI-HT-G67105A
| Quantity | 2
RMC-FAN-HOLDER-ASSY | ODM PN | 1B61GD800-600-GEM
| FB PN | TBD
| Quantity | 1
FAN-MODULE-LIGHTPIPE | ODM PN | 1B61GD600-600-GEM
| FB PN | TBD
| Quantity | 1
RMC-FAN-TUNNEL | ODM PN | 1B61GDN00-600-GEM
| FB PN | TBD
| Quantity | 1
SCREW-MS20060I065 | ODM PN | FOXCONN/EPD5 : 2A58B5800-000-GPK Evergreen : TEMP-S000224877
| FB PN | TBD
| Vendor | FOXCONN/Evergreen
| MPN | FOXCONN/EPD5 : 2A58B5800-000-GPK Evergreen : WI-HT-G67107A
| Quantity | 1
SCREW_M25L50 | ODM PN | FOXCONN/EPD5 : 2A58B5400-000-GPK Evergreen : TEMP-S000224878
| FB PN | TBD
| Vendor | FOXCONN/Evergreen
| MPN | FOXCONN/EPD5 : 2A58B5400-000-GPK Evergreen : WI-HT-G67104A
| Quantity | 1
screw-m3-flat-l4-nylok_sbr | ODM PN | FOXCONN/EPD5 : 2A585MP00-600-G Evergreen : 2A58B6800-HJL-G
| FB PN | TBD
| Vendor | FOXCONN/Evergreen
| MPN | FOXCONN/EPD5 : 2A585MP00-600-G Evergreen : WI-HT-G66015A
| Quantity | 1
Remark | Update
TBD
Delete

## DVT- L11 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A
Description
| Rack Qty | 1
Meta Clemente_L11 Rack ASSY, NSF | FBPN | TBD
| ODM PN | 1A72E3S00-600-G
Meta Clemente_L11 Rack ASSY, NSF, without NV Group A | FBPN | TBD
| ODM PN | 1A72E3S00-600-GNA
01- CI Compute Tray Assy | ODM PN | 1A72DR800-600-G
| FB PN | TBD
| Quantity | 18
01- CI Compute Tray Assy, without NV Group A | ODM PN | 1A72DR800-600-GNA
| FB PN | TBD
| Quantity | 18
01- CI RMC Tray Assy | ODM PN | TEMP-S000231552 TEMP-S000232784
| FB PN | TBD
| Vendor | Qunta
| MPN | 3RL05MA0040 3RL05MA0060
| Quantity | 1
20 - CI NVSO Tray Assy | ODM PN | TEMP-S000230460
| FB PN | TBD
| Vendor | NVIDIA
| MPN | 920-9K33R-00MV-QS0
| Quantity | 9
55 - Rack & Power Sub-assy | ODM PN | 1A72E3W00-600-G
| FB PN | TBD
| Vendor | FOXCONN/EPD2
| MPN | 1A72E3W00-600-G
| Quantity | 1
55 - Rack & Power Sub-assy, without NV Group A | ODM PN | 1A72E3W00-600-GNA
| FB PN | TBD
| Vendor | FOXCONN/EPD2
| MPN | 1A72E3W00-600-GNA
| Quantity | 1
06- IT Rack Frame | ODM PN | TEMP-S000229614
| FB PN | TBD
| Vendor | Rittal
| MPN | 7844664
| Quantity | 1
Canister | ODM PN | 1A72B7000-600-G2
| FB PN | TBD
| Vendor | FOXCONN/EPDV
| MPN | 1A72B7000-600-G2
| Quantity | 1
Cable Cartridge (Left/Right) | ODM PN | TEMP-S000224304
| FB PN | 07-100580
| Vendor | NVIDIA
| MPN | 965-24972-0020-000
| Quantity | 1
27- ORV3 power shelf rail | ODM PN | TEMP-S000222271
| FB PN | 27-001501
| Vendor | Rittal
| MPN | 7844557
| Quantity | 8
27- ORV3 IT rail | ODM PN | TEMP-S000222274
| FB PN | 27-001499
| Vendor | Rittal
| MPN | 7844556
| Quantity | 3
27- MiniPack3 Railkit | ODM PN | TEMP-S000227145
| FB PN | 27-001629
| Vendor | KingSlide
| MPN | U602-625-IM
| Quantity | 1
27- L10 system rail kit | ODM PN | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736
| FB PN | 27-100239
| Vendor | Kingslide
| MPN | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP
| Quantity | 27
DVT cold rack manifold | ODM PN | TEMP-S000227453 TEMP-S000230373 TEMP-S000230374 TEMP-S000232114 TEMP-S000232115 TEMP-S000232116 TEMP-S000230502 TEMP-S000230503 TEMP-S000231831
| FB PN | TBD
| Vendor | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05124-01-GP2S1 Cooler Master : LC-05250-01-GP2S1 Cooler Master : LC-05251-01-GP2S1 AVC : SFA4890001 AVC : SFA4360001 AVC : SFA4920001 Auras : 0S53B00059 Auras : 0S53B00072 Auras : 0S53B00084
| Quantity | 1
DVT hot rack manifold | ODM PN | TEMP-S000227454 TEMP-S000230375 TEMP-S000230376 TEMP-S000232117 TEMP-S000232118 TEMP-S000232119 TEMP-S000230504 TEMP-S000230505 TEMP-S000231832
| FB PN | TBD
| Vendor | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05125-01-GP2S1 Cooler Master : LC-05252-01-GP2S1 Cooler Master : LC-05253-01-GP2S1 AVC : SFA4880001 AVC : SFA4370001 AVC : SFA4930001 Auras : 0S53B00060 Auras : 0S53B00073 Auras : 0S53B00085
| Quantity | 1
DVT hose kit cold 4ft | ODM PN | TEMP-S000230377 TEMP-S000232120 TEMP-S000231833
| FB PN | TBD
| Vendor | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05191-01-GP2S2 AVC : P130000010 Auras : 0S53B00086
| Quantity | 1
DVT hose kit cold 6ft | ODM PN | TEMP-S000230378 TEMP-S000232121 TEMP-S000231834
| FB PN | TBD
| Vendor | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05193-01-GP2S2 AVC : P130000012 Auras : 0S53B00087
| Quantity | 2
DVT hose kit hot 4ft | ODM PN | TEMP-S000230380 TEMP-S000232122 TEMP-S000231835
| FB PN | TBD
| Vendor | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05192-01-GP2S2 AVC : P130000014 Auras : 0S53B00088
| Quantity | 1
DVT hose kit hot 6ft | ODM PN | TEMP-S000230381 TEMP-S000232123 TEMP-S000231836
| FB PN | TBD
| Vendor | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05194-01-GP2S2 AVC : P130000016 Auras : 0S53B00089
| Quantity | 2
14- Power Shelf | ODM PN | TEMP-S000225752 TEMP-S000222275
| FB PN | 14-100015 14-100009
| Vendor | AEI/ Delta
| MPN | AEI : 700-037148-1000 Delta : ECD68000020
| Quantity | 4
03- PSU (5.5 KW) | ODM PN | TEMP-S000225753 TEMP-S000222284
| FB PN | 03-100049 03-100038
| Vendor | AEI/ Delta
| MPN | AEI :700-037147-0000 Delta : ECD17010021 REV.02/P2
| Quantity | 24
07- ORV3 AC Whip | ODM PN | TEMP-S000227146
| FB PN | 07-100609
| Vendor | Amphenol
| MPN | 10178161-C7A303
| Quantity | 8
01_top-slim-vcm-28u-b_clc.asm | ODM PN | 1A72EFA00-600-G
| FB PN | TBD
| Quantity | 1
01_top-slim-vcm-28u-baying_clc.asm | ODM PN | 1A72EF300-600-G
| FB PN | TBD
| Quantity | 1
54 - Network Sub-assy | ODM PN | 1A72E4000-600-G
| FB PN | TBD
| Vendor | FOXCONN/EPD2
| MPN | 1A72E4000-600-G
| Quantity | 1
20 - Minipack3 ORV3 DC bundle (include PSU + power cord) | ODM PN | TEMP-S000224821
| FB PN | 30-100078
| Vendor | Celestica
| MPN | R3214-F9013-A2
| Quantity | 1
27- MiniPack3 Outer shelf | ODM PN | TEMP-S000227194
| FB PN | 27-100124
| Vendor | IMG
| MPN | R4002-F0101-03
| Quantity | 1
20- Management Switch 7010, come with tray | ODM PN | TEMP-S000222287
| FB PN | 20-100100
| Vendor | Arista
| MPN | FB-7010TX-48C-DC-RV3-F
| Quantity | 1
07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 2m | ODM PN | TEMP-S000231925 TEMP-S000230718 TEMP-S000231928
| FB PN | TBD
| Vendor | Credo/ Molex/ Amphenol
| MPN | Credo : CAC82X321A1B-C1-MT Molex : 2253611201 Amphenol : NNDGJA-F302
| Quantity | 48
07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 2.2m | ODM PN | TEMP-S000231929 TEMP-S000230719 TEMP-S000231930
| FB PN | TBD
| Vendor | Credo/ Molex/ Amphenol
| MPN | Credo : CAC822321A1B-C1-MT Molex : 2253611206 Amphenol : NNDGJA-F312
| Quantity | 24
07- 800G OSFP to 2x400G OSFP DAC, 1.1m | ODM PN | TEMP-S000230884 TEMP-S000230885 TEMP-S000230886
| FB PN | TBD
| Vendor | Amphenol/ Molex/ TE
| MPN | Amphenol : NND1DE-F324 Molex : 2111776111 Amphenol : 2494894-8
| Quantity | 10
07- 800G OSFP to 2x400G OSFP DAC, 1.5m | ODM PN | TEMP-S000230887 TEMP-S000230888 TEMP-S000230889
| FB PN | TBD
| Vendor | Amphenol/ Molex/ TE
| MPN | Amphenol : NND1DE-F307 Molex : 2111776115 Amphenol : 2494894-9
| Quantity | 5
07- 800G OSFP to 2x400G OSFP DAC, 1.9m | ODM PN | TEMP-S000230890 TEMP-S000230891 TEMP-S000230892
| FB PN | TBD
| Vendor | Amphenol/ Molex/ TE
| MPN | Amphenol : NND1DE-F335 Molex : 2111776119 Amphenol : 2494894-7
| Quantity | 3
07- 10G DAC -2500mm (SFP+ to SFP+) | ODM PN | TEMP-S000222299 TEMP-S000230893
| FB PN | 07-100679
| Vendor | LXP/ Bellwether
| MPN | LXP : L02SF085-SD-H Bellwether : 76697-904W
| Quantity | 1
07- 10G DAC -2500mm (SFP+ to QSFP28) | ODM PN | TEMP-S000227577 TEMP-S000230894
| FB PN | 07-100676
| Vendor | LXP/ Bellwether
| MPN | LXP : L02QF025-SD-H Bellwether : 76697-903W
| Quantity | 2
07- RJ45 Cable, shield - 500mm | ODM PN | TEMP-S000228930 TEMP-S000229178
| FB PN | 07-100713
| Vendor | GLE/ Bellwether
| MPN | GLE : WJE250310B Bellwether : 76183-454R
| Quantity | 4
07- RJ45 Cable, shield - 1500mm | ODM PN | TEMP-S000222307 TEMP-S000230897
| FB PN | 07-100361
| Vendor | GLE/ Bellwether
| MPN | GLE : WJE240794B Bellwether : 76183-456R
| Quantity | 32
07- RJ45 Cable, shield - 2000mm | ODM PN | TEMP-S000222325 TEMP-S000230898
| FB PN | 07-100392
| Vendor | GLE/ Bellwether
| MPN | GLE : WJE240799B Bellwether : 76183-457R
| Quantity | 17
07- RJ45 Cable, shield - 2500mm | ODM PN | TEMP-S000222309 TEMP-S000229179
| FB PN | 07-100363
| Vendor | GLE/ Bellwether
| MPN | GLE : WJE240801B Bellwether : 76183-453R
| Quantity | 16
07- RJ45 Cable, shield -6500mm | ODM PN | TEMP-S000226126 TEMP-S000230899
| FB PN | 07-100684
| Vendor | GLE/ Bellwether
| MPN | GLE : WJE250008B Bellwether : 76183-455R
| Quantity | 6
07- Leakage sensor RJ45 cable - 5600mm | ODM PN | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704
| FB PN | TBD
| Vendor | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212
| Quantity | 1
07- Hot RMF leakage sensor cable - 5500mm | ODM PN | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705
| FB PN | TBD
| Vendor | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211
| Quantity | 1
07- Cold RMF leakage sensor cable - 6500mm | ODM PN | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706
| FB PN | TBD
| Vendor | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210
| Quantity | 1
Termination plug, 120 ohm | ODM PN | TEMP-S000227590
| FB PN | 27-100417
| Vendor | Amphenol
| MPN | RJP-1MF-0002-HF
| Quantity | 1
Coolant, ship in Wet - NV tray and the rest of L11 | Quantity | ea
26- Rack Packing_with Wooden Crate | Quantity | 1
1OU Pizza Box | ODM PN | TEMP-S000223211
| FB PN | 05-000676
| Vendor | Blue Rose Packaging
| MPN | BRP-61425.ARB
| Quantity | 1
2OU Pizza Box | ODM PN | TEMP-S000223212
| FB PN | 05-000677
| Vendor | Blue Rose Packaging
| MPN | BRP-63320.ARB
| Quantity | 3
Remark | Update
TBD
Delete

## EVT - L10 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Config B
| Description | With GPU / With Cold Plate Samsung | W/O GPU / Cold Plate Configuration Samsung Only , AEI PSU | W/O GPU / Cold Plate Configuration Samsung Only , Delta PSU
| Rack Qty | 1 | 1 | 1 | Ingrasys Note | Ingrasys Owner | Meta Note | Status
01-CI Server Chassis (mini-rack) | Category | 01-101142 (Samsung) 01-101143 (Micron) 01-101144 (WD) | 01-101142 (Samsung) 01-101143 (Micron) 01-101144 (WD) 01-101157 (Samsung) | 01-101142 (Samsung) 01-101143 (Micron) 01-101144 (WD) 01-101157 (Samsung)
01- CI Compute Tray Assy | ODM PN | 1A72BSJ00-600-G Samsung: 1A72BSJ00-600-G Micron: TBD WD: TBD | 1A72BSJ00-600-G Samsung: 1A72BSJ00-600-G | 1A72BSJ00-600-G Samsung: 1A72BSJ00-600-G
| FB PN | 01-101139 (Samsung) 01-101140 (Micron) 01-101141 (WD) | 01-101156 (Samsung) | 01-101156 (Samsung)
| Quantity | 3 | 3 | 3
19- GB300 Module | ODM PN | TEMP-S000228052 | TEMP-S000228052 | TEMP-S000228052
| FB PN | 01-101139 (Samsung) 01-101140 (Micron) 01-101141 (WD) | 19-100607 19-100625 | 19-100607 19-100625
| Quantity | 1 | 1 | 1
05- CPU Cold Plate | ODM PN | TEMP-S000225733 CM: TEMP-S000226515 AVC: TEMP-S000227382 Auras: TEMP-S000227347 | TEMP-S000225733 CM: TEMP-S000226515 AVC: TEMP-S000227382 Auras: TEMP-S000227347 | TEMP-S000225733 CM: TEMP-S000226515 AVC: TEMP-S000227382 Auras: TEMP-S000227347
| FB PN | 05-100220 | 05-100220 | 05-100220
| Vendor | Cooler Master CM/AVC/Auras | Cooler Master CM/AVC/Auras | Cooler Master CM/AVC/Auras
| MPN | LC-04906-01-GP3S1 CM: LC-04906-02-GP3S1 AVC: SFA3720001-1 Auras: 0S51B00052 | LC-04906-01-GP3S1 CM: LC-04906-02-GP3S1 AVC: SFA3720001-1 Auras: 0S51B00052 | LC-04906-01-GP3S1 CM: LC-04906-02-GP3S1 AVC: SFA3720001-1 Auras: 0S51B00052
| Quantity | 2 | 2 | 2
05- GPU Cold Plate | ODM PN | TEMP-S000225734 CM: TEMP-S000226518 AVC: TEMP-S000227380 Auras: TEMP-S000227348 | TEMP-S000225734 CM: TEMP-S000226518 AVC: TEMP-S000227380 Auras: TEMP-S000227348 | TEMP-S000225734 CM: TEMP-S000226518 AVC: TEMP-S000227380 Auras: TEMP-S000227348
| FB PN | 05-100219 | 05-100219 | 05-100219
| Vendor | Cooler Master CM/AVC/Auras | Cooler Master CM/AVC/Auras | Cooler Master CM/AVC/Auras
| MPN | LC-04907-01-GP3S1 CM: LC-04907-02-GP3S1 AVC: SFA3730001-1 Auras: 0S51B00053 | LC-04907-01-GP3S1 CM: LC-04907-02-GP3S1 AVC: SFA3730001-1 Auras: 0S51B00053 | LC-04907-01-GP3S1 CM: LC-04907-02-GP3S1 AVC: SFA3730001-1 Auras: 0S51B00053
| Quantity | 4 | 4 | 4
05- SOCAMM Heatsinnk Left | ODM PN | CM:754-24059-0006-000 AVC: TEMP-S000227388 Auras: TEMP-S000227728 | CM:754-24059-0006-000 AVC: TEMP-S000227388 Auras: TEMP-S000227728 | CM:754-24059-0006-000 AVC: TEMP-S000227388 Auras: TEMP-S000227728
| FB PN | 05-100225 | 05-100225 | 05-100225
| Vendor | Cooler Master / AVC / Auras | Cooler Master / AVC / Auras | Cooler Master / AVC / Auras
| MPN | CM: CC-03850-01-GP3S1 AVC: SFA3750001-1 Auras: 0S51B00115 | CM: CC-03850-01-GP3S1 AVC: SFA3750001-1 Auras: 0S51B00115 | CM: CC-03850-01-GP3S1 AVC: SFA3750001-1 Auras: 0S51B00115
| Quantity | 2 | 2 | 2
05- SOCAMM Heatsinnk Right | ODM PN | CM: 754-24059-0007-000 AVC: TEMP-S000227389 Auras: TEMP-S000227729 | CM: 754-24059-0007-000 AVC: TEMP-S000227389 Auras: TEMP-S000227729 | CM: 754-24059-0007-000 AVC: TEMP-S000227389 Auras: TEMP-S000227729
| FB PN | 05-100226 | 05-100226 | 05-100226
| Vendor | Cooler Master / AVC / Auras | Cooler Master / AVC / Auras | Cooler Master / AVC / Auras
| MPN | CM: CC-03851-01-GP3S1 AVC: SFA3760001-1 Auras: 0S51B00114 | CM: CC-03851-01-GP3S1 AVC: SFA3760001-1 Auras: 0S51B00114 | CM: CC-03851-01-GP3S1 AVC: SFA3760001-1 Auras: 0S51B00114
| Quantity | 2 | 2 | 2
19- GB300 Module (including GPU) | ODM PN | TEMP-S000225738 | TEMP-S000225738 | TEMP-S000225738
| FB PN | 19-100601 | 19-100601 19-100624 | 19-100601 19-100624
| Vendor | NVIDIA | NVIDIA | NVIDIA
| MPN | 675-24480-0000-ES1 | 675-24480-0000-ES1 | 675-24480-0000-ES1
| Quantity | 1 | 1 | 1
19-HPM GB300 Module w/o GPU 19-HPM + SOCAMM w/cold plate w/o GPU | ODM PN | TEMP-S000228053 | TEMP-S000228053 | TEMP-S000228053
| FB PN | 19-100613 | 19-100613 | 19-100613
Vendor
MPN
| Quantity | 1 | 1 | 1
11- CPU | ODM PN
| FB PN | 11-100097 | 11-100097 | 11-100097
| Vendor | NVIDIA | NVIDIA | NVIDIA
| MPN | PHantom PN (FBPN=MPN) | PHantom PN (FBPN=MPN) | PHantom PN (FBPN=MPN)
| Quantity | 2 | 2 | 2
10-SOCAMM | ODM PN | Micron: TEMP-S000227026 Kingston: TEMP-S000226361 | Micron: TEMP-S000227026 Kingston: TEMP-S000226361 | Micron: TEMP-S000227026 Kingston: TEMP-S000226361
| FB PN | 10-100141 | 10-100141 | 10-100141
| Vendor | Micron/Kingston | Micron/Kingston | Micron/Kingston
| MPN | Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128 | Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128 | Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128
| Quantity | 8 | 8 | 8
07-LGA SOCAMM Connecter | ODM PN | Lotes: TEMP-S000228020 FIT: TEMP-S000226159 | Lotes: TEMP-S000228020 FIT: TEMP-S000226159 | Lotes: TEMP-S000228020 FIT: TEMP-S000226159
| FB PN | 07-100631 | 07-100631 | 07-100631
| Vendor | Lotes/FIT | Lotes/FIT | Lotes/FIT
| MPN | Lotes: ACAM0018-P005C40CC FIT: PL06946-12NN0-4H | Lotes: ACAM0018-P005C40CC FIT: PL06946-12NN0-4H | Lotes: ACAM0018-P005C40CC FIT: PL06946-12NN0-4H
| Quantity | 8 | 8 | 8
05- CPU Cold Plate | ODM PN | CM: TEMP-S000226515 AVC: TEMP-S000227382 Auras: TEMP-S000227347 | CM: TEMP-S000226515 AVC: TEMP-S000227382 Auras: TEMP-S000227347 | CM: TEMP-S000226515 AVC: TEMP-S000227382 Auras: TEMP-S000227347
| FB PN | 05-100220 | 05-100220 | 05-100220
| Vendor | CM/AVC/Auras | CM/AVC/Auras | CM/AVC/Auras
| MPN | CM: LC-04906-02-GP3S1 AVC: SFA3720001-1 Auras: 0S51B00052 | CM: LC-04906-02-GP3S1 AVC: SFA3720001-1 Auras: 0S51B00052 | CM: LC-04906-02-GP3S1 AVC: SFA3720001-1 Auras: 0S51B00052
| Quantity | 0 | 0 | 0
05- SOCAMM Heatsinnk Left | ODM PN | CM:754-24059-0006-000 AVC: TEMP-S000227388 Auras: TEMP-S000227728 | CM:754-24059-0006-000 AVC: TEMP-S000227388 Auras: TEMP-S000227728 | CM:754-24059-0006-000 AVC: TEMP-S000227388 Auras: TEMP-S000227728
| FB PN | 05-100225 | 05-100225 | 05-100225
| Vendor | Cooler Master / AVC / Auras | Cooler Master / AVC / Auras | Cooler Master / AVC / Auras
| MPN | CM: CC-03850-01-GP3S1 AVC: SFA3750001-1 Auras: 0S51B00115 | CM: CC-03850-01-GP3S1 AVC: SFA3750001-1 Auras: 0S51B00115 | CM: CC-03850-01-GP3S1 AVC: SFA3750001-1 Auras: 0S51B00115
| Quantity | 0 | 0 | 0
05- SOCAMM Heatsinnk Right | ODM PN | CM: 754-24059-0007-000 AVC: TEMP-S000227389 Auras: TEMP-S000227729 | CM: 754-24059-0007-000 AVC: TEMP-S000227389 Auras: TEMP-S000227729 | CM: 754-24059-0007-000 AVC: TEMP-S000227389 Auras: TEMP-S000227729
| FB PN | 05-100226 | 05-100226 | 05-100226
| Vendor | Cooler Master / AVC / Auras | Cooler Master / AVC / Auras | Cooler Master / AVC / Auras
| MPN | CM: CC-03851-01-GP3S1 AVC: SFA3760001-1 Auras: 0S51B00114 | CM: CC-03851-01-GP3S1 AVC: SFA3760001-1 Auras: 0S51B00114 | CM: CC-03851-01-GP3S1 AVC: SFA3760001-1 Auras: 0S51B00114
| Quantity | 0 | 0 | 0
19- GPU Module w/ Cold Plate | ODM PN | TEMP-S000228054 | TEMP-S000228054 | TEMP-S000228054
| FB PN | 19-100606 | 19-100606 | 19-100606
| Quantity | 4 | 4 | 4
19- SXM7 GPU Module w/o Cold Plate | ODM PN
| FB PN | 19-100612 | 19-100612 | 19-100612
Vendor
MPN
| Quantity | 1 | 1 | 1
05- GPU Cold Plate | ODM PN | TEMP-S000225734 CM: TEMP-S000226518 AVC: TEMP-S000227380 Auras: TEMP-S000227348 | TEMP-S000225734 CM: TEMP-S000226518 AVC: TEMP-S000227380 Auras: TEMP-S000227348 | TEMP-S000225734 CM: TEMP-S000226518 AVC: TEMP-S000227380 Auras: TEMP-S000227348
| FB PN | 05-100219 | 05-100219 | 05-100219
| Vendor | Cooler Master CM/AVC/Auras | Cooler Master CM/AVC/Auras | Cooler Master CM/AVC/Auras
| MPN | LC-04907-01-GP3S1 CM: LC-04907-02-GP3S1 AVC: SFA3730001-1 Auras: 0S51B00053 | LC-04907-01-GP3S1 CM: LC-04907-02-GP3S1 AVC: SFA3730001-1 Auras: 0S51B00053 | LC-04907-01-GP3S1 CM: LC-04907-02-GP3S1 AVC: SFA3730001-1 Auras: 0S51B00053
| Quantity | 1 | 1 | 1
10-SOCAMM | ODM PN | Micron: TEMP-S000225747 Micron: TEMP-S000227026 Kingston: TEMP-S000226361 | Micron: TEMP-S000225747 Micron: TEMP-S000227026 Kingston: TEMP-S000226361 | Micron: TEMP-S000225747 Micron: TEMP-S000227026 Kingston: TEMP-S000226361
| FB PN | 10-100141 | 10-100141 | 10-100141
| Vendor | Micron/Kingston | Micron/Kingston | Micron/Kingston
| MPN | Micron: MT62F8G32DADV-026DWT:F Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128 | Micron: MT62F8G32DADV-026DWT:F Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128 | Micron: MT62F8G32DADV-026DWT:F Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128
| Quantity | 8 | 8 | 8
10-LGA SOCAMM 07-LGA SOCAMM Connecter | ODM PN | Lotes: TEMP-S000226158 Lotes: TEMP-S000227143 FIT: TEMP-S000226159 | Lotes: TEMP-S000226158 Lotes: TEMP-S000227143 FIT: TEMP-S000226159 | Lotes: TEMP-S000226158 Lotes: TEMP-S000227143 FIT: TEMP-S000226159
| FB PN | 07-100631 | 07-100631 | 07-100631
| Vendor | Lotes/FIT | Lotes/FIT | Lotes/FIT
| MPN | Lotes: ACAM0018-P005C06C Lotes: ACAM0018-P005C06CC FIT: PL06946-12NN0-4H | Lotes: ACAM0018-P005C06C Lotes: ACAM0018-P005C06CC FIT: PL06946-12NN0-4H | Lotes: ACAM0018-P005C06C Lotes: ACAM0018-P005C06CC FIT: PL06946-12NN0-4H
| Quantity | 8 | 8 | 8
07-LGA for CX8 Connecter | ODM PN | TEMP-S000226160 | TEMP-S000226160 | TEMP-S000226160
| FB PN | 07-100632 | 07-100632 | 07-100632
| Vendor | Foxconn | Foxconn | Foxconn
| MPN | PL08517-12NN0-4H | PL08517-12NN0-4H | PL08517-12NN0-4H
| Quantity | 2 | 2 | 2
19- NIC Card CX8 Dual Port 200G 19- NIC Card CX8 Dual Port 800G | ODM PN | TEMP-S000227028 | TEMP-S000227028 | TEMP-S000227028
| FB PN | 19-100600 | 19-100600 | 19-100600
| Vendor | NVIDIA | NVIDIA | NVIDIA
| MPN | 692-9X88E-00CX-ES1 | 692-9X88E-00CX-ES1 | 692-9X88E-00CX-ES1
| Quantity | 2 | 2 | 2
19- CX7 Frontend NIC, IO board | ODM PN | TEMP-S000226360 | TEMP-S000226360 | TEMP-S000226360
| FB PN | 19-100602 | 19-100602 | 19-100602
| Vendor | NVIDIA | NVIDIA | NVIDIA
| MPN | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB
| Quantity | 2 | 2 | 2
19- HMC module for GB300 | ODM PN | TEMP-S000225740 | TEMP-S000225740 | TEMP-S000225740
| FB PN | 19-100603 | 19-100603 | 19-100603
| Vendor | NVIDIA | NVIDIA | NVIDIA
| MPN | 699-24764-0004-ES1 | 699-24764-0004-ES1 | 699-24764-0004-ES1
| Quantity | 1 | 1 | 1
09- 2TB E1.S boot drive | ODM PN | Samsung: TEMP-S000225741 Micron: TEMP-S000225742 Kioxia: TEMP-S000225743 | Samsung: TEMP-S000225741 Micron: TEMP-S000225742 Kioxia: TEMP-S000225743 | Samsung: TEMP-S000225741 Micron: TEMP-S000225742 Kioxia: TEMP-S000225743
| ODM Assy PN | TEMP-S000228055 | TEMP-S000228055 | TEMP-S000228055
| FB PN | 09-100274 | 09-100274 | 09-100274
| Vendor | Samsung/Micron/Kioxia | Samsung/Micron/Kioxia | Samsung/Micron/Kioxia
| MPN | Samsung: MZTL61T9HFJA-00AFB Micron: MTFDKBT1T9TFR-1BC4DABVA Kioxia: KXDZDRJJ1T92 | Samsung: MZTL61T9HFJA-00AFB Micron: MTFDKBT1T9TFR-1BC4DABVA Kioxia: KXDZDRJJ1T92 | Samsung: MZTL61T9HFJA-00AFB Micron: MTFDKBT1T9TFR-1BC4DABVA Kioxia: KXDZDRJJ1T92
| Quantity | 1 | 1 | 1
27- SSD holder | ODM PN | 1A72CEE00-600-G | 1A72CEE00-600-G | 1A72CEE00-600-G
| FB PN | 27-100408 | 27-100408 | 27-100408
| Quantity | 1 | 1 | 1
09- 8TB E1.S SSD | ODM PN | Samsung: TEMP-S000225744 WD: TEMP-S000225745 Micron: TEMP-S000225746 | Samsung: TEMP-S000225744 WD: TEMP-S000225745 Micron: TEMP-S000225746 | Samsung: TEMP-S000225744 WD: TEMP-S000225745 Micron: TEMP-S000225746
| ODM Assy PN | TEMP-S000228056 | TEMP-S000228056 | TEMP-S000228056
| FB PN | 09-100273 (Samsung) 09-100272 (Micron) 09-100271 (WD) | 09-100273 (Samsung) 09-100272 (Micron) 09-100271 (WD) | 09-100273 (Samsung) 09-100272 (Micron) 09-100271 (WD)
| Vendor | Samsung/WD/Micron | Samsung/WD/Micron | Samsung/WD/Micron
| MPN | Samsung: MZOL67T6HBLC-00AFB WD: WUS6A7676PJP8X7 Micron: MTFDLBU7T6THC-1BK4FABVA | Samsung: MZOL67T6HBLC-00AFB WD: WUS6A7676PJP8X7 Micron: MTFDLBU7T6THC-1BK4FABVA | Samsung: MZOL67T6HBLC-00AFB WD: WUS6A7676PJP8X7 Micron: MTFDLBU7T6THC-1BK4FABVA
| Quantity | 4 | 4 | 4
27- SSD latch | ODM PN | 1A72CL900-600-G | 1A72CL900-600-G | 1A72CL900-600-G
| FB PN | 27-100267 | 27-100267 | 27-100267
| Quantity | 1 | 1 | 1
19- PDB | ODM PN | PDB Brick: 1A72BTF00-600-G PDB Discrete: 1A72BTE00-600-G | PDB Brick: 1A72BTF00-600-G PDB Discrete: 1A72BTE00-600-G | PDB Brick: 1A72BTF00-600-G PDB Discrete: 1A72BTE00-600-G
| FB PN | 19-100591 | 19-100591 | 19-100591
| Quantity | 1 | 1 | 1
19- FAN Board_R 05- FAN Board_R | ODM PN | 1A72BTG00-600-G | 1A72BTG00-600-G | 1A72BTG00-600-G
| FB PN | 05-100221 | 05-100221 | 05-100221
| Quantity | 1 | 1 | 1
19- FAN Board_L 05- FAN Board_L | ODM PN | 1A72BT500-600-G | 1A72BT500-600-G | 1A72BT500-600-G
| FB PN | 05-100222 | 05-100222 | 05-100222
| Quantity | 1 | 1 | 1
19- FIO board | ODM PN | 1A72BTH00-600-G | 1A72BTH00-600-G | 1A72BTH00-600-G
| FB PN | 19-100592 | 19-100592 | 19-100592
| Quantity | 1 | 1 | 1
19- DC-SCM 2.0 ASSY (include 2*TPM+1*BSM+1*Sensor board) (include 2*TPM+1*Sensor board) | ODM PN | 1A72BTC00-600-G | 1A72BTC00-600-G | 1A72BTC00-600-G
| FB PN | 19-100598 | 19-100598 | 19-100598
| Quantity | 1 | 1 | 1
19- SCM BOARD | ODM PN | 1003BTN00-600-G | 1003BTN00-600-G | 1003BTN00-600-G
| FB PN | 19-100597 | 19-100597 | 19-100597
| Quantity | 1 | 1 | 1
19- TPM | ODM PN | 1A72BTA00-600-G | 1A72BTA00-600-G | 1A72BTA00-600-G
| FB PN | 19-100596 | 19-100596 | 19-100596
| Quantity | 1 | 1 | 1
27- SCM Bracket | ODM PN | 1A31NCD00-600-G | 1A31NCD00-600-G | 1A31NCD00-600-G
| FB PN | 27-100383 | 27-100383 | 27-100383
| Quantity | 1 | 1 | 1
19-BSM | ODM PN | 1A72BTB00-600-G | 1A72BTB00-600-G | 1A72BTB00-600-G
| FB PN | 09-100275 | 09-100275 | 09-100275
| Quantity | 1 | 1 | 1
19-E1.S backplane | ODM PN | 1A72BTD00-600-G | 1A72BTD00-600-G | 1A72BTD00-600-G
| FB PN | 19-100595 | 19-100595 | 19-100595
| Quantity | 1 | 1 | 1
19- OSFP carrier board | ODM PN | 1A72BTJ00-600-G | 1A72BTJ00-600-G | 1A72BTJ00-600-G
| FB PN | 19-100593 | 19-100593 | 19-100593
| Quantity | 1 | 1 | 1
07-UltraPass Cable | ODM PN | TEMP-MF00006714 | TEMP-MF00006714 | TEMP-MF00006714
FB PN
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | KFGE25-18-A580D4A | KFGE25-18-A580D4A | KFGE25-18-A580D4A
| Quantity | 4 | 4 | 4
19- HSC Board | ODM PN | 1A72CF700-600-G | 1A72CF700-600-G | 1A72CF700-600-G
| FB PN | 19-100594 | 19-100594 | 19-100594
| Quantity | 1 | 1 | 1
05- FAN 4056 | ODM PN | AVC: TEMP-S000225519 Sunon: TEMP-S000225520 | AVC: TEMP-S000225519 Sunon: TEMP-S000225520 | AVC: TEMP-S000225519 Sunon: TEMP-S000225520
| FB PN | 05-100223 | 05-100223 | 05-100223
| Vendor | AVC Sunon | AVC Sunon | AVC Sunon
| MPN | AVC: DFPQ0456B2GY081 Sunon: XG40561BX-1Q991-S9W | AVC: DFPQ0456B2GY081 Sunon: XG40561BX-1Q991-S9W | AVC: DFPQ0456B2GY081 Sunon: XG40561BX-1Q991-S9W
| Quantity | 8 | 8 | 8
05- L10 Manifold (hot and cold, 1 set) | ODM PN | CM: 754-24059-0005-000 CM: TEMP-S000226519 AVC: TEMP-S000227387 Auras: TEMP-S000227350 | CM: 754-24059-0005-000 CM: TEMP-S000226519 AVC: TEMP-S000227387 Auras: TEMP-S000227350 | CM: 754-24059-0005-000 CM: TEMP-S000226519 AVC: TEMP-S000227387 Auras: TEMP-S000227350
| FB PN | 05-100224 | 05-100224 | 05-100224
| Vendor | Cooler Master / AVC / Auras | Cooler Master / AVC / Auras | Cooler Master / AVC / Auras
| MPN | CM: LC-04915-02-GP3S1 AVC: SFA3740001-1 Auras: 0S53B00024 | CM: LC-04915-02-GP3S1 AVC: SFA3740001-1 Auras: 0S53B00024 | CM: LC-04915-02-GP3S1 AVC: SFA3740001-1 Auras: 0S53B00024
| Quantity | 1 | 1 | 1
07- 54V Power connector | ODM PN | TEMP-S000225990 | TEMP-S000225990 | TEMP-S000225990
| FB PN | 07-100610 | 07-100610 | 07-100610
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HWHHW-BA88 | HWHHW-BA88 | HWHHW-BA88
| Quantity | 1 | 1 | 1
07- DC-SCI cable | ODM PN | TEMP-S000225991 | TEMP-S000225991 | TEMP-S000225991
| FB PN | 07-100611 | 07-100611 | 07-100611
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HGZ168-1229 | HGZ168-1229 | HGZ168-1229
| Quantity | 1 | 1 | 1
07- DC-SCM2.0 cable | ODM PN | TEMP-S000225992 | TEMP-S000225992 | TEMP-S000225992
| FB PN | 07-100612 | 07-100612 | 07-100612
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HGZ168-1230 | HGZ168-1230 | HGZ168-1230
| Quantity | 1 | 1 | 1
07- NIC0 3-to-1 cable | ODM PN | TEMP-S000225994 | TEMP-S000225994 | TEMP-S000225994
| FB PN | 07-100613 | 07-100613 | 07-100613
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HGZ168-1231 | HGZ168-1231 | HGZ168-1231
| Quantity | 1 | 1 | 1
07- NIC1 3-to 1 cable | ODM PN | TEMP-S000225993 | TEMP-S000225993 | TEMP-S000225993
| FB PN | 07-100614 | 07-100614 | 07-100614
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HGZ168-1232 | HGZ168-1232 | HGZ168-1232
| Quantity | 1 | 1 | 1
07- Front IO board SlimSAS | ODM PN | TEMP-S000225995 | TEMP-S000225995 | TEMP-S000225995
| FB PN | 07-100615 | 07-100615 | 07-100615
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HSL38-4032 | HSL38-4032 | HSL38-4032
| Quantity | 1 | 1 | 1
07- E1.S Backplane power cable | ODM PN | TEMP-S000225996 | TEMP-S000225996 | TEMP-S000225996
| FB PN | 07-100616 | 07-100616 | 07-100616
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HWHHW-BA89 | HWHHW-BA89 | HWHHW-BA89
| Quantity | 1 | 1 | 1
07- E1.S Backplane MCIO Y cable 1 | ODM PN | TEMP-S000225997 | TEMP-S000225997 | TEMP-S000225997
| FB PN | 07-100617 | 07-100617 | 07-100617
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HMC74-C264 | HMC74-C264 | HMC74-C264
| Quantity | 1 | 1 | 1
07- E1.S Backplane MCIO Y cable 2 | ODM PN | TEMP-S000225998 | TEMP-S000225998 | TEMP-S000225998
| FB PN | 07-100618 | 07-100618 | 07-100618
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HMC74-C265 | HMC74-C265 | HMC74-C265
| Quantity | 1 | 1 | 1
07- OSFP PWR cable | ODM PN | TEMP-S000225999 | TEMP-S000225999 | TEMP-S000225999
| FB PN | 07-100619 | 07-100619 | 07-100619
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HWHHW-BA90 | HWHHW-BA90 | HWHHW-BA90
| Quantity | 1 | 1 | 1
07- OSFP sideband cable 1 | ODM PN | TEMP-S000226000 | TEMP-S000226000 | TEMP-S000226000
| FB PN | 07-100620 | 07-100620 | 07-100620
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HWHHW-BA91 | HWHHW-BA91 | HWHHW-BA91
| Quantity | 1 | 1 | 1
07- OSFP sideband cable 2 | ODM PN | TEMP-S000226001 | TEMP-S000226001 | TEMP-S000226001
| FB PN | 07-100621 | 07-100621 | 07-100621
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HWHHW-BA92 | HWHHW-BA92 | HWHHW-BA92
| Quantity | 1 | 1 | 1
07- E1.S SSD Y cable | ODM PN | TEMP-S000226109 | TEMP-S000226109 | TEMP-S000226109
| FB PN | 07-100622 | 07-100622 | 07-100622
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HGZ56-0922 | HGZ56-0922 | HGZ56-0922
| Quantity | 1 | 1 | 1
07- Leakage sensor cable 1 | ODM PN | TEMP-S000226002 | TEMP-S000226002 | TEMP-S000226002
| FB PN | 07-100623 | 07-100623 | 07-100623
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HWHHW-BA93 | HWHHW-BA93 | HWHHW-BA93
| Quantity | 1 | 1 | 1
07- Leakage sensor cable 2 | ODM PN | TEMP-S000226003 | TEMP-S000226003 | TEMP-S000226003
| FB PN | 07-100624 | 07-100624 | 07-100624
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HWHHW-BA94 | HWHHW-BA94 | HWHHW-BA94
| Quantity | 1 | 1 | 1
07- Leakage sensor cable 3 | ODM PN | TEMP-S000226004 | TEMP-S000226004 | TEMP-S000226004
| FB PN | 07-100625 | 07-100625 | 07-100625
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HWHHW-BA95 | HWHHW-BA95 | HWHHW-BA95
| Quantity | 1 | 1 | 1
07- Leakage sensor cable 4 | ODM PN | TEMP-S000226005 | TEMP-S000226005 | TEMP-S000226005
| FB PN | 07-100626 | 07-100626 | 07-100626
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HWHHW-BA96 | HWHHW-BA96 | HWHHW-BA96
| Quantity | 1 | 1 | 1
07- Hotswap sideband cable | ODM PN | TEMP-S000226110 | TEMP-S000226110 | TEMP-S000226110
| FB PN | 07-100627 | 07-100627 | 07-100627
| Vendor | Amphenol | Amphenol | Amphenol
| MPN | HWHHW-BB41 | HWHHW-BB41 | HWHHW-BB41
| Quantity | 1 | 1 | 1
07- 54V Busbar Clip | ODM PN | TE: TEMP-S000227638 Bizlink: TBD Bizlink: TEMP-S000227991 | TE: TEMP-S000227638 Bizlink: TBD Bizlink: TEMP-S000227991 | TE: TEMP-S000227638 Bizlink: TBD Bizlink: TEMP-S000227991
| FB PN | 07-100628 | 07-100628 | 07-100628
| Vendor | TE/Bizlink | TE/Bizlink | TE/Bizlink
| MPN | TE: 2502255-1 Bizlink: TBD Bizlink: 747-BL01B6S8BNB3Y24S2YK | TE: 2502255-1 Bizlink: TBD Bizlink: 747-BL01B6S8BNB3Y24S2YK | TE: 2502255-1 Bizlink: TBD Bizlink: 747-BL01B6S8BNB3Y24S2YK
| Quantity | 1 | 1 | 1
27- Compute Tray Assy | ODM PN | 1A72CHE00-600-G | 1A72CHE00-600-G | 1A72CHE00-600-G
| FB PN | 27-100382 | 27-100382 | 27-100382
| Quantity | 1 | 1 | 1
27- MB Carrier Assy | ODM PN
FB PN
| Quantity | 2 | 2 | 2
Coolant | ODM PN | TEMP-S000189576 | TEMP-S000189576 | TEMP-S000189576
| FB PN | 05-100229 | 05-100229 | 05-100229
| Quantity | 0 | 0 | 0

## EVT - L11 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Config B
| Description |  | NO-GPU; L10 DETACHED
| Rack Qty | 1 | 1 | Ingrasys Note | Ingrasys Owner | Meta Note | Status
TLA | FBPN | 15-102063 (Samsung) 15-102064 (Micron) 15-102065 (WD) | 15-102135 (Samsung)
| ODM PN | 1A72BSQ00-600-G | 1A72D6F00-600-G
01-CI Server Chassis (mini-rack) | Category | 01-101142 (Samsung) 01-101143 (Micron) 01-101144 (WD) | 01-101157 (Samsung)
01- CI Compute Tray Assy | ODM PN | 1A72BSJ00-600-G
| FB PN | 01-101139 (Samsung) 01-101140 (Micron) 01-101141 (WD) | 01-101156 (Samsung)
| Quantity | 3 | 3
01- CI RMC Tray Assy | ODM PN | TEMP-S000226516 | TEMP-S000226516
| FB PN | 01-101125 | 01-101125
| Vendor | Qunta | Qunta
| MPN | 3RL05MA0010 | 3RL05MA0010
| Quantity | 1 | 1
20 - CI NVSO Tray Assy | ODM PN | TEMP-S000225750 TEMP-S000226516 | TEMP-S000225750 TEMP-S000226516
| FB PN | 20-100200 | 20-100200
| Vendor | NVIDIA | NVIDIA
| MPN | 920-9K33R-00MV-ES1 920-9K33R-00MV-ES0 | 920-9K33R-00MV-ES1 920-9K33R-00MV-ES0
| Quantity | 9 3 | 9 3
55 - Rack & Power Sub-assy | Quantity | 55-100197 | 55-100197
|  | 1 | 1
06- IT Rack Frame | ODM PN | TEMP-S000226517 | TEMP-S000226517
| FB PN | 06-100018 | 06-100018
| Vendor | Rittal | Rittal
| MPN | 7844664 | 7844664
| Quantity | 1 | 1
Canister | ODM PN | 1A72B7000-600-G1 | 1A72B7000-600-G1
| FB PN | 27-100238 | 27-100238
| Quantity | 1 | 1
Cable Cartridge (Left/Right) | ODM PN | TEMP-S000224304 | TEMP-S000224304
| FB PN | 07-100580 | 07-100580
| Vendor | NVIDIA | NVIDIA
| MPN | 965-24972-0020-000 | 965-24972-0020-000
| Quantity | 1 4 | 1 4
27- ORV3 power shelf rail | ODM PN | TEMP-S000222271 | TEMP-S000222271
| FB PN | 27-001501 | 27-001501
| Vendor | Rittal | Rittal
| MPN | 7844557 | 7844557
| Quantity | 4 8 | 4 8
27- ORV3 IT rail | ODM PN | TEMP-S000222274 | TEMP-S000222274
| FB PN | 27-001499 | 27-001499
| Vendor | Rittal | Rittal
| MPN | 7844556 | 7844556
| Quantity | 6 3 | 6 3
27- MiniPack3 Railkit | ODM PN | TEMP-S000227145 | TEMP-S000227145
| FB PN | 27-001629 | 27-001629
| Vendor | KingSlide | KingSlide
| MPN | U602-625-IM | U602-625-IM
| Quantity | 1 | 1
27- L10 system rail kit | ODM PN | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736 | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736
| FB PN | 27-100239 | 27-100239
| Vendor | Kingslide | Kingslide
| MPN | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP
| Quantity | 27 | 27
Hot Manifold | ODM PN | CM: TEMP-S000227454 AVC: TEMP-S000227002 | CM: TEMP-S000227454 AVC: TEMP-S000227002
| FB PN | 27-100380 | 27-100380
| Vendor | CoolerMaster/AVC | CoolerMaster/AVC
| MPN | CM: LC-05125-01-GP2S1 AVC: SFA3680001-1 | CM: LC-05125-01-GP2S1 AVC: SFA3680001-1
| Quantity | 1 | 1
Cold Manifold | ODM PN | CM: TEMP-S000227453 AVC: TEMP-S000227001 | CM: TEMP-S000227453 AVC: TEMP-S000227001
| FB PN | 27-100381 | 27-100381
| Vendor | CoolerMaster/AVC | CoolerMaster/AVC
| MPN | CM: LC-05124-01-GP2S1 AVC: SFA3690001-1 | CM: LC-05124-01-GP2S1 AVC: SFA3690001-1
| Quantity | 1 | 1
GB200 Meta RMF_GS_Cold_CPC-Parker | ODM PN | TEMP-S000227050 | TEMP-S000227050
| FB PN | 27-100372 27-100419 | 27-100372 27-100419
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05004-01-GP2S1 | LC-05004-01-GP2S1
| Quantity | 1 | 1
GB200 Meta RMF_GS_Hot_CPC-Parker | ODM PN | TEMP-S000227051 | TEMP-S000227051
| FB PN | 27-100373 27-100420 | 27-100373 27-100420
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05008-01-GP2S1 | LC-05008-01-GP2S1
| Quantity | 1 | 1
GB200 RMF Hose GS Cold 6ft | ODM PN | TEMP-S000224357 | TEMP-S000224357
| FB PN | 27-100377 27-100421 | 27-100377 27-100421
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05015-01-GP2S1 | LC-05015-01-GP2S1
| Quantity | 1 | 1
GB200 RMF Hose GS Cold 4ft | ODM PN | TEMP-S000224358 | TEMP-S000224358
| FB PN | 27-100376 27-100422 | 27-100376 27-100422
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05016-01-GP2S1 | LC-05016-01-GP2S1
| Quantity | 1 | 1
GB200 RMF Hose GS Hot 6ft | ODM PN | TEMP-S000224359 | TEMP-S000224359
| FB PN | 27-100378 27-100423 | 27-100378 27-100423
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05017-01-GP2S1 | LC-05017-01-GP2S1
| Quantity | 1 | 1
GB200 RMF Hose GS Hot 4ft | ODM PN | TEMP-S000224360 | TEMP-S000224360
| FB PN | 27-100375 27-100424 | 27-100375 27-100424
| Vendor | Cooler Master | Cooler Master
| MPN | LC-05018-01-GP2S1 | LC-05018-01-GP2S1
| Quantity | 1 | 1
14- Power Shelf | ODM PN | TEMP-S000225752 | TEMP-S000225752
| FB PN | 14-100015 | 14-100015
| Vendor | AEI | AEI
| MPN | 700-037148-1000 | 700-037148-1000
| Quantity | 4 | 4
03- PSU (5.5 KW) | ODM PN | TEMP-S000225753 | TEMP-S000225753
| FB PN | 03-100049 | 03-100049
| Vendor | AEI | AEI
| MPN | 700-037147-0000 | 700-037147-0000
| Quantity | 24 | 24
07- ORV3 AC Whip | ODM PN | TEMP-S000227146 | TEMP-S000227146
| FB PN | 07-100609 | 07-100609
| Vendor | Amphenol | Amphenol
| MPN | 10178161-C7A303 | 10178161-C7A303
| Quantity | 8 | 8
07- ORV3 AC input Cable_NEMA-A (left) | ODM PN | TEMP-S000222276 | TEMP-S000222276
| FB PN | 07-100165 | 07-100165
| Vendor | Amphenol | Amphenol
| MPN | 10175249-C78303 | 10175249-C78303
| Quantity | 6 | 6
07- ORV3 AC input Cable_NEMA-A (right) | ODM PN | TEMP-S000222277 | TEMP-S000222277
| FB PN | 07-100169 | 07-100169
| Vendor | Amphenol | Amphenol
| MPN | 10175743-C78303 | 10175743-C78303
| Quantity | 6 | 6
01_top-slim-vcm-44u_clc.asm | ODM PN | 1A72CCY00-600-G | 1A72CCY00-600-G
| FB PN | 27-100415 | 27-100415
| Quantity | 2 | 2
01_top-slim-vcm-44u-b_clc.asm | ODM PN | 1A72CD400-600-G | 1A72CD400-600-G
| FB PN | 27-100416 | 27-100416
| Quantity | 1 | 1
54 - Network Sub-assy | Quantity | 54-100090 | 54-100090
|  | 1 | 1
20 - Minipack3 ORV3 DC bundle (include PSU + power cord) | ODM PN | TEMP-S000224821 | TEMP-S000224821
| FB PN | 30-100078 | 30-100078
| Vendor | Celestica | Celestica
| MPN | R3214-F9013-A2 | R3214-F9013-A2
| Quantity | 1 | 1
27- MiniPack3 Outer shelf | ODM PN | TEMP-S000227194 | TEMP-S000227194
| FB PN | 27-100124 | 27-100124
| Vendor | IMG | IMG
| MPN | R4002-F0101-03 | R4002-F0101-03
| Quantity | 1 | 1
20- Management Switch 7010, come with tray | ODM PN | TEMP-S000222287 | TEMP-S000222287
| FB PN | 20-100100 | 20-100100
| Vendor | Arista | Arista
| MPN | FB-7010TX-48C-DC-RV3-F | FB-7010TX-48C-DC-RV3-F
| Quantity | 1 | 1
07- 800G OSFP to 2x400G OSFP DAC, 2m | ODM PN | TEMP-S000227734 TEMP-S000227731 TEMP-S000229185 | TEMP-S000227734 TEMP-S000227731 TEMP-S000229185
| FB PN | 07-100643 | 07-100643
| Vendor | Luxshare/ Amphenol | Luxshare/ Amphenol
| MPN | Luxshare : L8BSQ015-SD-R Amphenol : NND1DQ-0002 Amphenol : NND1DE-0002 | Luxshare : L8BSQ015-SD-R Amphenol : NND1DQ-0002 Amphenol : NND1DE-0002
| Quantity | 3 | 3
07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 2m | ODM PN
| FB PN | 07-100608 | 07-100608
| Vendor | Credo/Molex | Credo/Molex
| MPN | Credo: CAC82X321A1B-C1-HW Molex: 2253611201 | Credo: CAC82X321A1B-C1-HW Molex: 2253611201
| Quantity | 24 | 24
07- 10G DAC -2500mm (SFP+ to QSFP28) | ODM PN | TEMP-S000227577 | TEMP-S000227577
| FB PN | 07-100676 | 07-100676
| Vendor | LXP | LXP
| MPN | L02QF025-SD-H | L02QF025-SD-H
| Quantity | 2 | 2
07- 10G DAC -2500mm (SFP+ to SFP+) | ODM PN | TEMP-S000222299 | TEMP-S000222299
| FB PN | 07-100679 | 07-100679
| Vendor | LXP | LXP
| MPN | L02SF085-SD-H | L02SF085-SD-H
| Quantity | 1 | 1
07- GB300 Stby power cable | ODM PN
| FB PN | 07-100675 | 07-100675
| Vendor | Amphenol | Amphenol
MPN
| Quantity | 8 | 8
07- 10G DAC - RESW to SPR RSW - 2500mm | ODM PN
| FB PN | 07-100686 | 07-100686
Vendor
MPN
Quantity
07- RJ45 Cable, shield - 2500mm | ODM PN | TEMP-S000222309 TEMP-S000229179 | TEMP-S000222309 TEMP-S000229179
| FB PN | 07-100363 | 07-100363
| Vendor | GLE Bellwether | GLE Bellwether
| MPN | GLE : WJE240801B Bellwether : 76183-453R | GLE : WJE240801B Bellwether : 76183-453R
| Quantity | 3 | 3
07- RJ45 Cable, shield - 1500mm | ODM PN | TEMP-S000222307 | TEMP-S000222307
| FB PN | 07-100361 | 07-100361
| Vendor | GLE | GLE
| MPN | WJE240794B | WJE240794B
| Quantity | 4 | 4
07- RJ45 Cable, shield - 500mm | ODM PN | TEMP-S000228930 TEMP-S000229178 | TEMP-S000228930 TEMP-S000229178
| FB PN | 07-100376 07-100713 | 07-100376 07-100713
| Vendor | GLE Bellwether | GLE Bellwether
| MPN | GLE : WJE250310B Bellwether : 76183-454R | GLE : WJE250310B Bellwether : 76183-454R
| Quantity | 4 | 4
07- RJ45 Cable, shield - 2000mm | ODM PN | TEMP-S000222325 | TEMP-S000222325
| FB PN | 07-100392 | 07-100392
| Vendor | GLE | GLE
| MPN | WJE240799B | WJE240799B
| Quantity | 4 | 4
07- RJ45 Cable, shield -6500mm | ODM PN | TEMP-S000226126 | TEMP-S000226126
| FB PN | 07-100684 | 07-100684
| Vendor | GLE | GLE
| MPN | WJE250008B | WJE250008B
| Quantity | 6 | 6
07- leakage detection RJ45 Cable - RMC to NVSW 1600mm | ODM PN
| FB PN | 07-100678 | 07-100678
| Quantity | 2 | 2
07- Leakage sensor RJ45 cable - 5600mm | ODM PN | TEMP-S000222267 | TEMP-S000222267
| FB PN | 07-100524 | 07-100524
| Vendor | Amphenol | Amphenol
| MPN | HWHHW-AA08 | HWHHW-AA08
| Quantity | 1 | 1
Termination plug, 120 ohm | ODM PN | TEMP-S000227590 | TEMP-S000227590
| FB PN | 27-100417 | 27-100417
| Vendor | Amphenol | Amphenol
| MPN | RJP-1MF-0002-HF | RJP-1MF-0002-HF
| Quantity | 1 | 1
Coolant, ship in Wet - NV tray and the rest of L11 | Quantity | ea | ea
26- Rack Packing_with Wooden Crate | Quantity | 1 | 1
1OU Pizza Box | ODM PN | TEMP-S000223211 | TEMP-S000223211
| FB PN | 05-000676 | 05-000676
| Vendor | Blue Rose Packaging | Blue Rose Packaging
| MPN | BRP-61425.ARB | BRP-61425.ARB
| Quantity | 1 | 1
2OU Pizza Box | ODM PN | TEMP-S000223212 | TEMP-S000223212
| FB PN | 05-000677 | 05-000677
| Vendor | Blue Rose Packaging | Blue Rose Packaging
| MPN | BRP-63320.ARB | BRP-63320.ARB
| Quantity | 3 | 3

## DVT Rack config
f
| EVT2 Rack config (Foxconn Rack) |  |  |  | EVT2 Rack config (Meta Rack)
| U44 | Rack Management Conroller | U44 |  | U44 | Rack Management Conroller | U44
| U43 | 2OU Air Baffle | U43 | not assy Suppercap shelf in EVT2 | U43 | 2OU Air Baffle | U43
| U42 |  | U42 | not assy Suppercap shelf in EVT2 | U42 |  | U42
| U41 | Power Shelf_1 | U41 |  | U41 | Power Shelf_1 | U41
| U40 | Power Shelf_2 | U40 |  | U40 | Power Shelf_2 | U40
| U39 | Minipack 3/ FE RSW | U39 |  | U39 | Minipack 3/ FE RSW | U39
| U38 |  | U38 |  | U38 |  | U38
| U37 |  | U37 |  | U37 |  | U37
| U36 |  | U36 |  | U36 |  | U36
| U35 | Dummy Compute Tray -18 | U35 |  | U35 | Dummy Compute Tray - 18 | U35 | Dummy Chassis for Compute tray
| U34 | Dummy Compute Tray - 17 | U34 |  | U34 | Dummy Compute Tray - 17 | U34 | Dummy Chassis for Compute tray
| U33 | Dummy Compute Tray - 16 | U33 |  | U33 | Dummy Compute Tray - 16 | U33 | Dummy Chassis for Compute tray
| U32 | Compute Tray-15 | U32 |  | U32 | Dummy Compute Tray - 15 | U32 | Dummy Chassis for Compute tray
| U31 | Compute Tray-14 | U31 |  | U31 | Dummy Compute Tray - 14 | U31 | Dummy Chassis for Compute tray
| U30 | Compute Tray-13 | U30 |  | U30 | Dummy Compute Tray - 13 | U30 | Dummy Chassis for Compute tray
| U29 | Compute Tray-12 | U29 |  | U29 | Dummy Compute Tray - 12 | U29 | Dummy Chassis for Compute tray
| U28 | Compute Tray-11 | U28 |  | U28 | Dummy Compute Tray - 11 | U28 | Dummy Chassis for Compute tray
| U27 | Compute Tray-10 | U27 |  | U27 | Dummy Compute Tray - 10 | U27 | Dummy Chassis for Compute tray
| U26 | Compute Tray-09 | U26 |  | U26 | Dummy Compute Tray - 09 | U26 | Dummy Chassis for Compute tray
| U25 | Swtich Tray-09 | U25 |  | U25 | Swtich Tray-02 | U25
| U24 | Swtich Tray-08 | U24 |  | U24 | Swtich Tray-01 | U24
| U23 | Swtich Tray-07 | U23 |  | U23 | Dummy Switch Tray - 03 | U23 | Dummy Chassis for Switch tray
| U22 | Swtich Tray-06 | U22 |  | U22 | Dummy Switch Tray - 04 | U22 | Dummy Chassis for Switch tray
| U21 | Swtich Tray-05 | U21 |  | U21 | Dummy Switch Tray - 05 | U21 | Dummy Chassis for Switch tray
| U20 | Swtich Tray-04 | U20 |  | U20 | Dummy Switch Tray - 06 | U20 | Dummy Chassis for Switch tray
| U19 | Swtich Tray-03 | U19 |  | U19 | Dummy Switch Tray - 07 | U19 | Dummy Chassis for Switch tray
| U18 | Dummy Switch Tray - 01 | U18 |  | U18 | Dummy Switch Tray - 08 | U18 | Dummy Chassis for Switch tray
| U17 | Dummy Switch Tray - 02 | U17 |  | U17 | Dummy Switch Tray - 09 | U17 | Dummy Chassis for Switch tray
| U16 | Compute Tray-08 | U16 |  | U16 | Dummy Compute Tray - 08 | U16 | Dummy Chassis for Compute tray
| U15 | Compute Tray-07 | U15 |  | U15 | Dummy Compute Tray - 07 | U15 | Dummy Chassis for Compute tray
| U14 | Compute Tray-06 | U14 |  | U14 | Dummy Compute Tray - 06 | U14 | Dummy Chassis for Compute tray
| U13 | Compute Tray-05 | U13 |  | U13 | Dummy Compute Tray - 05 | U13 | Dummy Chassis for Compute tray
| U12 | Compute Tray-04 | U12 |  | U12 | Dummy Compute Tray - 04 | U12 | Dummy Chassis for Compute tray
| U11 | Compute Tray-03 | U11 |  | U11 | Compute Tray-03 | U11
| U10 | Compute Tray-02 | U10 |  | U10 | Compute Tray-02 | U10
| U9 | Compute Tray-01 | U9 |  | U9 | Compute Tray-01 | U9
| U8 | 1OU Air Baffle | U8 |  | U8 | 1OU Air Baffle | U8
| U7 | Management SW (RESW) | U7 |  | U7 | Management SW (RESW) | U7
| U6 | 2OU Air Baffle | U6 |  | U6 | 2OU Air Baffle | U6
| U5 |  | U5 |  | U5 |  | U5
| U4 | Power Shelf_3 | U4 |  | U4 | Power Shelf_3 | U4
| U3 | Power Shelf_4 | U3 |  | U3 | Power Shelf_4 | U3
| U2 | 2OU Air Baffle | U2 | not assy Suppercap shelf in EVT2 | U2 | 2OU Air Baffle | U2
| U1 |  | U1 | not assy Suppercap shelf in EVT2 | U1 |  | U1