## Revision History
TS | Name | Changes
2025-03-18 | Akash Borate | Draft Template to share with Ingrasys
2025-03-21 | Enya Chen | 1. Ingrasys initial release DVT L10/L11 Build Matrix @Pedro: Based on discussing, #1). TLA keep to use (15-102063, 15-102064, 15-102065); #2). Remove mini-rack level; #3). FBPN of L10 Compute tray keep to use (01-101139, 01-101140, 01-101141) @Kui, per discussing, IGS add a "ODM ASSY PN" for Fan ASSY FRU (include fan and fan bracket)
2025-04-07 | Pedro Acosta | Channel Islands Clemente-GB300 L10 DVT 1. Updated new FBPNs to align with new MPN, and ODM PN provided. Green highlighted are items updated 2. Row # 156 - Duplicate ODM PN provided, please validate and provide new ODM PN 3. Row # 78-81 - New SXM7 Connected added, please provide ODM PN and MPN if available 4. Row # 6 - Missing ODM PN for Micron and WD Configurations, please provide ODM PN for remaining configuration 5. Row # 9 Confirm if we should be using a new ODM PN for the GB300 Module 6. Row # 40, 108, 138, 163, need ODM PN, please provide when available 7. Row #129-131, PDB Keep in the BOM and Build Matrix per PQE (Kui) Note* Three ECOs have been routed for approvals to release new FBPNs released, ECO-CS-AI-100855 - 07-Cables and misc FBPNs ECO-CS-AI-100856 - L6 PCBAs ECO-CS-AI-100859 - 19-CPU GPU Module and updates to 01-Server BOMs to add new FBPNs
2025-04-11 | Rex Tsai | DVT - L10 Build Matrix @Pedro, Please help to provide FBPN (Row : 13, 18, 131, 140, 146, 173, 211, 342, 345, 348, 351, 354, 357, 360, 363, 366, 369, 372) Add DVT - RMT L10 Build Matrix @Pedro, Please help to provide FBPN (Row : 7, 10, 13, 16, 19, 22, 25, 28, 31, 34, 37, 40, 43, 48, 53, 58, 63, 68, 73, 78, 83, 88, 93, 96, 99, 102, 105, 108, 113, 118, 121, 124, 127, 132, 137) DVT - L11 Build Matrix @Pedro, Please help to provide FBPN (Row : 6, 8, 11, 14, 18, 24, 30, 35, 40, 45, 75, 80, 85, 90, 95, 100, 120, 123, 127, 147, 152, 157, 162, 167, 207, 212, 217)
2025-04-21 | Pedro Acosta | DVT - L10 Build Matrix ROW#137 MPN for Samsung changed to MZOL67T6HDLA-00AFB, need new ODM PN
2025-05-09 | Rex Tsai | Update to Bianca Version

## DVT - L10 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Config B | Config C | Config D | Meta Comments | Ingrasys Note
| Description | Vendor A | Vendor B | Vendor C | Vendor D
| Rack Qty | 1 | 1 | 1 | 1
01- CI Compute Tray Assy | ODM PN | 1A72DR800-600-G (Samsung) 1A72EUL00-600-G (Micron) 1A72EUM00-600-G (WD) | 1A72DR800-600-G (Samsung) 1A72EUL00-600-G (Micron) 1A72EUM00-600-G (WD) | 1A72DR800-600-G (Samsung) 1A72EUL00-600-G (Micron) 1A72EUM00-600-G (WD) | 1A72DR800-600-G (Samsung) 1A72EUL00-600-G (Micron) 1A72EUM00-600-G (WD)
| FB PN | 01-101139 (Samsung) 01-101140 (Micron) 01-101141 (WD) | 01-101139 (Samsung) 01-101140 (Micron) 01-101141 (WD) | 01-101139 (Samsung) 01-101140 (Micron) 01-101141 (WD) | 01-101139 (Samsung) 01-101140 (Micron) 01-101141 (WD)
| Quantity | 1 | 1 | 1 | 1
19- GB300 Module | ODM PN | TEMP-S000228052 | TEMP-S000228052 | TEMP-S000228052 | TEMP-S000228052
| FB PN | 19-100682 | 19-100682 | 19-100682 | 19-100682
| Quantity | 1 | 1 | 1 | 1
19- GB300 Module (including GPU) HPM + GPU | ODM PN | TEMP-S000228119 | TEMP-S000228119 | TEMP-S000228119 | TEMP-S000228119
| FB PN | 19-100681 | 19-100681 | 19-100681 | 19-100681
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | 675-24480-0000-QS1 | 675-24480-0000-QS1 | 675-24480-0000-QS1 | 675-24480-0000-QS1
| Quantity | 1 | 1 | 1 | 1
19- GPU Assy | ODM PN
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
11- CPU | ODM PN | TEMP-S000234928 | TEMP-S000234928 | TEMP-S000234928 | TEMP-S000234928
| FB PN | 11-100103 | 11-100103 | 11-100103 | 11-100103
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | 11-100103 PHantom PN (FBPN=MPN) | 11-100103 PHantom PN (FBPN=MPN) | 11-100103 PHantom PN (FBPN=MPN) | 11-100103 PHantom PN (FBPN=MPN)
| Quantity | 2 | 2 | 2 | 2
10-Memory | ODM PN | Micron: TEMP-S000227026 Kingston: TEMP-S000226361 | Micron: TEMP-S000227026 Kingston: TEMP-S000226361 | Micron: TEMP-S000227026 Kingston: TEMP-S000226361 | Micron: TEMP-S000227026 Kingston: TEMP-S000226361
| FB PN | 10-100141 | 10-100141 | 10-100141 | 10-100141
| Vendor | Micron/Kingston | Micron/Kingston | Micron/Kingston | Micron/Kingston
| MPN | Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128 | Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128 | Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128 | Micron:MTD64C40327NL2N031F1 Kingston: NV064SC8G32MB-128
| Quantity | 8 | 8 | 8 | 8
01 - Bianca_QD Matrix1, DVT | ODM PN | CM: TEMP-S000234894 | AVC: TEMP-S000234906 | Auras: TEMP-S000234920 | BOYD: TEMP-S000234924
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000234894 | AVC: TEMP-S000234906 | Auras: TEMP-S000234920 | BOYD: TEMP-S000234924
| Quantity | 1 | 1 | 1 | 1
01 - Bianca_QD Matrix2, DVT | ODM PN | CM: TEMP-S000234895 | AVC: TEMP-S000234917 | Auras: TEMP-S000234921 | BOYD: TEMP-S000234925
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000234895 | AVC: TEMP-S000234917 | Auras: TEMP-S000234921 | BOYD: TEMP-S000234925
| Quantity | 1 | 1 | 1 | 1
01 - Bianca_QD Matrix3, DVT | ODM PN | CM: TEMP-S000234896 | AVC: TEMP-S000234918 | Auras: TEMP-S000234922 | BOYD: TEMP-S000234926
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000234896 | AVC: TEMP-S000234918 | Auras: TEMP-S000234922 | BOYD: TEMP-S000234926
| Quantity | 1 | 1 | 1 | 1
01 - Bianca_QD Matrix4, DVT | ODM PN | CM: TEMP-S000234903 | AVC: TEMP-S000234919 | Auras: TEMP-S000234923 | BOYD: TEMP-S000234927
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000234903 | AVC: TEMP-S000234919 | Auras: TEMP-S000234923 | BOYD: TEMP-S000234927
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_L (Parker) | ODM PN | CM: TEMP-S000235059 | AVC: TEMP-S000235202 | Auras: TEMP-S000235073 | BOYD: TEMP-S000235088
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05447-01-GP3S1 | AVC: SFA6380001 | Auras: 0S51B00206 | BOYD: 122883
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_R (Parker) | ODM PN | CM: TEMP-S000235061 | AVC: TEMP-S000235204 | Auras: TEMP-S000235075 | BOYD: TEMP-S000235092
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05448-01-GP3S1 | AVC: SFA6390001 | Auras: 0S51B00207 | BOYD: 122885
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_L (Danfoss) | ODM PN | CM: TEMP-S000235056 | AVC: TEMP-S000235201 | Auras: TEMP-S000235072 | BOYD: TEMP-S000235086
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05445-01-GP3S1 | AVC: SFA6360001 | Auras: 0S51B00204 | BOYD: 122882
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_R (Danfoss) | ODM PN | CM: TEMP-S000235060 | AVC: TEMP-S000235203 | Auras: TEMP-S000235074 | BOYD: TEMP-S000235089
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05446-01-GP3S1 | AVC: SFA6370001 | Auras: 0S51B00205 | BOYD: 122884
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L (Parker+Parker) | ODM PN | CM: TEMP-S000235067 | AVC: TEMP-S000235208 | Auras: TEMP-S000235081 | BOYD: TEMP-S000235096
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05452-01-GP3S1 | AVC: SFA6460001 | Auras: 0S53B00124 | BOYD: 122893
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R (Parker+Parker) | ODM PN | CM: TEMP-S000235071 | AVC: TEMP-S000235213 | Auras: TEMP-S000235085 | BOYD: TEMP-S000235100
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05453-01-GP3S1 | AVC: SFA6450001 | Auras: 0S53B00125 | BOYD: 122897
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L (Danfoss+Danfoss) | ODM PN | CM: TEMP-S000235065 | AVC: TEMP-S000235207 | Auras: TEMP-S000235080 | BOYD: TEMP-S000235095
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05450-01-GP3S1 | AVC: SFA6480001 | Auras: 0S53B00126 | BOYD: 122889
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R (Danfoss+Danfoss) | ODM PN | CM: TEMP-S000235070 | AVC: TEMP-S000235212 | Auras: TEMP-S000235084 | BOYD: TEMP-S000235099
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05451-01-GP3S1 | AVC: SFA6470001 | Auras: 0S53B00127 | BOYD: 122896
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L (CPC+Parker) | ODM PN | CM: TEMP-S000235064 | AVC: TEMP-S000235206 | Auras: TEMP-S000235077 | BOYD: TEMP-S000235094
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05456-01-GP3S1 | AVC: SFA6510001 | Auras: 0S53B00122 | BOYD: 122888
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R (CPC+Parker) | ODM PN | CM: TEMP-S000235069 | AVC: TEMP-S000235210 | Auras: TEMP-S000235083 | BOYD: TEMP-S000235098
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05457-01-GP3S1 | AVC: SFA6490001 | Auras: 0S53B00123 | BOYD: 122895
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L (CPC+Danfoss) | ODM PN | CM: TEMP-S000235063 | AVC: TEMP-S000235205 | Auras: TEMP-S000235076 | BOYD: TEMP-S000235093
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05454-01-GP3S1 | AVC: SFA6430001 | Auras: 0S53B00120 | BOYD: 122886
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R (CPC+Danfoss) | ODM PN | CM: TEMP-S000235068 | AVC: TEMP-S000235209 | Auras: TEMP-S000235082 | BOYD: TEMP-S000235097
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05455-01-GP3S1 | AVC: SFA6440001 | Auras: 0S53B00121 | BOYD: 122894
| Quantity | 1 | 1 | 1 | 1
07-LGA for CX8 Connecter | ODM PN | TEMP-S000232700 | TEMP-S000232700 | TEMP-S000232700 | TEMP-S000232700
| FB PN | 07-100632 | 07-100632 | 07-100632 | 07-100632
| Vendor | Foxconn | Foxconn | Foxconn | Foxconn
| MPN | PL08517-12NN0-4H | PL08517-12NN0-4H | PL08517-12NN0-4H | PL08517-12NN0-4H
| Quantity | 2 | 2 | 2 | 2
19- NIC Card CX8 Dual Port 800G | ODM PN | TEMP-S000235180 | TEMP-S000235180 | TEMP-S000235180 | TEMP-S000235180
| FB PN | TBD | TBD | TBD | TBD
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | 900-9X86E-00CX-SP0 | 900-9X86E-00CX-SP0 | 900-9X86E-00CX-SP0 | 900-9X86E-00CX-SP0
| Quantity | 2 | 2 | 2 | 2
19- CX7 Frontend NIC, IO board | ODM PN | TEMP-S000226360 | TEMP-S000226360 | TEMP-S000226360 | TEMP-S000226360
| FB PN | 19-100602 | 19-100602 | 19-100602 | 19-100602
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB
| Quantity | 2 | 2 | 2 | 2
19- HMC module for GB300 | ODM PN | TEMP-S000236257 | TEMP-S000236257 | TEMP-S000236257 | TEMP-S000236257
| FB PN | TBD | TBD | TBD | TBD
| Vendor | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2
| MPN | TEMP-S000236257 | TEMP-S000236257 | TEMP-S000236257 | TEMP-S000236257
| Quantity | 1 | 1 | 1 | 1
27- HMC Bracket | ODM PN | 1A72FVN00-600-G | 1A72FVN00-600-G | 1A72FVN00-600-G | 1A72FVN00-600-G
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
09- 2TB E1.S boot drive | ODM PN | Samsung: TEMP-S000225741 | Micron: TEMP-S000225742 | Kioxia: TEMP-S000225743 | Samsung: TEMP-S000225741
| ODM Assy PN | 1A72D4300-600-G | 1A72D4300-600-G | 1A72D4300-600-G | 1A72D4300-600-G
| FB PN | 09-100274 | 09-100274 | 09-100274 | 09-100274
| Vendor | Samsung | Micron | Kioxia | Samsung
| MPN | Samsung: MZTL61T9HFJA-00AFB | Micron: MTFDKBT1T9TFR-1BC4DABVA | Kioxia: KXDZDRJJ1T92 | Samsung: MZTL61T9HFJA-00AFB
| Quantity | 1 | 1 | 1 | 1
27- SSD holder | ODM PN | 1A72G6H00-600-G | 1A72G6H00-600-G | 1A72G6H00-600-G | 1A72G6H00-600-G
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
09- 8TB E1.S SSD | ODM PN | Samsung: TEMP-S000225744 | WD: TEMP-S000225745 | Micron: TEMP-S000225746 | Samsung: TEMP-S000225744
| ODM Assy PN | 1A72D4300-600-G | 1A72D4300-600-G | 1A72D4300-600-G | 1A72D4300-600-G
| FB PN | 09-100273 (Samsung) | 09-100271 (WD) | 09-100272 (Micron) | 09-100273 (Samsung)
| Vendor | Samsung | WD | Micron | Samsung
| MPN | Samsung: MZOL67T6HBLC-00AFB | WD: WUS6A7676PJP8X7 | Micron: MTFDLBU7T6THC-1BK4FABVA | Samsung: MZOL67T6HBLC-00AFB
| Quantity | 4 | 4 | 4 | 4
27 - 8TB Bracket | ODM PN | 1A72CL900-600-G | 1A72CL900-600-G | 1A72CL900-600-G | 1A72CL900-600-G
| FB PN | 27-100267 | 27-100267 | 27-100267 | 27-100267
| Quantity | 1 | 1 | 1 | 1
19- PDB | ODM PN
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
19- FIO board | ODM PN | 1A72DGP00-600-G | 1A72DGP00-600-G | 1A72DGP00-600-G | 1A72DGP00-600-G
| FB PN | 19-100684 | 19-100684 | 19-100684 | 19-100684
| Quantity | 1 | 1 | 1 | 1
19- OSFP Board | ODM PN | 1A72E1400-600-G | 1A72E1400-600-G | 1A72E1400-600-G | 1A72E1400-600-G
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
07 - Ultrapass cable (L) | ODM PN | TEMP-S000236570 | TEMP-S000236570 | TEMP-S000236570 | TEMP-S000236570
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | KFGE25-18-A505G6A | KFGE25-18-A505G6A | KFGE25-18-A505G6A | KFGE25-18-A505G6A
| Quantity | 1 | 1 | 1 | 1
07 - Ultrapass cable (R) | ODM PN | TEMP-S000236571 | TEMP-S000236571 | TEMP-S000236571 | TEMP-S000236571
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | KFGE25-18-A420G6A | KFGE25-18-A420G6A | KFGE25-18-A420G6A | KFGE25-18-A420G6A
| Quantity | 1 | 1 | 1 | 1
19- SCM BOARD ASSY, SCM + Sensor board + TPM | ODM PN | 1A72DGF00-600-G | 1A72DGF00-600-G | 1A72DGF00-600-G | 1A72DGF00-600-G
| FB PN | 19-100688 | 19-100688 | 19-100688 | 19-100688
| Quantity | 1 | 1 | 1 | 1
19- SCM BOARD+Sensor board | ODM PN
| FB PN | 19-100687 | 19-100687 | 19-100687 | 19-100687
| Quantity | 1 | 1 | 1 | 1
19- TPM | ODM PN | 1A72DGD00-600-G | 1A72DGD00-600-G | 1A72DGD00-600-G | 1A72DGD00-600-G
| FB PN | 19-100686 | 19-100686 | 19-100686 | 19-100686
| Quantity | 1 | 1 | 1 | 1
27- SCM Bracket | ODM PN | 1A31NCD00-600-G | 1A31NCD00-600-G | 1A31NCD00-600-G | 1A31NCD00-600-G
| FB PN | 27-100383 | 27-100383 | 27-100383 | 27-100383
| Quantity | 1 | 1 | 1 | 1
19-BSM | ODM PN | 1A72DGE00-600-G | 1A72DGE00-600-G | 1A72DGE00-600-G | 1A72DGE00-600-G
| FB PN | 09-100298 | 09-100298 | 09-100298 | 09-100298
| Quantity | 1 | 1 | 1 | 1
19-E1.S backplane | ODM PN | 1A72DGH00-600-G | 1A72DGH00-600-G | 1A72DGH00-600-G | 1A72DGH00-600-G
| FB PN | 19-100689 | 19-100689 | 19-100689 | 19-100689
| Quantity | 1 | 1 | 1 | 1
19- Interposer | ODM PN
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
05- FAN 4056 | ODM PN | AVC: TEMP-S000235793 | Sunon: TEMP-S000236154 | AVC: TEMP-S000235793 | Sunon: TEMP-S000236154 |  | Foxconn: TEMP-S000235794 Delta: TEMP-S000235795 AVC: TEMP-S000235793 Sunon: TEMP-S000236154
| FB PN | TBD | TBD | TBD | TBD |  | TBD
| Vendor | AVC | Sunon | AVC | Sunon |  | Foxconn/Delta/AVC/Sunon
| MPN | AVC: DFPU0456B2UY051 | Sunon: XG40561BX-1Q985-S9W | AVC: DFPU0456B2UY051 | Sunon: XG40561BX-1Q985-S9W |  | Foxconn: PIE040M12H-P77-AB Delta: GFB0412ES-FLUB AVC: DFPU0456B2UY051 Sunon: XG40561BX-1Q985-S9W
| Quantity | 8 | 8 | 8 | 8 |  | 8
07- Busbar Cable | ODM PN | Amphenol: TBD | FIT: TEMP-S000236298 | Amphenol: TBD | Amphenol: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol | FIT | Amphenol | Amphenol
| MPN | Amphenol: TBD | FIT: JPB15CT-ZZ661-DH | Amphenol: TBD | Amphenol: TBD
| Quantity | 1 | 1 | 1 | 1
07- NIC0 3-to-1 cable | ODM PN | Amphenol: TEMP-S000236240 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236240 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236240 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236240 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ168-1428 Molex: TBD FIT: TBD | Amphenol: HGZ168-1428 Molex: TBD FIT: TBD | Amphenol: HGZ168-1428 Molex: TBD FIT: TBD | Amphenol: HGZ168-1428 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- NIC1 3-to 1 cable | ODM PN | Amphenol: TEMP-S000236241 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236241 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236241 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236241 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ168-1429 Molex: TBD FIT: TBD | Amphenol: HGZ168-1429 Molex: TBD FIT: TBD | Amphenol: HGZ168-1429 Molex: TBD FIT: TBD | Amphenol: HGZ168-1429 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- Front IO board SlimSAS | ODM PN | Amphenol: TEMP-S000236242 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236242 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236242 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236242 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HSL38-4101 Molex: TBD FIT: TBD | Amphenol: HSL38-4101 Molex: TBD FIT: TBD | Amphenol: HSL38-4101 Molex: TBD FIT: TBD | Amphenol: HSL38-4101 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- E1.S Backplane power cable | ODM PN | Amphenol: TEMP-S000236237 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236237 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236237 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236237 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT50 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT50 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT50 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT50 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- E1.S Backplane MCIO Y cable L | ODM PN | Amphenol: TEMP-S000236238 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236238 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236238 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236238 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HMC74-D232 Molex: TBD FIT: TBD | Amphenol: HMC74-D232 Molex: TBD FIT: TBD | Amphenol: HMC74-D232 Molex: TBD FIT: TBD | Amphenol: HMC74-D232 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- E1.S Backplane MCIO Y cable R | ODM PN | Amphenol: TEMP-S000236239 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236239 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236239 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236239 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HMC74-D233 Molex: TBD FIT: TBD | Amphenol: HMC74-D233 Molex: TBD FIT: TBD | Amphenol: HMC74-D233 Molex: TBD FIT: TBD | Amphenol: HMC74-D233 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- OSFP PWR cable | ODM PN | Amphenol: TEMP-S000236244 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236244 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236244 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236244 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT47 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT47 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT47 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT47 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- OSFP sideband cable L | ODM PN | Amphenol: TEMP-S000236245 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236245 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236245 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236245 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT48 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT48 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT48 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT48 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- OSFP sideband cable R | ODM PN | Amphenol: TEMP-S000236246 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236246 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236246 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236246 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT49 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT49 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT49 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT49 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- E1.S SSD Y cable | ODM PN | Amphenol: TEMP-S000236243 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236243 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236243 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236243 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ56-0986 Molex: TBD FIT: TBD | Amphenol: HGZ56-0986 Molex: TBD FIT: TBD | Amphenol: HGZ56-0986 Molex: TBD FIT: TBD | Amphenol: HGZ56-0986 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL, PDB_MB(R)(L) PWR cable | ODM PN | Amphenol: TEMP-S000236247 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236247 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236247 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236247 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT44 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT44 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT44 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT44 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL, CLINK Cable | ODM PN | Amphenol: 351265T00-245-G Bizlink: TEMP-S000236248 | Amphenol: 351265T00-245-G Bizlink: TEMP-S000236248 | Amphenol: 351265T00-245-G Bizlink: TEMP-S000236248 | Amphenol: 351265T00-245-G Bizlink: TEMP-S000236248
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bizlink | Amphenol/Bizlink | Amphenol/Bizlink | Amphenol/Bizlink
| MPN | Amphenol: HMC124-1795 Bizlink: 117H0-147602-R1 | Amphenol: HMC124-1795 Bizlink: 117H0-147602-R1 | Amphenol: HMC124-1795 Bizlink: 117H0-147602-R1 | Amphenol: HMC124-1795 Bizlink: 117H0-147602-R1
| Quantity | 1 | 1 | 1 | 1
07- 2P Management Crossover Cable | ODM PN | Amphenol: TEMP-S000235702 Bizlink: 35109QT00-GE7-G FIT: TEMP-S000236249 Luxshare: TEMP-S000236250 | Amphenol: TEMP-S000235702 Bizlink: 35109QT00-GE7-G FIT: TEMP-S000236249 Luxshare: TEMP-S000236250 | Amphenol: TEMP-S000235702 Bizlink: 35109QT00-GE7-G FIT: TEMP-S000236249 Luxshare: TEMP-S000236250 | Amphenol: TEMP-S000235702 Bizlink: 35109QT00-GE7-G FIT: TEMP-S000236249 Luxshare: TEMP-S000236250
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bizlink/FIT/Luxshare | Amphenol/Bizlink/FIT/Luxshare | Amphenol/Bizlink/FIT/Luxshare | Amphenol/Bizlink/FIT/Luxshare
| MPN | Amphenol: HGZ168-1082 Bizlink: 117H0-143926-R1 FIT: CAMK02L-ZZA01-DH Luxshare: L02GZ061-SD-H | Amphenol: HGZ168-1082 Bizlink: 117H0-143926-R1 FIT: CAMK02L-ZZA01-DH Luxshare: L02GZ061-SD-H | Amphenol: HGZ168-1082 Bizlink: 117H0-143926-R1 FIT: CAMK02L-ZZA01-DH Luxshare: L02GZ061-SD-H | Amphenol: HGZ168-1082 Bizlink: 117H0-143926-R1 FIT: CAMK02L-ZZA01-DH Luxshare: L02GZ061-SD-H
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-1 | ODM PN | Amphenol: TEMP-S000226002 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226002 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226002 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226002 Molex: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA93 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA93 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA93 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA93 Molex: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-2 | ODM PN | Amphenol: TEMP-S000226003 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226003 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226003 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226003 Molex: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA94 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA94 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA94 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA94 Molex: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-3 | ODM PN | Amphenol: TEMP-S000226004 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226004 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226004 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226004 Molex: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA95 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA95 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA95 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA95 Molex: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-4 | ODM PN | Amphenol: TEMP-S000226005 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226005 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226005 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226005 Molex: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA96 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA96 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA96 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA96 Molex: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL,HMC_Interposer MCIO Cable1 | ODM PN | Amphenol: TEMP-S000236251 Luxshare: TBD | Amphenol: TEMP-S000236251 Luxshare: TBD | Amphenol: TEMP-S000236251 Luxshare: TBD | Amphenol: TEMP-S000236251 Luxshare: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare
| MPN | Amphenol: HMC74-D258 Luxshare: TBD | Amphenol: HMC74-D258 Luxshare: TBD | Amphenol: HMC74-D258 Luxshare: TBD | Amphenol: HMC74-D258 Luxshare: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL,HMC_Interposer MCIO Cable2 | ODM PN | Amphenol: TEMP-S000236252 Luxshare: TBD | Amphenol: TEMP-S000236252 Luxshare: TBD | Amphenol: TEMP-S000236252 Luxshare: TBD | Amphenol: TEMP-S000236252 Luxshare: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare
| MPN | Amphenol: HMC74-D259 Luxshare: TBD | Amphenol: HMC74-D259 Luxshare: TBD | Amphenol: HMC74-D259 Luxshare: TBD | Amphenol: HMC74-D259 Luxshare: TBD
| Quantity | 1 | 1 | 1 | 1
07- PDB Interposer PWR cable | ODM PN | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- PDB Interposer sideband cable | ODM PN | Amphenol: TEMP-S000236254 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236254 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236254 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236254 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT63 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT63 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT63 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT63 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- MB 12V+GND Busbar 1 | ODM PN | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436 | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436 | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436 | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol
| MPN | Interplex: 102417-02-SD Amphenol: 730220001 | Interplex: 102417-02-SD Amphenol: 730220001 | Interplex: 102417-02-SD Amphenol: 730220001 | Interplex: 102417-02-SD Amphenol: 730220001
| Quantity | 1 | 1 | 1 | 1
07- MB 12V+GND Busbar 2 | ODM PN | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435 | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435 | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435 | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol
| MPN | Interplex: 102417-01-SD Amphenol: 730210001 | Interplex: 102417-01-SD Amphenol: 730210001 | Interplex: 102417-01-SD Amphenol: 730210001 | Interplex: 102417-01-SD Amphenol: 730210001
| Quantity | 1 | 1 | 1 | 1
27- Compute Tray Chassis Assy | ODM PN | 1A72G0P00-600-G | 1A72G0P00-600-G | 1A72G0P00-600-G | 1A72G0P00-600-G
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
Coolant | ODM PN | TEMP-S000189576 | TEMP-S000189576 | TEMP-S000189576 | TEMP-S000189576
| FB PN | 05-100229 | 05-100229 | 05-100229 | 05-100229
| Quantity | 0 | 0 | 0 | 0
Remark | Update
TBD
Delete

## DVT- L11 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Config B | Config C | Config D | Meta Comments | Ingrasys Note
| Description | Vendor A | Vendor B | Vendor C | Vendor D
| Rack Qty | 1 | 1 | 1 | 1
Meta Clemente_L11 Rack ASSY, NSF | FBPN | TBD | TBD | TBD | TBD
| ODM PN | 1A72E3S00-600-G | 1A72E3S00-600-G | 1A72E3S00-600-G | 1A72E3S00-600-G
01- CI Compute Tray Assy | ODM PN | 1A72DR800-600-G | 1A72DR800-600-G | 1A72DR800-600-G | 1A72DR800-600-G
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 18 | 18 | 18 | 18
01- CI RMC Tray Assy | ODM PN | TEMP-S000231552 TEMP-S000235726 | TEMP-S000231552 TEMP-S000235726 | TEMP-S000231552 TEMP-S000235726 | TEMP-S000231552 TEMP-S000235726
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Qunta | Qunta | Qunta | Qunta
| MPN | 3RL05MA0040 3RL05MA00A0 | 3RL05MA0040 3RL05MA00A0 | 3RL05MA0040 3RL05MA00A0 | 3RL05MA0040 3RL05MA00A0
| Quantity | 1 | 1 | 1 | 1
20 - CI NVSO Tray Assy | ODM PN | TEMP-S000230460 | TEMP-S000230460 | TEMP-S000230460 | TEMP-S000230460
| FB PN | TBD | TBD | TBD | TBD
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | 920-9K33R-00MV-QS0 | 920-9K33R-00MV-QS0 | 920-9K33R-00MV-QS0 | 920-9K33R-00MV-QS0
| Quantity | 9 | 9 | 9 | 9
55 - Rack & Power Sub-assy | ODM PN | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G
| FB PN | TBD | TBD | TBD | TBD
| Vendor | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2
| MPN | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G
| Quantity | 1 | 1 | 1 | 1
06- IT Rack Frame | ODM PN | TEMP-S000229614 | TEMP-S000229614 | TEMP-S000229614 | TEMP-S000229614
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Rittal | Rittal | Rittal | Rittal
| MPN | 7844664 | 7844664 | 7844664 | 7844664
| Quantity | 1 | 1 | 1 | 1
27- ORV3 power shelf rail | ODM PN | TEMP-S000222271 | TEMP-S000222271 | TEMP-S000222271 | TEMP-S000222271
| FB PN | 27-001501 | 27-001501 | 27-001501 | 27-001501
| Vendor | Rittal | Rittal | Rittal | Rittal
| MPN | 7844557 | 7844557 | 7844557 | 7844557
| Quantity | 8 | 8 | 8 | 8
27- ORV3 IT rail | ODM PN | TEMP-S000222274 | TEMP-S000222274 | TEMP-S000222274 | TEMP-S000222274
| FB PN | 27-001499 | 27-001499 | 27-001499 | 27-001499
| Vendor | Rittal | Rittal | Rittal | Rittal
| MPN | 7844556 | 7844556 | 7844556 | 7844556
| Quantity | 3 | 3 | 3 | 3
27- MiniPack3 Railkit | ODM PN | TEMP-S000227145 | TEMP-S000227145 | TEMP-S000227145 | TEMP-S000227145
| FB PN | 27-001629 | 27-001629 | 27-001629 | 27-001629
| Vendor | KingSlide | KingSlide | KingSlide | KingSlide
| MPN | U602-625-IM | U602-625-IM | U602-625-IM | U602-625-IM
| Quantity | 1 | 1 | 1 | 1
27- L10 system rail kit | ODM PN | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736 | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736 | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736 | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736
| FB PN | 27-100239 | 27-100239 | 27-100239 | 27-100239
| Vendor | Kingslide | Kingslide | Kingslide | Kingslide
| MPN | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP
| Quantity | 27 | 27 | 27 | 27
DVT cold rack manifold | ODM PN | TEMP-S000227453 TEMP-S000230373 TEMP-S000230374 | TEMP-S000232114 TEMP-S000232115 TEMP-S000232116 | TEMP-S000230502 TEMP-S000230503 TEMP-S000231831 | TEMP-S000227453 TEMP-S000230373 TEMP-S000230374
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | Cooler Master
| MPN | Cooler Master : LC-05124-01-GP2S1 Cooler Master : LC-05250-01-GP2S1 Cooler Master : LC-05251-01-GP2S1 | AVC : SFA4890001 AVC : SFA4360001 AVC : SFA4920001 | Auras : 0S53B00059 Auras : 0S53B00072 Auras : 0S53B00084 | Cooler Master : LC-05124-01-GP2S1 Cooler Master : LC-05250-01-GP2S1 Cooler Master : LC-05251-01-GP2S1
| Quantity | 1 | 1 | 1 | 1
DVT hot rack manifold | ODM PN | TEMP-S000227454 TEMP-S000230375 TEMP-S000230376 | TEMP-S000232117 TEMP-S000232118 TEMP-S000232119 | TEMP-S000230504 TEMP-S000230505 TEMP-S000231832 | TEMP-S000227454 TEMP-S000230375 TEMP-S000230376
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | Cooler Master
| MPN | Cooler Master : LC-05125-01-GP2S1 Cooler Master : LC-05252-01-GP2S1 Cooler Master : LC-05253-01-GP2S1 | AVC : SFA4880001 AVC : SFA4370001 AVC : SFA4930001 | Auras : 0S53B00060 Auras : 0S53B00073 Auras : 0S53B00085 | Cooler Master : LC-05125-01-GP2S1 Cooler Master : LC-05252-01-GP2S1 Cooler Master : LC-05253-01-GP2S1
| Quantity | 1 | 1 | 1 | 1
DVT hose kit cold 4ft | ODM PN | TEMP-S000230377 TEMP-S000232120 TEMP-S000231833 | TEMP-S000230377 TEMP-S000232120 TEMP-S000231833 | TEMP-S000230377 TEMP-S000232120 TEMP-S000231833 | TEMP-S000230377 TEMP-S000232120 TEMP-S000231833
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05191-01-GP2S2 AVC : P130000010 Auras : 0S53B00086 | Cooler Master : LC-05191-01-GP2S2 AVC : P130000010 Auras : 0S53B00086 | Cooler Master : LC-05191-01-GP2S2 AVC : P130000010 Auras : 0S53B00086 | Cooler Master : LC-05191-01-GP2S2 AVC : P130000010 Auras : 0S53B00086
| Quantity | 1 | 1 | 1 | 1
DVT hose kit cold 6ft | ODM PN | TEMP-S000230378 TEMP-S000232121 TEMP-S000231834 | TEMP-S000230378 TEMP-S000232121 TEMP-S000231834 | TEMP-S000230378 TEMP-S000232121 TEMP-S000231834 | TEMP-S000230378 TEMP-S000232121 TEMP-S000231834
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05193-01-GP2S2 AVC : P130000012 Auras : 0S53B00087 | Cooler Master : LC-05193-01-GP2S2 AVC : P130000012 Auras : 0S53B00087 | Cooler Master : LC-05193-01-GP2S2 AVC : P130000012 Auras : 0S53B00087 | Cooler Master : LC-05193-01-GP2S2 AVC : P130000012 Auras : 0S53B00087
| Quantity | 2 | 2 | 2 | 2
DVT hose kit hot 4ft | ODM PN | TEMP-S000230380 TEMP-S000232122 TEMP-S000231835 | TEMP-S000230380 TEMP-S000232122 TEMP-S000231835 | TEMP-S000230380 TEMP-S000232122 TEMP-S000231835 | TEMP-S000230380 TEMP-S000232122 TEMP-S000231835
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05192-01-GP2S2 AVC : P130000014 Auras : 0S53B00088 | Cooler Master : LC-05192-01-GP2S2 AVC : P130000014 Auras : 0S53B00088 | Cooler Master : LC-05192-01-GP2S2 AVC : P130000014 Auras : 0S53B00088 | Cooler Master : LC-05192-01-GP2S2 AVC : P130000014 Auras : 0S53B00088
| Quantity | 1 | 1 | 1 | 1
DVT hose kit hot 6ft | ODM PN | TEMP-S000230381 TEMP-S000232123 TEMP-S000231836 | TEMP-S000230381 TEMP-S000232123 TEMP-S000231836 | TEMP-S000230381 TEMP-S000232123 TEMP-S000231836 | TEMP-S000230381 TEMP-S000232123 TEMP-S000231836
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05194-01-GP2S2 AVC : P130000016 Auras : 0S53B00089 | Cooler Master : LC-05194-01-GP2S2 AVC : P130000016 Auras : 0S53B00089 | Cooler Master : LC-05194-01-GP2S2 AVC : P130000016 Auras : 0S53B00089 | Cooler Master : LC-05194-01-GP2S2 AVC : P130000016 Auras : 0S53B00089
| Quantity | 2 | 2 | 2 | 2
14- Power Shelf | ODM PN | TEMP-S000225752 TEMP-S000222275 | TEMP-S000225752 TEMP-S000222275 | TEMP-S000225752 TEMP-S000222275 | TEMP-S000225752 TEMP-S000222275
| FB PN | 14-100015 14-100009 | 14-100015 14-100009 | 14-100015 14-100009 | 14-100015 14-100009
| Vendor | AEI/ Delta | AEI/ Delta | AEI/ Delta | AEI/ Delta
| MPN | AEI : 700-037148-1000 Delta : ECD68000020 | AEI : 700-037148-1000 Delta : ECD68000020 | AEI : 700-037148-1000 Delta : ECD68000020 | AEI : 700-037148-1000 Delta : ECD68000020
| Quantity | 4 | 4 | 4 | 4
03- PSU (5.5 KW) | ODM PN | TEMP-S000225753 TEMP-S000222284 | TEMP-S000225753 TEMP-S000222284 | TEMP-S000225753 TEMP-S000222284 | TEMP-S000225753 TEMP-S000222284
| FB PN | 03-100049 03-100038 | 03-100049 03-100038 | 03-100049 03-100038 | 03-100049 03-100038
| Vendor | AEI/ Delta | AEI/ Delta | AEI/ Delta | AEI/ Delta
| MPN | AEI :700-037147-0000 Delta : ECD17010021 REV.02/P2 | AEI :700-037147-0000 Delta : ECD17010021 REV.02/P2 | AEI :700-037147-0000 Delta : ECD17010021 REV.02/P2 | AEI :700-037147-0000 Delta : ECD17010021 REV.02/P2
| Quantity | 24 | 24 | 24 | 24
07- ORV3 AC Whip | ODM PN | TEMP-S000227146 | TEMP-S000227146 | TEMP-S000227146 | TEMP-S000227146
| FB PN | 07-100609 | 07-100609 | 07-100609 | 07-100609
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | 10178161-C7A303 | 10178161-C7A303 | 10178161-C7A303 | 10178161-C7A303
| Quantity | 8 | 8 | 8 | 8
54 - Network Sub-assy | ODM PN | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G
| FB PN | TBD | TBD | TBD | TBD
| Vendor | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2
| MPN | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G
| Quantity | 1 | 1 | 1 | 1
20 - Minipack3 ORV3 DC bundle (include PSU + power cord) | ODM PN | TEMP-S000224821 | TEMP-S000224821 | TEMP-S000224821 | TEMP-S000224821
| FB PN | 30-100078 | 30-100078 | 30-100078 | 30-100078
| Vendor | Celestica | Celestica | Celestica | Celestica
| MPN | R3214-F9013-A2 | R3214-F9013-A2 | R3214-F9013-A2 | R3214-F9013-A2
| Quantity | 1 | 1 | 1 | 1
27- MiniPack3 Outer shelf | ODM PN | TEMP-S000227194 | TEMP-S000227194 | TEMP-S000227194 | TEMP-S000227194
| FB PN | 27-100124 | 27-100124 | 27-100124 | 27-100124
| Vendor | IMG | IMG | IMG | IMG
| MPN | R4002-F0101-03 | R4002-F0101-03 | R4002-F0101-03 | R4002-F0101-03
| Quantity | 1 | 1 | 1 | 1
20- Management Switch 7010, come with tray | ODM PN | TEMP-S000222287 | TEMP-S000222287 | TEMP-S000222287 | TEMP-S000222287
| FB PN | 20-100100 | 20-100100 | 20-100100 | 20-100100
| Vendor | Arista | Arista | Arista | Arista
| MPN | FB-7010TX-48C-DC-RV3-F | FB-7010TX-48C-DC-RV3-F | FB-7010TX-48C-DC-RV3-F | FB-7010TX-48C-DC-RV3-F
| Quantity | 1 | 1 | 1 | 1
07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 1m | ODM PN | TEMP-S000235725 | TEMP-S000235670 | TEMP-S000235841 | TEMP-S000235725
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Credo | Molex | Amphenol | Credo
| MPN | Credo : CAC81X321A1B-C1-MT | Molex : 2253611217 | Amphenol : NNDGJA-F301 | Credo : CAC81X321A1B-C1-MT
| Quantity | 48 | 48 | 48 | 48
07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 1.2m | ODM PN | TEMP-S000235724 | TEMP-S000235669 | TEMP-S000235842 | TEMP-S000235724
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Credo | Molex | Amphenol | Credo
| MPN | Credo : CAC812321A1B-C1-MT | Molex : 2253611218 | Amphenol : NNDGJA-F314 | Credo : CAC812321A1B-C1-MT
| Quantity | 24 | 24 | 24 | 24
07- 800G OSFP to 2x400G OSFP DAC, 1.5 m | ODM PN | TEMP-S000235723 | TEMP-S000235838 | TEMP-S000230888 | TEMP-S000235723
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol | TE | Molex | Amphenol
| MPN | Amphenol : NND1DE-F307 | TE : 1-2494894-1 | Molex : 2111776115 | Amphenol : NND1DE-F307
| Quantity | 10 | 10 | 10 | 10
07- 800G OSFP to 2x400G OSFP DAC, 1.7 m | ODM PN | TEMP-S000236285 | TEMP-S000230889 | TEMP-S000235722 | TEMP-S000236285
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol | TE | Molex | Amphenol
| MPN | Amphenol : NND1DE-F336 | TE : 2494894-9 | Molex : 2111776117 | Amphenol : NND1DE-F336
| Quantity | 5 | 5 | 5 | 5
07- 800G OSFP to 2x400G OSFP DAC, 2.2 m | ODM PN | TEMP-S000236286 | TEMP-S000235840 | TEMP-S000235839 | TEMP-S000236286
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol | TE | Molex | Amphenol
| MPN | Amphenol : NND1DM-F330 | TE : 2498990-5 | Molex : 2111776322 | Amphenol : NND1DM-F330
| Quantity | 3 | 3 | 3 | 3
07- 10G DAC -2500mm (SFP+ to SFP+) | ODM PN | TEMP-S000222299 TEMP-S000230893 | TEMP-S000222299 TEMP-S000230893 | TEMP-S000222299 TEMP-S000230893 | TEMP-S000222299 TEMP-S000230893
| FB PN | 07-100679 | 07-100679 | 07-100679 | 07-100679
| Vendor | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether
| MPN | LXP : L02SF085-SD-H Bellwether : 76697-904W | LXP : L02SF085-SD-H Bellwether : 76697-904W | LXP : L02SF085-SD-H Bellwether : 76697-904W | LXP : L02SF085-SD-H Bellwether : 76697-904W
| Quantity | 1 | 1 | 1 | 1
07- 10G DAC -2500mm (SFP+ to QSFP28) | ODM PN | TEMP-S000227577 TEMP-S000230894 | TEMP-S000227577 TEMP-S000230894 | TEMP-S000227577 TEMP-S000230894 | TEMP-S000227577 TEMP-S000230894
| FB PN | 07-100676 | 07-100676 | 07-100676 | 07-100676
| Vendor | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether
| MPN | LXP : L02QF025-SD-H Bellwether : 76697-903W | LXP : L02QF025-SD-H Bellwether : 76697-903W | LXP : L02QF025-SD-H Bellwether : 76697-903W | LXP : L02QF025-SD-H Bellwether : 76697-903W
| Quantity | 2 | 2 | 2 | 2
07- RJ45 Cable, shield, Yellow - 300mm | ODM PN | TEMP-S000235673 TEMP-S000235721 | TEMP-S000235673 TEMP-S000235721 | TEMP-S000235673 TEMP-S000235721 | TEMP-S000235673 TEMP-S000235721
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250706B Bellwether : 76183-460R | GLE : WJE250706B Bellwether : 76183-460R | GLE : WJE250706B Bellwether : 76183-460R | GLE : WJE250706B Bellwether : 76183-460R
| Quantity | 4 | 4 | 4 | 4
07- RJ45 Cable, shield, Yellow - 1000mm | ODM PN | TEMP-S000222302 TEMP-S000235719 | TEMP-S000222302 TEMP-S000235719 | TEMP-S000222302 TEMP-S000235719 | TEMP-S000222302 TEMP-S000235719
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240762B Bellwether : 76183-461R | GLE : WJE240762B Bellwether : 76183-461R | GLE : WJE240762B Bellwether : 76183-461R | GLE : WJE240762B Bellwether : 76183-461R
| Quantity | 10 | 10 | 10 | 10
07- RJ45 Cable, shield, Yellow - 1200mm | ODM PN | TEMP-S000222304 TEMP-S000235718 | TEMP-S000222304 TEMP-S000235718 | TEMP-S000222304 TEMP-S000235718 | TEMP-S000222304 TEMP-S000235718
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240791B Bellwether : 76183-462R | GLE : WJE240791B Bellwether : 76183-462R | GLE : WJE240791B Bellwether : 76183-462R | GLE : WJE240791B Bellwether : 76183-462R
| Quantity | 8 | 8 | 8 | 8
07- RJ45 Cable, shield, Yellow - 1550mm | ODM PN | TEMP-S000235674 TEMP-S000235720 | TEMP-S000235674 TEMP-S000235720 | TEMP-S000235674 TEMP-S000235720 | TEMP-S000235674 TEMP-S000235720
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250716B Bellwether : 76183-463R | GLE : WJE250716B Bellwether : 76183-463R | GLE : WJE250716B Bellwether : 76183-463R | GLE : WJE250716B Bellwether : 76183-463R
| Quantity | 10 | 10 | 10 | 10
07- RJ45 Cable, shield, Yellow - 1800mm | ODM PN | TEMP-S000222323 TEMP-S000235715 | TEMP-S000222323 TEMP-S000235715 | TEMP-S000222323 TEMP-S000235715 | TEMP-S000222323 TEMP-S000235715
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240797B Bellwether : 76183-464R | GLE : WJE240797B Bellwether : 76183-464R | GLE : WJE240797B Bellwether : 76183-464R | GLE : WJE240797B Bellwether : 76183-464R
| Quantity | 9 | 9 | 9 | 9
07- RJ45 Cable, shield, Yellow - 2000mm | ODM PN | TEMP-S000222325 TEMP-S000230898 | TEMP-S000222325 TEMP-S000230898 | TEMP-S000222325 TEMP-S000230898 | TEMP-S000222325 TEMP-S000230898
| FB PN | 07-100392 | 07-100392 | 07-100392 | 07-100392
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240799B Bellwether : 76183-457R | GLE : WJE240799B Bellwether : 76183-457R | GLE : WJE240799B Bellwether : 76183-457R | GLE : WJE240799B Bellwether : 76183-457R
| Quantity | 10 | 10 | 10 | 10
07- RJ45 Cable, shield, Yellow -6500mm | ODM PN | TEMP-S000226126 TEMP-S000230899 | TEMP-S000226126 TEMP-S000230899 | TEMP-S000226126 TEMP-S000230899 | TEMP-S000226126 TEMP-S000230899
| FB PN | 07-100684 | 07-100684 | 07-100684 | 07-100684
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250008B Bellwether : 76183-455R | GLE : WJE250008B Bellwether : 76183-455R | GLE : WJE250008B Bellwether : 76183-455R | GLE : WJE250008B Bellwether : 76183-455R
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 600mm | ODM PN | TEMP-S000235705 TEMP-S000235706 | TEMP-S000235705 TEMP-S000235706 | TEMP-S000235705 TEMP-S000235706 | TEMP-S000235705 TEMP-S000235706
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250718B Bellwether : 76183-470R | GLE : WJE250718B Bellwether : 76183-470R | GLE : WJE250718B Bellwether : 76183-470R | GLE : WJE250718B Bellwether : 76183-470R
| Quantity | 2 | 2 | 2 | 2
07- RJ45 Cable, shield, GREEN, 1300mm | ODM PN | TEMP-S000235707 TEMP-S000235708 | TEMP-S000235707 TEMP-S000235708 | TEMP-S000235707 TEMP-S000235708 | TEMP-S000235707 TEMP-S000235708
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250719B Bellwether : 76183-471R | GLE : WJE250719B Bellwether : 76183-471R | GLE : WJE250719B Bellwether : 76183-471R | GLE : WJE250719B Bellwether : 76183-471R
| Quantity | 2 | 2 | 2 | 2
07- RJ45 Cable, shield, GREEN, 1800mm | ODM PN | TEMP-S000235717 TEMP-S000235715 | TEMP-S000235717 TEMP-S000235715 | TEMP-S000235717 TEMP-S000235715 | TEMP-S000235717 TEMP-S000235715
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250720B Bellwether : 76183-464R | GLE : WJE250720B Bellwether : 76183-464R | GLE : WJE250720B Bellwether : 76183-464R | GLE : WJE250720B Bellwether : 76183-464R
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 2000mm | ODM PN | TEMP-S000235713 TEMP-S000235714 | TEMP-S000235713 TEMP-S000235714 | TEMP-S000235713 TEMP-S000235714 | TEMP-S000235713 TEMP-S000235714
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250704B Bellwether : 76183-465R | GLE : WJE250704B Bellwether : 76183-465R | GLE : WJE250704B Bellwether : 76183-465R | GLE : WJE250704B Bellwether : 76183-465R
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 2100mm | ODM PN | TEMP-S000235711 TEMP-S000235712 | TEMP-S000235711 TEMP-S000235712 | TEMP-S000235711 TEMP-S000235712 | TEMP-S000235711 TEMP-S000235712
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250721B Bellwether : 76183-476R | GLE : WJE250721B Bellwether : 76183-476R | GLE : WJE250721B Bellwether : 76183-476R | GLE : WJE250721B Bellwether : 76183-476R
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 2800mm | ODM PN | TEMP-S000235710 TEMP-S000235709 | TEMP-S000235710 TEMP-S000235709 | TEMP-S000235710 TEMP-S000235709 | TEMP-S000235710 TEMP-S000235709
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250722B Bellwether : 76183-477R | GLE : WJE250722B Bellwether : 76183-477R | GLE : WJE250722B Bellwether : 76183-477R | GLE : WJE250722B Bellwether : 76183-477R
| Quantity | 2 | 2 | 2 | 2
07- Leakage sensor RJ45 cable - 5600mm | ODM PN | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704 | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704 | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704 | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212 | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212 | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212 | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212
| Quantity | 1 | 1 | 1 | 1
07- Hot RMF leakage sensor cable - 5500mm | ODM PN | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705 | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705 | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705 | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211 | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211 | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211 | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211
| Quantity | 1 | 1 | 1 | 1
07- Cold RMF leakage sensor cable - 6500mm | ODM PN | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706 | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706 | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706 | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210 | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210 | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210 | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210
| Quantity | 1 | 1 | 1 | 1
Termination plug, 120 ohm | ODM PN | TEMP-S000227590 | TEMP-S000227590 | TEMP-S000227590 | TEMP-S000227590
| FB PN | 27-100417 | 27-100417 | 27-100417 | 27-100417
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | RJP-1MF-0002-HF | RJP-1MF-0002-HF | RJP-1MF-0002-HF | RJP-1MF-0002-HF
| Quantity | 1 | 1 | 1 | 1
1OU Pizza Box | ODM PN | TEMP-S000223211 | TEMP-S000223211 | TEMP-S000223211 | TEMP-S000223211
| FB PN | 05-000676 | 05-000676 | 05-000676 | 05-000676
| Vendor | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging
| MPN | BRP-61425.ARB | BRP-61425.ARB | BRP-61425.ARB | BRP-61425.ARB
| Quantity | 1 | 1 | 1 | 1
2OU Pizza Box | ODM PN | TEMP-S000223212 | TEMP-S000223212 | TEMP-S000223212 | TEMP-S000223212
| FB PN | 05-000677 | 05-000677 | 05-000677 | 05-000677
| Vendor | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging
| MPN | BRP-63320.ARB | BRP-63320.ARB | BRP-63320.ARB | BRP-63320.ARB
| Quantity | 3 | 3 | 3 | 3
Remark | Update
TBD
Delete

## GB300
DVT
| Vendor A | Vendor B | Vendor C | Vendor D | Vendor A % | Vendor B % | Vendor C % | Vendor D%
Commodity
2TB Data/Boot Drive | Samsung(PM9D3a) | Mricon (7450) | Kioxia (X7DP) | Samsung(PM9D3a) | 34% | 33% | 33%
4x 8TB E1.S 25mm data drive | Samsung(PM9D3a) | WD(SN861) | Micron(7550 | Samsung(PM9D3a) | 34% | 33% | 33%
Thermal
Cold plate w/ manifold | Cooler Master | AVC | Auras | Boyd | 120% | 100% | 20% | 20% |  |  | L10
Rack Manifold | Cooler Master | AVC | Auras | Cooler Master | 120% | 100% | 20% |  |  |  | L11
Fan | AVC | Sunon | AVC | Sunon | 125% | 125% |  |  | Need to check with Srinivas |  | L10
Cables
Busbar Cable | Amphenol | FIT | Amphenol | Amphenol | 100% | 0% | 0% |  | FIX RD samples for verify
Rack Power
5.5K PSU/Power Shelf | AEI | AEI | AEI | AEI | 100% |  |  |  | DVT ues AEI only to map HPR
L11
Rack Materials
800G DAC | Amphenol | TE | Molex | Amphenol | 40% | 35% | 25%
AEC | Credo | Molex | Ampheno | Credo | 50% | 50%% | 0 % |  | Amphenol has FW issue
PVT
| Vendor A | Vendor B | Vendor C | Vendor D | Vendor A % | Vendor B % | Vendor C % | Vendor D%
Commodity
2TB Data/Boot Drive | Samsung | Mricon | Kioxia | Kioxia | 34% | 33% | 33%
Thermal
Cold plate w/ manifold | Cooler Master | AVC | Auras | Boyd | 120% | 100% | 20% | 20%
Rack Manifold | Cooler Master | AVC | Auras | Cooler Master | 120% | 100% | 20%
Fan | AVC | Sunon | AVC | Sunon | 125% | 125%
Cables
Busbar Cable | Amphenol | FIT | Amphenol | Amphenol | 100% | 0% | 0%
Rack Power
PVT1- 5.5K PSU/Power Shelf | AEI | Delta | AEI | Delta | 62.5%% | 37.5%% |  |  | PVT1: all NSF | AEIx5 racks (4 to DC) / Deltax3 racks (IGS team)
PVT2- 5.5K PSU/Power Shelf | AEI | Delta | AEI | Delta | 50% | 50% |  |  | PVT2: 40 NSF + 28 DSF (40 NSF to DC + 27 DSF to DC) 1 DSF to IGS GB300
Rack Materials
800G DAC | Amphenol | TE | Molex | Amphenol | 40% | 35% | 25%
AEC | Credo | Molex | Ampheno | Credo | 50% | 25% | 25% |  | Need to check when Amphenol FW can be fixed
DSF only
Transceivers (Optics) | Eoptolink | Innolight | Eoptolink | Innolight
Fiber Cables