## Revision History
TS | Name | Changes
2025-03-18 | Akash Borate | Draft Template to share with Ingrasys
2025-03-21 | Enya Chen | 1. Ingrasys initial release DVT L10/L11 Build Matrix @Pedro: Based on discussing, #1). TLA keep to use (15-102063, 15-102064, 15-102065); #2). Remove mini-rack level; #3). FBPN of L10 Compute tray keep to use (01-101139, 01-101140, 01-101141) @Kui, per discussing, IGS add a "ODM ASSY PN" for Fan ASSY FRU (include fan and fan bracket)
2025-04-07 | Pedro Acosta | Channel Islands Clemente-GB300 L10 DVT 1. Updated new FBPNs to align with new MPN, and ODM PN provided. Green highlighted are items updated 2. Row # 156 - Duplicate ODM PN provided, please validate and provide new ODM PN 3. Row # 78-81 - New SXM7 Connected added, please provide ODM PN and MPN if available 4. Row # 6 - Missing ODM PN for Micron and WD Configurations, please provide ODM PN for remaining configuration 5. Row # 9 Confirm if we should be using a new ODM PN for the GB300 Module 6. Row # 40, 108, 138, 163, need ODM PN, please provide when available 7. Row #129-131, PDB Keep in the BOM and Build Matrix per PQE (Kui) Note* Three ECOs have been routed for approvals to release new FBPNs released, ECO-CS-AI-100855 - 07-Cables and misc FBPNs ECO-CS-AI-100856 - L6 PCBAs ECO-CS-AI-100859 - 19-CPU GPU Module and updates to 01-Server BOMs to add new FBPNs | GB200 Build Matrix Template to IGS.xlsx
2025-04-11 | Rex Tsai | DVT - L10 Build Matrix @Pedro, Please help to provide FBPN (Row : 13, 18, 131, 140, 146, 173, 211, 342, 345, 348, 351, 354, 357, 360, 363, 366, 369, 372) Add DVT - RMT L10 Build Matrix @Pedro, Please help to provide FBPN (Row : 7, 10, 13, 16, 19, 22, 25, 28, 31, 34, 37, 40, 43, 48, 53, 58, 63, 68, 73, 78, 83, 88, 93, 96, 99, 102, 105, 108, 113, 118, 121, 124, 127, 132, 137) DVT - L11 Build Matrix @Pedro, Please help to provide FBPN (Row : 6, 8, 11, 14, 18, 24, 30, 35, 40, 45, 75, 80, 85, 90, 95, 100, 120, 123, 127, 147, 152, 157, 162, 167, 207, 212, 217)
2025-04-21 | Pedro Acosta | DVT - L10 Build Matrix ROW#137 MPN for Samsung changed to MZOL67T6HDLA-00AFB, need new ODM PN
2025-05-09 | Rex Tsai | Update to Bianca Version
2025-05-12 | Pedro Acosta | DVT - L10 BM Tab Updates done on Meta side to the following ROWS: ROW#7 - Delete Compute Tray 01-Server FBPNs as new ones will be generated ROW#9-11 - Delete this level as its no longer needed, first level will be from row#12-16 confirmed with PQE (Kui) ROW#13 - Updated FBPN to 19-100681 ROW#17-29 - Changed color to white as they will be child parts of row#13, 19-100681 ROW#50-109 - Changed color to dark green as they will be child part of row#7 ROW#110-114 - Delete this level as its no longer needed confirmed with PQE (Kui) ROW#115-119 - Changed color to dark green as they will be child part of row#7 ROW#116 - Updated FBPN to 19-100776 ROW#121 - Updated FBPN to 19-100693 which is updated to new MPN ROW#131 - Updated FBPN to add 27-100434 ROW#140 - Updated FBPN to add 27-100408 ROW#128 - Updated MPN Number with correct MPN 900-24764-0000-000 ROW#144 & 146 - Updated MPN and FBPN for Samsung as there is a new version specificed by the SCM ROW#158 - Updated to add FBPN 19-100685, also removed cable from BOM, updated ODM PN ROW#164 & 169 - Changed qty to x2 from x1 ROW#189 - Updated to add FBPN 19-100691 ROW#267,272,277,282 - Updated to add 07-Cable FBPNs ROW#317 - Updated to add FBPN 27-100436 Please provide information requested for the following ROWS: ROW#23 - Need correct MPN, the number on reference is a placeholder - NEED MPN ROW#309 & 314 - Incorrect MPN for Amphenol provided - NEED CORRECT MPN ROW#133 & 143 - ODM PN 1A72D4300-600-G is duplicated, CONFIRM ODM PN ROW#151 & 152 - Added PDB FBPN with ODM PN Placeholder 19-100777 - NEED ODM PN ROW#17, 173, 188 - PLEASE PROVIDE ODM PN
2025-05-15 | Pedro Acosta | DVT - L10 BM Tab ROW#7 - Added 01-SERVER FBPNs ROW#26 - Added new Memory FBPN 10-100176 ROW#51,61 - Added Left Cold Plate FBPN 05-100332 ROW#56,66 - Added Right Cold Plate FBPN 05-100333 ROW#71,81,91,101 - Added Left Manifold FBPN 05-100336 ROW#76,86,96,106 - Added Right Manifold FBPN 05-100334 ROW#126 - Added HMC FBPN 19-100778 ROW#192 - Added FAN FBPN 05-100335
2025-05-21 | Pedro Acosta | DVT - L11 BM Tab ROW#9 - Added Compute Tray FBPNs 01-101292, 01-101293, 01-101294 ROW#13,30,35,40,45,50 - Added FBPNs to Build Matrix
2025-05-22 | Rex Tsai | DVT - L10 Build Matrix Tab ROW#50 - 54 - Combine all Coldplate L ROW#55 - 59 - Combine all Coldplate R ROW#60 - 69 - Delete, combine to Row#50 - 59 ROW#70 - 74 - Combine all Inner Manifold_L ROW#75 - 79 - Combine all Inner Manifold_R ROW#80 - 114 - Delete, combine to Row#70 - 79 ROW#125 - Update Bianca ODM PN ROW#143 - Update ODM PN ROW#148 - ME Change Design, so update ODM PN ROW#151 - Update ODM PN ROW#185, 188, 196, 199, 201, 204, 206, 209, 211, 214, 216, 219, 221, 224, 226, 229, 231, 234, 236, 239, 241, 244, 246, 249, 251, 254, 256, 259, 261, 264, 266, 269, 271, 274, 276, 279, 281, 284, 286, 289, 291, 294 - Update ODM PN and MPN ROW#296 - 300 - Delete this Cable, original function combined with 07- OSFP PWR cable ROW#301, 304 - Update ODM PN and MPN DVT - L11 Build Matrix Tab ROW#8 - Update by L10 config ROW#12, 15 - Add IGS ODM PN ROW#34 - 41 - Add item from EVT Build Matrix(Canister, Cable Cartridge (Left/Right)) ROW#62 - 71 - Update CPC, Danfoss, Parker describe. ROW#72 - 91 - Follow Rack Manifold supplier ROW#92 - 101 - Update follow config (only AEI) ROW#102 - 111 - Update by new design(1600MM*4, 3800MM*4) and Quantity ROW#108, 121 - Update ODM PN and MPN ROW#137, 142, 147, 152, 157 - Update Quantity ROW#198, 201 - Update ODM PN and MPN
2025-05-23 | Pedro Acosta | DVT - L11 Build Matrix Tab ROW#9 - Added Compute Tray FBPNs 01-101292, 01-101293, 01-101294 ROW#25 - Added FBPN 55-100207 to Build Matrix ROW#13,30,38,43,48,53,58,63,68,73,78,83,88,93,98,103,108 - Added FBPNs to Build Matrix ROW#41 - Updated Qty from x1 TO x4 ROW#114, 149, 154,174, 189, 204, 209, 224, 229, 234, 239, 244, 254, 259 - Added FBPNs ROW#167 - Changed Qty from x2 TO x1 ROW#168-172 - Added new row for 07- 10G DAC - RESW to RASW - 2500mm --> 07-100970 ROW#182 - Changed Qty from x10 TO x5 ROW#187 - Changed Qty from x8 TO x4 ROW#247 - Changed Qty from x2 TO x1 ROW#257 - Changed Qty from x2 TO x3 ROW#213-217 - Added new row for 07- RJ45 Cable, no shield - NVSW_CP to Management Switch - 1000mm --> 07-100971 ROW#218-222 - Added new row for 07- RJ45 Cable, no shield - NVSW_CP to Management Switch - 1200mm --> 07-100972 ROW#248-252 - Removed 07- Leakage sensor RJ45 cable - 5600mm from BOM not required per PQE

## DVT - L10 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Config B | Config C | Config D | Meta Comments | Ingrasys Note
| Description | 2TB Data/Boot Drive : Samsung(PM9D3a) 4x 8TB E1.S 25mm data drive : Samsung(PM9D3a) Cold plate w/ manifold : Cooler Master Fan : AVC Busbar Cable : Amphenol | 2TB Data/Boot Drive : Mricon (7450) 4x 8TB E1.S 25mm data drive : WD(SN861) Cold plate w/ manifold : AVC Fan : Sunon Busbar Cable : FIT | 2TB Data/Boot Drive : Kioxia (X7DP) 4x 8TB E1.S 25mm data drive : Micron(7550) Cold plate w/ manifold : Auras Fan : AVC Busbar Cable : Amphenol | 2TB Data/Boot Drive : Samsung(PM9D3a) 4x 8TB E1.S 25mm data drive : Samsung(PM9D3a) Cold plate w/ manifold : Boyd Fan : Sunon Busbar Cable : Amphenol
| Rack Qty | 1 | 1 | 1 | 1
01- CI Compute Tray Assy | ODM PN | 1A72DR800-600-G (Samsung) | 1A72EUM00-600-G (WD) | 1A72EUL00-600-G (Micron) | 1A72DR800-600-G (Samsung)
| FB PN | 01-101292 | 01-101293 | 01-101294 | 01-101292
| Quantity | 1 | 1 | 1 | 1
19- GB300 Module | ODM PN | TEMP-S000228052 | TEMP-S000228052 | TEMP-S000228052 | TEMP-S000228052
| FB PN | 19-100682 | 19-100682 | 19-100682 | 19-100682
| Quantity | 1 | 1 | 1 | 1
19- GB300 Module (including GPU) HPM + GPU | ODM PN | TEMP-S000235487 | TEMP-S000235487 | TEMP-S000235487 | TEMP-S000235487
| FB PN | 19-100681 | 19-100681 | 19-100681 | 19-100681
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | 690-2G548-0301-QS1 | 690-2G548-0301-QS1 | 690-2G548-0301-QS1 | 690-2G548-0301-QS1
| Quantity | 1 | 1 | 1 | 1
19- GPU Assy | ODM PN |  |  |  |  | Need ODM PN
| FB PN | 19-100678 | 19-100678 | 19-100678 | 19-100678
| Quantity | 1 | 1 | 1 | 1
11- CPU | ODM PN | TEMP-S000234928 | TEMP-S000234928 | TEMP-S000234928 | TEMP-S000234928
| FB PN | 11-100103 | 11-100103 | 11-100103 | 11-100103
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | NA | NA | NA | NA
| Quantity | 2 | 2 | 2 | 2
10-Memory | ODM PN |  |  |  |  | Need ODM PN
| FB PN | 10-100176 | 10-100176 | 10-100176 | 10-100176
| Vendor | Micron/Kingston | Micron/Kingston | Micron/Kingston | Micron/Kingston
| MPN | NA | NA | NA | NA
| Quantity | 1 | 1 | 1 | 1
01 - Bianca_QD Matrix1, DVT | ODM PN | CM: TEMP-S000234894 | AVC: TEMP-S000234906 | Auras: TEMP-S000234920 | BOYD: TEMP-S000234924
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000234894 | AVC: TEMP-S000234906 | Auras: TEMP-S000234920 | BOYD: TEMP-S000234924
| Quantity | 1 | 1 | 1 | 1
01 - Bianca_QD Matrix2, DVT | ODM PN | CM: TEMP-S000234895 | AVC: TEMP-S000234917 | Auras: TEMP-S000234921 | BOYD: TEMP-S000234925
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000234895 | AVC: TEMP-S000234917 | Auras: TEMP-S000234921 | BOYD: TEMP-S000234925
| Quantity | 1 | 1 | 1 | 1
01 - Bianca_QD Matrix3, DVT | ODM PN | CM: TEMP-S000234896 | AVC: TEMP-S000234918 | Auras: TEMP-S000234922 | BOYD: TEMP-S000234926
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000234896 | AVC: TEMP-S000234918 | Auras: TEMP-S000234922 | BOYD: TEMP-S000234926
| Quantity | 1 | 1 | 1 | 1
01 - Bianca_QD Matrix4, DVT | ODM PN | CM: TEMP-S000234903 | AVC: TEMP-S000234919 | Auras: TEMP-S000234923 | BOYD: TEMP-S000234927
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000234903 | AVC: TEMP-S000234919 | Auras: TEMP-S000234923 | BOYD: TEMP-S000234927
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_L | ODM PN | CM: TEMP-S000235059(Parker) CM: TEMP-S000235056(Danfoss) | AVC: TEMP-S000235202(Parker) AVC: TEMP-S000235201(Danfoss) | Auras: TEMP-S000235073(Parker) Auras: TEMP-S000235072(Danfoss) | BOYD: TEMP-S000235088(Parker) BOYD: TEMP-S000235086(Danfoss) |  | Combine all Coldplate L
| FB PN | 05-100332 | 05-100332 | 05-100332 | 05-100332
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05447-01-GP3S1(Parker) CM: LC-05445-01-GP3S1(Danfoss) | AVC: SFA6380001(Parker) AVC: SFA6360001(Danfoss) | Auras: 0S51B00206(Parker) Auras: 0S51B00204(Danfoss) | BOYD: 122883(Parker) BOYD: 122882(Danfoss)
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_R | ODM PN | CM: TEMP-S000235061(Parker) CM: TEMP-S000235060(Danfoss) | AVC: TEMP-S000235204(Parker) AVC: TEMP-S000235203(Danfoss) | Auras: TEMP-S000235075(Parker) Auras: TEMP-S000235074(Danfoss) | BOYD: TEMP-S000235092(Parker) BOYD: TEMP-S000235089(Danfoss) |  | Combine all Coldplate R
| FB PN | 05-100333 | 05-100333 | 05-100333 | 05-100333
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05448-01-GP3S1(Parker) CM: LC-05446-01-GP3S1(Danfoss) | AVC: SFA6390001(Parker) AVC: SFA6370001(Danfoss) | Auras: 0S51B00207(Parker) Auras: 0S51B00205(Danfoss) | BOYD: 122885(Parker) BOYD: 122884(Danfoss)
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_L | ODM PN
| FB PN | 05-100332 | 05-100332 | 05-100332 | 05-100332
| Vendor | Cooler Master | AVC | Auras | BOYD
MPN
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_R | ODM PN
| FB PN | 05-100333 | 05-100333 | 05-100333 | 05-100333
| Vendor | Cooler Master | AVC | Auras | BOYD
MPN
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L | ODM PN | CM: TEMP-S000235067(Parker+Parker) CM: TEMP-S000235065(Danfoss+Danfoss) CM: TEMP-S000235064(CPC+Parker) CM: TEMP-S000235063(CPC+Danfoss) | AVC: TEMP-S000235208(Parker+Parker) AVC: TEMP-S000235207(Danfoss+Danfoss) AVC: TEMP-S000235206(CPC+Parker) AVC: TEMP-S000235205(CPC+Danfoss) | Auras: TEMP-S000235081(Parker+Parker) Auras: TEMP-S000235080(Danfoss+Danfoss) Auras: TEMP-S000235077(CPC+Parker) Auras: TEMP-S000235076(CPC+Danfoss) | BOYD: TEMP-S000235096(Parker+Parker) BOYD: TEMP-S000235095(Danfoss+Danfoss) BOYD: TEMP-S000235094(CPC+Parker) BOYD: TEMP-S000235093(CPC+Danfoss) |  | Combine all Inner Manifold_L
| FB PN | 05-100336 | 05-100336 | 05-100336 | 05-100336
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05452-01-GP3S1(Parker+Parker) CM: LC-05450-01-GP3S1(Danfoss+Danfoss) CM: LC-05456-01-GP3S1(CPC+Parker) CM: LC-05454-01-GP3S1(CPC+Danfoss) | AVC: SFA6460001(Parker+Parker) AVC: SFA6480001(Danfoss+Danfoss) AVC: SFA6510001(CPC+Parker) AVC: SFA6430001(CPC+Danfoss) | Auras: 0S53B00124(Parker+Parker) Auras: 0S53B00126(Danfoss+Danfoss) Auras: 0S53B00122(CPC+Parker) Auras: 0S53B00120(CPC+Danfoss) | BOYD: 122893(Parker+Parker) BOYD: 122889(Danfoss+Danfoss) BOYD: 122888(CPC+Parker) BOYD: 122886(CPC+Danfoss)
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R | ODM PN | CM: TEMP-S000235071(Parker+Parker) CM: TEMP-S000235070(Danfoss+Danfoss) CM: TEMP-S000235069(CPC+Parker) CM: TEMP-S000235068(CPC+Danfoss) | AVC: TEMP-S000235213(Parker+Parker) AVC: TEMP-S000235212(Danfoss+Danfoss) AVC: TEMP-S000235210(CPC+Parker) AVC: TEMP-S000235209(CPC+Danfoss) | Auras: TEMP-S000235085(Parker+Parker) Auras: TEMP-S000235084(Danfoss+Danfoss) Auras: TEMP-S000235083(CPC+Parker) Auras: TEMP-S000235082(CPC+Danfoss) | BOYD: TEMP-S000235100(Parker+Parker) BOYD: TEMP-S000235099(Danfoss+Danfoss) BOYD: TEMP-S000235098(CPC+Parker) BOYD: TEMP-S000235097(CPC+Danfoss) |  | Combine all Inner Manifold_R
| FB PN | 05-100334 | 05-100334 | 05-100334 | 05-100334
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05453-01-GP3S1(Parker+Parker) CM: LC-05451-01-GP3S1(Danfoss+Danfoss) CM: LC-05457-01-GP3S1(CPC+Parker) CM: LC-05455-01-GP3S1(CPC+Danfoss) | AVC: SFA6450001(Parker+Parker) AVC: SFA6470001(Danfoss+Danfoss) AVC: SFA6490001(CPC+Parker) AVC: SFA6440001(CPC+Danfoss) | Auras: 0S53B00125(Parker+Parker) Auras: 0S53B00127(Danfoss+Danfoss) Auras: 0S53B00123(CPC+Parker) Auras: 0S53B00121(CPC+Danfoss) | BOYD: 122897(Parker+Parker) BOYD: 122896(Danfoss+Danfoss) BOYD: 122895(CPC+Parker) BOYD: 122894(CPC+Danfoss)
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L | ODM PN | CM: TEMP-S000235065(Danfoss+Danfoss) | AVC: TEMP-S000235207(Danfoss+Danfoss) | Auras: TEMP-S000235080(Danfoss+Danfoss) | BOYD: TEMP-S000235095(Danfoss+Danfoss)
| FB PN | 05-100336 | 05-100336 | 05-100336 | 05-100336
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05450-01-GP3S1(Danfoss+Danfoss) | AVC: SFA6480001(Danfoss+Danfoss) | Auras: 0S53B00126(Danfoss+Danfoss) | BOYD: 122889(Danfoss+Danfoss)
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R | ODM PN | CM: TEMP-S000235070(Danfoss+Danfoss) | AVC: TEMP-S000235212(Danfoss+Danfoss) | Auras: TEMP-S000235084(Danfoss+Danfoss) | BOYD: TEMP-S000235099(Danfoss+Danfoss)
| FB PN | 05-100334 | 05-100334 | 05-100334 | 05-100334
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05451-01-GP3S1(Danfoss+Danfoss) | AVC: SFA6470001(Danfoss+Danfoss) | Auras: 0S53B00127(Danfoss+Danfoss) | BOYD: 122896(Danfoss+Danfoss)
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L (CPC+Parker) | ODM PN | CM: TEMP-S000235064(CPC+Parker) | AVC: TEMP-S000235206(CPC+Parker) | Auras: TEMP-S000235077(CPC+Parker) | BOYD: TEMP-S000235094(CPC+Parker)
| FB PN | 05-100336 | 05-100336 | 05-100336 | 05-100336
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05456-01-GP3S1(CPC+Parker) | AVC: SFA6510001(CPC+Parker) | Auras: 0S53B00122(CPC+Parker) | BOYD: 122888(CPC+Parker)
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R (CPC+Parker) | ODM PN | CM: TEMP-S000235069(CPC+Parker) | AVC: TEMP-S000235210(CPC+Parker) | Auras: TEMP-S000235083(CPC+Parker) | BOYD: TEMP-S000235098(CPC+Parker)
| FB PN | 05-100334 | 05-100334 | 05-100334 | 05-100334
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05457-01-GP3S1(CPC+Parker) | AVC: SFA6490001(CPC+Parker) | Auras: 0S53B00123(CPC+Parker) | BOYD: 122895(CPC+Parker)
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L (CPC+Danfoss) | ODM PN | CM: TEMP-S000235063(CPC+Danfoss) | AVC: TEMP-S000235205(CPC+Danfoss) | Auras: TEMP-S000235076(CPC+Danfoss) | BOYD: TEMP-S000235093(CPC+Danfoss)
| FB PN | 05-100336 | 05-100336 | 05-100336 | 05-100336
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05454-01-GP3S1(CPC+Danfoss) | AVC: SFA6430001(CPC+Danfoss) | Auras: 0S53B00120(CPC+Danfoss) | BOYD: 122886(CPC+Danfoss)
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R (CPC+Danfoss) | ODM PN | CM: TEMP-S000235068(CPC+Danfoss) | AVC: TEMP-S000235209(CPC+Danfoss) | Auras: TEMP-S000235082(CPC+Danfoss) | BOYD: TEMP-S000235097(CPC+Danfoss)
| FB PN | 05-100334 | 05-100334 | 05-100334 | 05-100334
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05455-01-GP3S1(CPC+Danfoss) | AVC: SFA6440001(CPC+Danfoss) | Auras: 0S53B00121(CPC+Danfoss) | BOYD: 122894(CPC+Danfoss)
| Quantity | 1 | 1 | 1 | 1
07-LGA for CX8 Connecter | ODM PN | TEMP-S000232700 | TEMP-S000232700 | TEMP-S000232700 | TEMP-S000232700
| FB PN | 07-100632 | 07-100632 | 07-100632 | 07-100632
| Vendor | Foxconn | Foxconn | Foxconn | Foxconn
| MPN | PL08517-12NN0-4H | PL08517-12NN0-4H | PL08517-12NN0-4H | PL08517-12NN0-4H
| Quantity | 2 | 2 | 2 | 2
19- NIC Card CX8 Dual Port 800G | ODM PN | TEMP-S000235180 | TEMP-S000235180 | TEMP-S000235180 | TEMP-S000235180
| FB PN | 19-100776 | 19-100776 | 19-100776 | 19-100776
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | 900-9X86E-00CX-SP0 | 900-9X86E-00CX-SP0 | 900-9X86E-00CX-SP0 | 900-9X86E-00CX-SP0
| Quantity | 2 | 2 | 2 | 2
19- CX7 Frontend NIC, IO board | ODM PN | TEMP-S000226360 | TEMP-S000226360 | TEMP-S000226360 | TEMP-S000226360
| FB PN | 19-100693 | 19-100693 | 19-100693 | 19-100693
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB
| Quantity | 2 | 2 | 2 | 2
19- HMC module for GB300 | ODM PN | TEMP-S000236257 TEMP-S000235489 | TEMP-S000236257 TEMP-S000235489 | TEMP-S000236257 TEMP-S000235489 | TEMP-S000236257 TEMP-S000235489 |  | Update Bianca ODM PN
| FB PN | 19-100778 | 19-100778 | 19-100778 | 19-100778
| Vendor | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2
| MPN | 900-24764-0000-000 | 900-24764-0000-000 | 900-24764-0000-000 | 900-24764-0000-000
| Quantity | 1 | 1 | 1 | 1
27- HMC Bracket | ODM PN | 1A72FVN00-600-G | 1A72FVN00-600-G | 1A72FVN00-600-G | 1A72FVN00-600-G
| FB PN | 27-100434 | 27-100434 | 27-100434 | 27-100434
| Quantity | 1 | 1 | 1 | 1
09- 2TB E1.S boot drive | ODM PN | Samsung: TEMP-S000225741 | Micron: TEMP-S000225742 | Kioxia: TEMP-S000225743 | Samsung: TEMP-S000225741
| ODM Assy PN | 1A72D4300-600-G | 1A72D4300-600-G | 1A72D4300-600-G | 1A72D4300-600-G
| FB PN | 09-100274 | 09-100274 | 09-100274 | 09-100274
| Vendor | Samsung | Micron | Kioxia | Samsung
| MPN | Samsung: MZTL61T9HFJA-00AFB | Micron: MTFDKBT1T9TFR-1BC4DABVA | Kioxia: KXDZDRJJ1T92 | Samsung: MZTL61T9HFJA-00AFB
| Quantity | 1 | 1 | 1 | 1
27- SSD holder | ODM PN | 1A72G6H00-600-G | 1A72G6H00-600-G | 1A72G6H00-600-G | 1A72G6H00-600-G
| FB PN | 27-100408 | 27-100408 | 27-100408 | 27-100408
| Quantity | 1 | 1 | 1 | 1
09- 8TB E1.S SSD (Data Drive) | ODM PN | Samsung: TEMP-S000225744 | WD: TEMP-S000225745 | Micron: TEMP-S000225746 | Samsung: TEMP-S000225744
| ODM Assy PN | 1A72D4300-600-G 1A72D4600-600-G | 1A72D4300-600-G 1A72D4600-600-G | 1A72D4300-600-G 1A72D4600-600-G | 1A72D4300-600-G 1A72D4600-600-G | Same ODM PN is used for 09-100274 | Update ODM PN
| FB PN | 09-100273 09-100307 (Samsung) | 09-100271 (WD) | 09-100272 (Micron) | 09-100273 09-100307 (Samsung)
| Vendor | Samsung | WD | Micron | Samsung
| MPN | Samsung: MZOL67T6HBLC-00AFB MZOL67T6HDLA-00AFB | WD: WUS6A7676PJP8X7 | Micron: MTFDLBU7T6THC-1BK4FABVA | Samsung: MZOL67T6HBLC-00AFB MZOL67T6HDLA-00AFB
| Quantity | 4 | 4 | 4 | 4
27 - 8TB Bracket | ODM PN | 1A72CL900-600-G 1A72GQL00-600-G | 1A72CL900-600-G 1A72GQL00-600-G | 1A72CL900-600-G 1A72GQL00-600-G | 1A72CL900-600-G 1A72GQL00-600-G |  | ME Change Design, so update ODM PN
| FB PN | 27-100267 | 27-100267 | 27-100267 | 27-100267
| Quantity | 1 | 1 | 1 | 1
19- PDB | ODM PN | 1A72F8700-600-G | 1A72F8700-600-G | 1A72F8700-600-G | 1A72F8700-600-G | Need ODM PN | Update ODM PN
| FB PN | 19-100777 | 19-100777 | 19-100777 | 19-100777
| Quantity | 1 | 1 | 1 | 1
19- FIO board | ODM PN | 1A72DGP00-600-G | 1A72DGP00-600-G | 1A72DGP00-600-G | 1A72DGP00-600-G
| FB PN | 19-100684 | 19-100684 | 19-100684 | 19-100684
| Quantity | 1 | 1 | 1 | 1
19- OSFP Board | ODM PN | 1A72E1400-600-G | 1A72E1400-600-G | 1A72E1400-600-G | 1A72E1400-600-G
| FB PN | 19-100685 | 19-100685 | 19-100685 | 19-100685
| Quantity | 1 | 1 | 1 | 1
07 - Ultrapass cable (L) | ODM PN | TEMP-S000236570 | TEMP-S000236570 | TEMP-S000236570 | TEMP-S000236570
| FB PN | 07-100945 | 07-100945 | 07-100945 | 07-100945
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | KFGE25-18-A505G6A | KFGE25-18-A505G6A | KFGE25-18-A505G6A | KFGE25-18-A505G6A
| Quantity | 2 | 2 | 2 | 2
07 - Ultrapass cable (R) | ODM PN | TEMP-S000236571 | TEMP-S000236571 | TEMP-S000236571 | TEMP-S000236571
| FB PN | 07-100946 | 07-100945 | 07-100945 | 07-100945
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | KFGE25-18-A420G6A | KFGE25-18-A420G6A | KFGE25-18-A420G6A | KFGE25-18-A420G6A
| Quantity | 2 | 2 | 2 | 2
19- SCM BOARD ASSY, SCM + Sensor board + TPM | ODM PN | 1A72DGF00-600-G | 1A72DGF00-600-G | 1A72DGF00-600-G | 1A72DGF00-600-G
| FB PN | 19-100688 | 19-100688 | 19-100688 | 19-100688
| Quantity | 1 | 1 | 1 | 1
19- SCM BOARD+Sensor board | ODM PN |  |  |  |  | Need ODM PN | We will create a new ODM PN for this item.
| FB PN | 19-100687 | 19-100687 | 19-100687 | 19-100687
| Quantity | 1 | 1 | 1 | 1
19- TPM | ODM PN | 1A72DGD00-600-G | 1A72DGD00-600-G | 1A72DGD00-600-G | 1A72DGD00-600-G
| FB PN | 19-100686 | 19-100686 | 19-100686 | 19-100686
| Quantity | 1 | 1 | 1 | 1
27- SCM Bracket | ODM PN | 1A31NCD00-600-G | 1A31NCD00-600-G | 1A31NCD00-600-G | 1A31NCD00-600-G
| FB PN | 27-100383 | 27-100383 | 27-100383 | 27-100383
| Quantity | 1 | 1 | 1 | 1
19-BSM | ODM PN | 1A72DGE00-600-G | 1A72DGE00-600-G | 1A72DGE00-600-G | 1A72DGE00-600-G
| FB PN | 09-100298 | 09-100298 | 09-100298 | 09-100298
| Quantity | 1 | 1 | 1 | 1
19-E1.S backplane | ODM PN | 1A72DGH00-600-G 1A72G4900-600-G | 1A72DGH00-600-G 1A72G4900-600-G | 1A72DGH00-600-G 1A72G4900-600-G | 1A72DGH00-600-G 1A72G4900-600-G |  | Update ODM PN
| FB PN | 19-100689 | 19-100689 | 19-100689 | 19-100689
| Quantity | 1 | 1 | 1 | 1
19- Interposer | ODM PN | 1A72F8900-600-G | 1A72F8900-600-G | 1A72F8900-600-G | 1A72F8900-600-G | Need ODM PN | Update ODM PN
| FB PN | 19-100691 | 19-100691 | 19-100691 | 19-100691
| Quantity | 1 | 1 | 1 | 1
05- FAN 4056 | ODM PN | AVC: TEMP-S000235793 | Sunon: TEMP-S000236154 | AVC: TEMP-S000235793 | Sunon: TEMP-S000236154
| FB PN | 05-100335 | 05-100335 | 05-100335 | 05-100335
| Vendor | AVC | Sunon | AVC | Sunon
| MPN | AVC: DFPU0456B2UY051 | Sunon: XG40561BX-1Q985-S9W | AVC: DFPU0456B2UY051 | Sunon: XG40561BX-1Q985-S9W
| Quantity | 8 | 8 | 8 | 8
07- Busbar Cable | ODM PN | Amphenol: TEMP-S000238671 | FIT: TEMP-S000236298 | Amphenol: TEMP-S000238671 | Amphenol: TEMP-S000238671 |  | Update ODM PN
| FB PN | 07-100938 | 07-100938 | 07-100938 | 07-100938
| Vendor | Amphenol | FIT | Amphenol | Amphenol
| MPN | Amphenol: 10174690-1UF123LF | FIT: JPB15CT-ZZ661-DH | Amphenol: 10174690-1UF123LF | Amphenol: 10174690-1UF123LF |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- NIC0 3-to-1 cable | ODM PN | Amphenol: TEMP-S000236240 Molex: TEMP-S000231105 FIT: TEMP-S000231112 | Amphenol: TEMP-S000236240 Molex: TEMP-S000231105 FIT: TEMP-S000231112 | Amphenol: TEMP-S000236240 Molex: TEMP-S000231105 FIT: TEMP-S000231112 | Amphenol: TEMP-S000236240 Molex: TEMP-S000231105 FIT: TEMP-S000231112 |  | Update ODM PN
| FB PN | 07-100918 | 07-100918 | 07-100918 | 07-100918
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ168-1428 Molex: 2193241141 FIT: CAMQ06V-ZZB03-DH | Amphenol: HGZ168-1428 Molex: 2193241141 FIT: CAMQ06V-ZZB03-DH | Amphenol: HGZ168-1428 Molex: 2193241141 FIT: CAMQ06V-ZZB03-DH | Amphenol: HGZ168-1428 Molex: 2193241141 FIT: CAMQ06V-ZZB03-DH |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- NIC1 3-to 1 cable | ODM PN | Amphenol: TEMP-S000236241 Molex: TEMP-S000231106 FIT: TEMP-S000231113 | Amphenol: TEMP-S000236241 Molex: TEMP-S000231106 FIT: TEMP-S000231113 | Amphenol: TEMP-S000236241 Molex: TEMP-S000231106 FIT: TEMP-S000231113 | Amphenol: TEMP-S000236241 Molex: TEMP-S000231106 FIT: TEMP-S000231113 |  | Update ODM PN
| FB PN | 07-100919 | 07-100919 | 07-100919 | 07-100919
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ168-1429 Molex: 2193241142 FIT: CAMQ06V-ZZB04-DH | Amphenol: HGZ168-1429 Molex: 2193241142 FIT: CAMQ06V-ZZB04-DH | Amphenol: HGZ168-1429 Molex: 2193241142 FIT: CAMQ06V-ZZB04-DH | Amphenol: HGZ168-1429 Molex: 2193241142 FIT: CAMQ06V-ZZB04-DH |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- Front IO board SlimSAS | ODM PN | Amphenol: TEMP-S000236242 Molex: TEMP-S000231107 FIT: TEMP-S000231114 | Amphenol: TEMP-S000236242 Molex: TEMP-S000231107 FIT: TEMP-S000231114 | Amphenol: TEMP-S000236242 Molex: TEMP-S000231107 FIT: TEMP-S000231114 | Amphenol: TEMP-S000236242 Molex: TEMP-S000231107 FIT: TEMP-S000231114 |  | Update ODM PN
| FB PN | 07-100920 | 07-100920 | 07-100920 | 07-100920
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HSL38-4101 Molex: 2073711110 FIT: CAMJ04E-ZZB01-DH | Amphenol: HSL38-4101 Molex: 2073711110 FIT: CAMJ04E-ZZB01-DH | Amphenol: HSL38-4101 Molex: 2073711110 FIT: CAMJ04E-ZZB01-DH | Amphenol: HSL38-4101 Molex: 2073711110 FIT: CAMJ04E-ZZB01-DH |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- E1.S Backplane power cable | ODM PN | Amphenol: TEMP-S000236237 Bellwether: TEMP-S000238652 JPC: TEMP-S000239010 | Amphenol: TEMP-S000236237 Bellwether: TEMP-S000238652 JPC: TEMP-S000239010 | Amphenol: TEMP-S000236237 Bellwether: TEMP-S000238652 JPC: TEMP-S000239010 | Amphenol: TEMP-S000236237 Bellwether: TEMP-S000238652 JPC: TEMP-S000239010 |  | Update ODM PN
| FB PN | 07-100921 | 07-100921 | 07-100921 | 07-100921
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT50 Bellwether: 76860-103W JPC: PCB012701584-1 | Amphenol: HWHHW-BT50 Bellwether: 76860-103W JPC: PCB012701584-1 | Amphenol: HWHHW-BT50 Bellwether: 76860-103W JPC: PCB012701584-1 | Amphenol: HWHHW-BT50 Bellwether: 76860-103W JPC: PCB012701584-1 |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- E1.S Backplane MCIO Y cable L | ODM PN | Amphenol: TEMP-S000236238 Molex: TEMP-S000231108 FIT: TEMP-S000231115 | Amphenol: TEMP-S000236238 Molex: TEMP-S000231108 FIT: TEMP-S000231115 | Amphenol: TEMP-S000236238 Molex: TEMP-S000231108 FIT: TEMP-S000231115 | Amphenol: TEMP-S000236238 Molex: TEMP-S000231108 FIT: TEMP-S000231115 |  | Update ODM PN
| FB PN | 07-100922 | 07-100922 | 07-100922 | 07-100922
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HMC74-D232 Molex: 2150711759 FIT: CANK06K-ZZA01-DH | Amphenol: HMC74-D232 Molex: 2150711759 FIT: CANK06K-ZZA01-DH | Amphenol: HMC74-D232 Molex: 2150711759 FIT: CANK06K-ZZA01-DH | Amphenol: HMC74-D232 Molex: 2150711759 FIT: CANK06K-ZZA01-DH |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- E1.S Backplane MCIO Y cable R | ODM PN | Amphenol: TEMP-S000236239 Molex: TEMP-S000231109 FIT: TEMP-S000231116 | Amphenol: TEMP-S000236239 Molex: TEMP-S000231109 FIT: TEMP-S000231116 | Amphenol: TEMP-S000236239 Molex: TEMP-S000231109 FIT: TEMP-S000231116 | Amphenol: TEMP-S000236239 Molex: TEMP-S000231109 FIT: TEMP-S000231116 |  | Update ODM PN
| FB PN | 07-100923 | 07-100923 | 07-100923 | 07-100923
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HMC74-D233 Molex: 2150711760 FIT: CANK08K-ZZA02-DH | Amphenol: HMC74-D233 Molex: 2150711760 FIT: CANK08K-ZZA02-DH | Amphenol: HMC74-D233 Molex: 2150711760 FIT: CANK08K-ZZA02-DH | Amphenol: HMC74-D233 Molex: 2150711760 FIT: CANK08K-ZZA02-DH |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- OSFP PWR cable | ODM PN | Amphenol: TEMP-S000236244 Bellwether: TEMP-S000238654 JPC: TEMP-S000239011 | Amphenol: TEMP-S000236244 Bellwether: TEMP-S000238654 JPC: TEMP-S000239011 | Amphenol: TEMP-S000236244 Bellwether: TEMP-S000238654 JPC: TEMP-S000239011 | Amphenol: TEMP-S000236244 Bellwether: TEMP-S000238654 JPC: TEMP-S000239011 |  | Update ODM PN
| FB PN | 07-100939 | 07-100939 | 07-100939 | 07-100939
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT47 Bellwether: 76860-102W JPC: PCB012701583-1 | Amphenol: HWHHW-BT47 Bellwether: 76860-102W JPC: PCB012701583-1 | Amphenol: HWHHW-BT47 Bellwether: 76860-102W JPC: PCB012701583-1 | Amphenol: HWHHW-BT47 Bellwether: 76860-102W JPC: PCB012701583-1 |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- OSFP sideband cable L | ODM PN | Amphenol: TEMP-S000236245 Bellwether: TEMP-S000238655 JPC: TEMP-S000238656 | Amphenol: TEMP-S000236245 Bellwether: TEMP-S000238655 JPC: TEMP-S000238656 | Amphenol: TEMP-S000236245 Bellwether: TEMP-S000238655 JPC: TEMP-S000238656 | Amphenol: TEMP-S000236245 Bellwether: TEMP-S000238655 JPC: TEMP-S000238656 |  | Update ODM PN
| FB PN | 07-100940 | 07-100940 | 07-100940 | 07-100940
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT48 Bellwether: 76190-803W JPC: PCB012701379-3 | Amphenol: HWHHW-BT48 Bellwether: 76190-803W JPC: PCB012701379-3 | Amphenol: HWHHW-BT48 Bellwether: 76190-803W JPC: PCB012701379-3 | Amphenol: HWHHW-BT48 Bellwether: 76190-803W JPC: PCB012701379-3 |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- OSFP sideband cable R | ODM PN | Amphenol: TEMP-S000236246 Bellwether: TEMP-S000238657 JPC: TEMP-S000238658 | Amphenol: TEMP-S000236246 Bellwether: TEMP-S000238657 JPC: TEMP-S000238658 | Amphenol: TEMP-S000236246 Bellwether: TEMP-S000238657 JPC: TEMP-S000238658 | Amphenol: TEMP-S000236246 Bellwether: TEMP-S000238657 JPC: TEMP-S000238658 |  | Update ODM PN
| FB PN | 07-100941 | 07-100941 | 07-100941 | 07-100941
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT49 Bellwether: 76190-804W JPC: PCB012701379-4 | Amphenol: HWHHW-BT49 Bellwether: 76190-804W JPC: PCB012701379-4 | Amphenol: HWHHW-BT49 Bellwether: 76190-804W JPC: PCB012701379-4 | Amphenol: HWHHW-BT49 Bellwether: 76190-804W JPC: PCB012701379-4 |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- E1.S SSD Y cable | ODM PN | Amphenol: TEMP-S000236243 Molex: TEMP-S000231110 FIT: TEMP-S000231117 | Amphenol: TEMP-S000236243 Molex: TEMP-S000231110 FIT: TEMP-S000231117 | Amphenol: TEMP-S000236243 Molex: TEMP-S000231110 FIT: TEMP-S000231117 | Amphenol: TEMP-S000236243 Molex: TEMP-S000231110 FIT: TEMP-S000231117 |  | Update ODM PN
| FB PN | 07-100924 | 07-100924 | 07-100924 | 07-100924
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ56-0986 Molex: 2126631230 FIT: CALH04H-ZZA03-DH | Amphenol: HGZ56-0986 Molex: 2126631230 FIT: CALH04H-ZZA03-DH | Amphenol: HGZ56-0986 Molex: 2126631230 FIT: CALH04H-ZZA03-DH | Amphenol: HGZ56-0986 Molex: 2126631230 FIT: CALH04H-ZZA03-DH |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- CBL, PDB_MB(R)(L) PWR cable | ODM PN | Amphenol: TEMP-S000236247 Bellwether: TEMP-S000238659 JPC: TEMP-S000239012 | Amphenol: TEMP-S000236247 Bellwether: TEMP-S000238659 JPC: TEMP-S000239012 | Amphenol: TEMP-S000236247 Bellwether: TEMP-S000238659 JPC: TEMP-S000239012 | Amphenol: TEMP-S000236247 Bellwether: TEMP-S000238659 JPC: TEMP-S000239012 |  | Update ODM PN
| FB PN | 07-100925 | 07-100925 | 07-100925 | 07-100925
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT44 Bellwether: 76860-101W JPC: PCB012701582-1 | Amphenol: HWHHW-BT44 Bellwether: 76860-101W JPC: PCB012701582-1 | Amphenol: HWHHW-BT44 Bellwether: 76860-101W JPC: PCB012701582-1 | Amphenol: HWHHW-BT44 Bellwether: 76860-101W JPC: PCB012701582-1 |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- CBL, CLINK Cable | ODM PN | Amphenol: TEMP-S000238660 Bizlink: TEMP-S000239013 | Amphenol: TEMP-S000238660 Bizlink: TEMP-S000239013 | Amphenol: TEMP-S000238660 Bizlink: TEMP-S000239013 | Amphenol: TEMP-S000238660 Bizlink: TEMP-S000239013 |  | Update ODM PN
| FB PN | 07-100926 | 07-100926 | 07-100926 | 07-100926
| Vendor | Amphenol/Bizlink | Amphenol/Bizlink | Amphenol/Bizlink | Amphenol/Bizlink
| MPN | Amphenol: HMC124-2250 Bizlink: 117H0-157059-R1 | Amphenol: HMC124-2250 Bizlink: 117H0-157059-R1 | Amphenol: HMC124-2250 Bizlink: 117H0-157059-R1 | Amphenol: HMC124-2250 Bizlink: 117H0-157059-R1 |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- 2P Management Crossover Cable | ODM PN | Amphenol: TEMP-S000238661 Bizlink: TBD FIT: TEMP-S000238662 Luxshare: TEMP-S000239014 | Amphenol: TEMP-S000238661 Bizlink: TBD FIT: TEMP-S000238662 Luxshare: TEMP-S000239014 | Amphenol: TEMP-S000238661 Bizlink: TBD FIT: TEMP-S000238662 Luxshare: TEMP-S000239014 | Amphenol: TEMP-S000238661 Bizlink: TBD FIT: TEMP-S000238662 Luxshare: TEMP-S000239014 |  | Update ODM PN
| FB PN | 07-100927 | 07-100927 | 07-100927 | 07-100927
| Vendor | Amphenol/Bizlink/FIT/Luxshare | Amphenol/Bizlink/FIT/Luxshare | Amphenol/Bizlink/FIT/Luxshare | Amphenol/Bizlink/FIT/Luxshare
| MPN | Amphenol: HGZ168-1457 Bizlink: TBD FIT: CAMK02L-ZZA05-DH Luxshare: L02GZ078-SD-H | Amphenol: HGZ168-1457 Bizlink: TBD FIT: CAMK02L-ZZA05-DH Luxshare: L02GZ078-SD-H | Amphenol: HGZ168-1457 Bizlink: TBD FIT: CAMK02L-ZZA05-DH Luxshare: L02GZ078-SD-H | Amphenol: HGZ168-1457 Bizlink: TBD FIT: CAMK02L-ZZA05-DH Luxshare: L02GZ078-SD-H |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-1 | ODM PN | Amphenol: TEMP-S000226002 Molex: TEMP-S000238663 JPC: TBD | Amphenol: TEMP-S000226002 Molex: TEMP-S000238663 JPC: TBD | Amphenol: TEMP-S000226002 Molex: TEMP-S000238663 JPC: TBD | Amphenol: TEMP-S000226002 Molex: TEMP-S000238663 JPC: TBD |  | Update ODM PN
| FB PN | 07-100623 | 07-100623 | 07-100623 | 07-100623
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA93 Molex: 686031242 JPC: TBD | Amphenol: HWHHW-BA93 Molex: 686031242 JPC: TBD | Amphenol: HWHHW-BA93 Molex: 686031242 JPC: TBD | Amphenol: HWHHW-BA93 Molex: 686031242 JPC: TBD |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-2 | ODM PN | Amphenol: TEMP-S000226003 Molex: TEMP-S000238664 JPC: TBD | Amphenol: TEMP-S000226003 Molex: TEMP-S000238664 JPC: TBD | Amphenol: TEMP-S000226003 Molex: TEMP-S000238664 JPC: TBD | Amphenol: TEMP-S000226003 Molex: TEMP-S000238664 JPC: TBD |  | Update ODM PN
| FB PN | 07-100624 | 07-100624 | 07-100624 | 07-100624
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA94 Molex: TT686031243 JPC: TBD | Amphenol: HWHHW-BA94 Molex: TT686031243 JPC: TBD | Amphenol: HWHHW-BA94 Molex: TT686031243 JPC: TBD | Amphenol: HWHHW-BA94 Molex: TT686031243 JPC: TBD |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-3 | ODM PN | Amphenol: TEMP-S000226004 Molex: TEMP-S000238665 JPC: TBD | Amphenol: TEMP-S000226004 Molex: TEMP-S000238665 JPC: TBD | Amphenol: TEMP-S000226004 Molex: TEMP-S000238665 JPC: TBD | Amphenol: TEMP-S000226004 Molex: TEMP-S000238665 JPC: TBD |  | Update ODM PN
| FB PN | 07-100625 | 07-100625 | 07-100625 | 07-100625
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA95 Molex: 686031244 JPC: TBD | Amphenol: HWHHW-BA95 Molex: 686031244 JPC: TBD | Amphenol: HWHHW-BA95 Molex: 686031244 JPC: TBD | Amphenol: HWHHW-BA95 Molex: 686031244 JPC: TBD |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-4 | ODM PN | Amphenol: TEMP-S000226005 Molex: TEMP-S000238666 JPC: TBD | Amphenol: TEMP-S000226005 Molex: TEMP-S000238666 JPC: TBD | Amphenol: TEMP-S000226005 Molex: TEMP-S000238666 JPC: TBD | Amphenol: TEMP-S000226005 Molex: TEMP-S000238666 JPC: TBD |  | Update ODM PN
| FB PN | 07-100626 | 07-100626 | 07-100626 | 07-100626
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA96 Molex: 686031245 JPC: TBD | Amphenol: HWHHW-BA96 Molex: 686031245 JPC: TBD | Amphenol: HWHHW-BA96 Molex: 686031245 JPC: TBD | Amphenol: HWHHW-BA96 Molex: 686031245 JPC: TBD |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- CBL,HMC_Interposer MCIO Cable1 | ODM PN | Amphenol: TEMP-S000236251 Luxshare: TEMP-S000238667 | Amphenol: TEMP-S000236251 Luxshare: TEMP-S000238667 | Amphenol: TEMP-S000236251 Luxshare: TEMP-S000238667 | Amphenol: TEMP-S000236251 Luxshare: TEMP-S000238667 |  | Update ODM PN
| FB PN | 07-100932 | 07-100932 | 07-100932 | 07-100932
| Vendor | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare
| MPN | Amphenol: HMC74-D258 Luxshare: L02MM250-SD-H | Amphenol: HMC74-D258 Luxshare: L02MM250-SD-H | Amphenol: HMC74-D258 Luxshare: L02MM250-SD-H | Amphenol: HMC74-D258 Luxshare: L02MM250-SD-H |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- CBL,HMC_Interposer MCIO Cable2 | ODM PN | Amphenol: TEMP-S000236252 Luxshare: TEMP-S000238668 | Amphenol: TEMP-S000236252 Luxshare: TEMP-S000238668 | Amphenol: TEMP-S000236252 Luxshare: TEMP-S000238668 | Amphenol: TEMP-S000236252 Luxshare: TEMP-S000238668 |  | Update ODM PN
| FB PN | 07-100933 | 07-100933 | 07-100933 | 07-100933
| Vendor | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare
| MPN | Amphenol: HMC74-D259 Luxshare: L02MM251-SD-H | Amphenol: HMC74-D259 Luxshare: L02MM252-SD-H | Amphenol: HMC74-D259 Luxshare: L02MM253-SD-H | Amphenol: HMC74-D259 Luxshare: L02MM254-SD-H |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- PDB Interposer PWR cable | ODM PN | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD |  | Delete this Cable, original function combined with 07- OSFP PWR cable
| FB PN | 07-100934 | 07-100934 | 07-100934 | 07-100934
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- PDB Interposer sideband cable | ODM PN | Amphenol: TEMP-S000236254 Bellwether: TEMP-S000238669 JPC: TEMP-S000238670 | Amphenol: TEMP-S000236254 Bellwether: TEMP-S000238669 JPC: TEMP-S000238670 | Amphenol: TEMP-S000236254 Bellwether: TEMP-S000238669 JPC: TEMP-S000238670 | Amphenol: TEMP-S000236254 Bellwether: TEMP-S000238669 JPC: TEMP-S000238670 |  | Update ODM PN
| FB PN | 07-100935 | 07-100935 | 07-100935 | 07-100935
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT63 Bellwether: 76190-805W JPC: PCB012701575-1 | Amphenol: HWHHW-BT63 Bellwether: 76190-805W JPC: PCB012701575-1 | Amphenol: HWHHW-BT63 Bellwether: 76190-805W JPC: PCB012701575-1 | Amphenol: HWHHW-BT63 Bellwether: 76190-805W JPC: PCB012701575-1 |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
07- MB 12V+GND Busbar 1 | ODM PN | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436 | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436 | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436 | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436
| FB PN | 07-100936 | 07-100936 | 07-100936 | 07-100936
| Vendor | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol
| MPN | Interplex: 102417-02-SD Amphenol: 730220001 | Interplex: 102417-02-SD Amphenol: 730220001 | Interplex: 102417-02-SD Amphenol: 730220001 | Interplex: 102417-02-SD Amphenol: 730220001 | Validate the Amphenol MPN, Its already mapped to a completly different FBPN | This project is a direct inherited from the GB200 project. Is this the reason why it is mapped to a completely different FBPN?
| Quantity | 1 | 1 | 1 | 1
07- MB 12V+GND Busbar 2 | ODM PN | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435 | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435 | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435 | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435
| FB PN | 07-100937 | 07-100937 | 07-100937 | 07-100937
| Vendor | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol
| MPN | Interplex: 102417-01-SD Amphenol: 730210001 | Interplex: 102417-01-SD Amphenol: 730210001 | Interplex: 102417-01-SD Amphenol: 730210001 | Interplex: 102417-01-SD Amphenol: 730210001 | Validate the Amphenol MPN, Its already mapped to a completly different FBPN | This project is a direct inherited from the GB200 project. Is this the reason why it is mapped to a completely different FBPN?
| Quantity | 1 | 1 | 1 | 1
27- Compute Tray Chassis Assy | ODM PN | 1A72G0P00-600-G | 1A72G0P00-600-G | 1A72G0P00-600-G | 1A72G0P00-600-G
| FB PN | 27-100436 | 27-100436 | 27-100436 | 27-100436
| Quantity | 1 | 1 | 1 | 1
Coolant | ODM PN | TEMP-S000189576 | TEMP-S000189576 | TEMP-S000189576 | TEMP-S000189576
| FB PN | 05-100229 | 05-100229 | 05-100229 | 05-100229
| Quantity | 0 | 0 | 0 | 0
Remark | Update
TBD
Delete

## DVT- L11 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Config B | Config C | Config D | Meta Comments | Ingrasys Note
| Description | Rack Manifold : Cooler Master 5.5K PSU/Power Shelf : AEI 800G DAC : Amphenol AEC : Credo | Rack Manifold : AVC 5.5K PSU/Power Shelf : AEI 800G DAC : TE AEC : Molex | Rack Manifold : Auras 5.5K PSU/Power Shelf : AEI 800G DAC : Molex AEC : Amphenol | Rack Manifold : Cooler Master 5.5K PSU/Power Shelf : AEI 800G DAC : Amphenol AEC : Credo
| Rack Qty | 1 | 1 | 1 | 1
Meta Clemente_L11 Rack ASSY, NSF | FBPN | TBD | TBD | TBD | TBD
| ODM PN | 1A72E3S00-600-G | 1A72E3S00-600-G | 1A72E3S00-600-G | 1A72E3S00-600-G
01- CI Compute Tray Assy | ODM PN | 1A72DR800-600-G (Samsung) | 1A72EUM00-600-G (WD) | 1A72EUL00-600-G (Micron) | 1A72DR800-600-G (Samsung) |  | Update by L10 config
| FB PN | 01-101292 | 01-101293 | 01-101294 | 01-101292
| Quantity | 18 | 18 | 18 | 18
01- CI RMC Tray Assy | ODM PN | FXN - IGS : 1A72DR700-600-G(FAB3) FXN - IGS : 1A72GK400-600-G(FAB4) Quanta : TEMP-S000231552(FAB3) Quanta : TEMP-S000235726(FAB4) | FXN - IGS : 1A72DR700-600-G(FAB3) FXN - IGS : 1A72GK400-600-G(FAB4) Quanta : TEMP-S000231552(FAB3) Quanta : TEMP-S000235726(FAB4) | FXN - IGS : 1A72DR700-600-G(FAB3) FXN - IGS : 1A72GK400-600-G(FAB4) Quanta : TEMP-S000231552(FAB3) Quanta : TEMP-S000235726(FAB4) | FXN - IGS : 1A72DR700-600-G(FAB3) FXN - IGS : 1A72GK400-600-G(FAB4) Quanta : TEMP-S000231552(FAB3) Quanta : TEMP-S000235726(FAB4) | Update AVL | Add IGS ODM PN
| FB PN | 01-101181 | 01-101181 | 01-101181 | 01-101181
| Vendor | Foxconn, Qunta | Foxconn, Qunta | Foxconn, Qunta | Foxconn, Qunta
| MPN | FXN - IGS : 1A72DR700-600-G(FAB3) FXN - IGS : 1A72GK400-600-G(FAB4) Quanta : 3RL05MA0040(FAB3) Quanta : 3RL05MA00A0(FAB4) | FXN - IGS : 1A72DR700-600-G(FAB3) FXN - IGS : 1A72GK400-600-G(FAB4) Quanta : 3RL05MA0040(FAB3) Quanta : 3RL05MA00A0(FAB4) | FXN - IGS : 1A72DR700-600-G(FAB3) FXN - IGS : 1A72GK400-600-G(FAB4) Quanta : 3RL05MA0040(FAB3) Quanta : 3RL05MA00A0(FAB4) | FXN - IGS : 1A72DR700-600-G(FAB3) FXN - IGS : 1A72GK400-600-G(FAB4) Quanta : 3RL05MA0040(FAB3) Quanta : 3RL05MA00A0(FAB4) |  | Add IGS ODM PN
| Quantity | 1 | 1 | 1 | 1
20 - CI NVSO Tray Assy | ODM PN | TEMP-S000230460 | TEMP-S000230460 | TEMP-S000230460 | TEMP-S000230460
| FB PN | TBD | TBD | TBD | TBD | T224853704
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | 920-9K33R-00MV-QS0 | 920-9K33R-00MV-QS0 | 920-9K33R-00MV-QS0 | 920-9K33R-00MV-QS0
| Quantity | 9 | 9 | 9 | 9
55 - Rack & Power Sub-assy | ODM PN | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G
| FB PN | 55-100207 | 55-100207 | 55-100207 | 55-100207
| Vendor | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2
| MPN | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G
| Quantity | 1 | 1 | 1 | 1
06- IT Rack Frame | ODM PN | TEMP-S000229614 | TEMP-S000229614 | TEMP-S000229614 | TEMP-S000229614
| FB PN | 06-100018 | 06-100018 | 06-100018 | 06-100018
| Vendor | Rittal | Rittal | Rittal | Rittal
| MPN | 7844664 | 7844664 | 7844664 | 7844664
| Quantity | 1 | 1 | 1 | 1
Canister | ODM PN | 1A72B7000-600-G2 | 1A72B7000-600-G2 | 1A72B7000-600-G2 | 1A72B7000-600-G2 |  | Add this item from EVT Build Matrix
| FB PN | 27-100238 | 27-100238 | 27-100238 | 27-100238
| Quantity | 1 | 1 | 1 | 1
Cable Cartridge (Left/Right) | ODM PN | TEMP-S000224304 | TEMP-S000224304 | TEMP-S000224304 | TEMP-S000224304 |  | Add this item from EVT Build Matrix
| FB PN | 07-100580 | 07-100580 | 07-100580 | 07-100580
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | 965-24972-0020-000 | 965-24972-0020-000 | 965-24972-0020-000 | 965-24972-0020-000
| Quantity | 1 -->4 | 1 -->4 | 1 -->4 | 1 -->4
27- ORV3 power shelf rail | ODM PN | TEMP-S000222271 | TEMP-S000222271 | TEMP-S000222271 | TEMP-S000222271
| FB PN | 27-001501 | 27-001501 | 27-001501 | 27-001501
| Vendor | Rittal | Rittal | Rittal | Rittal
| MPN | 7844557 | 7844557 | 7844557 | 7844557
| Quantity | 8 | 8 | 8 | 8
27- ORV3 IT rail | ODM PN | TEMP-S000222274 | TEMP-S000222274 | TEMP-S000222274 | TEMP-S000222274
| FB PN | 27-001499 | 27-001499 | 27-001499 | 27-001499
| Vendor | Rittal | Rittal | Rittal | Rittal
| MPN | 7844556 | 7844556 | 7844556 | 7844556
| Quantity | 3 | 3 | 3 | 3
27- MiniPack3 Railkit | ODM PN | TEMP-S000227145 | TEMP-S000227145 | TEMP-S000227145 | TEMP-S000227145
| FB PN | 27-001629 | 27-001629 | 27-001629 | 27-001629
| Vendor | KingSlide | KingSlide | KingSlide | KingSlide
| MPN | U602-625-IM | U602-625-IM | U602-625-IM | U602-625-IM
| Quantity | 1 | 1 | 1 | 1
27- L10 system rail kit | ODM PN | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736 | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736 | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736 | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736
| FB PN | 27-100239 | 27-100239 | 27-100239 | 27-100239
| Vendor | Kingslide | Kingslide | Kingslide | Kingslide
| MPN | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP
| Quantity | 27 | 27 | 27 | 27
DVT cold rack manifold | ODM PN | TEMP-S000227453(CPC) TEMP-S000230373(Danfoss) TEMP-S000230374(Parker) | TEMP-S000232114(CPC) TEMP-S000232115(Danfoss) TEMP-S000232116(Parker) | TEMP-S000230502(CPC) TEMP-S000230503(Danfoss) TEMP-S000231831(Parker) | TEMP-S000227453(CPC) TEMP-S000230373(Danfoss) TEMP-S000230374(Parker) |  | Update CPC, Danfoss, Parker describe.
| FB PN | 27-100381 | 27-100381 | 27-100381 | 27-100381
| Vendor | Cooler Master | AVC | Auras | Cooler Master
| MPN | Cooler Master : LC-05124-01-GP2S1(CPC) Cooler Master : LC-05250-01-GP2S1(Danfoss) Cooler Master : LC-05251-01-GP2S1(Parker) | AVC : SFA4890001(CPC) AVC : SFA4360001(Danfoss) AVC : SFA4920001(Parker) | Auras : 0S53B00059(CPC) Auras : 0S53B00072(Danfoss) Auras : 0S53B00084(Parker) | Cooler Master : LC-05124-01-GP2S1(CPC) Cooler Master : LC-05250-01-GP2S1(Danfoss) Cooler Master : LC-05251-01-GP2S1(Parker) |  | Update CPC, Danfoss, Parker describe.
| Quantity | 1 | 1 | 1 | 1
DVT hot rack manifold | ODM PN | TEMP-S000227454(CPC) TEMP-S000230375(Danfoss) TEMP-S000230376(Parker) | TEMP-S000232117(CPC) TEMP-S000232118(Danfoss) TEMP-S000232119(Parker) | TEMP-S000230504(CPC) TEMP-S000230505(Danfoss) TEMP-S000231832(Parker) | TEMP-S000227454(CPC) TEMP-S000230375(Danfoss) TEMP-S000230376(Parker) |  | Update CPC, Danfoss, Parker describe.
| FB PN | 27-100380 | 27-100380 | 27-100380 | 27-100380
| Vendor | Cooler Master | AVC | Auras | Cooler Master
| MPN | Cooler Master : LC-05125-01-GP2S1(CPC) Cooler Master : LC-05252-01-GP2S1(Danfoss) Cooler Master : LC-05253-01-GP2S1(Parker) | AVC : SFA4880001(CPC) AVC : SFA4370001(Danfoss) AVC : SFA4930001(Parker) | Auras : 0S53B00060(CPC) Auras : 0S53B00073(Danfoss) Auras : 0S53B00085(Parker) | Cooler Master : LC-05125-01-GP2S1(CPC) Cooler Master : LC-05252-01-GP2S1(Danfoss) Cooler Master : LC-05253-01-GP2S1(Parker) |  | Update CPC, Danfoss, Parker describe.
| Quantity | 1 | 1 | 1 | 1
DVT hose kit cold 4ft | ODM PN | TEMP-S000230377 | TEMP-S000233230 | TEMP-S000231833 | TEMP-S000230377 |  | Follow Rack Manifold supplier
| FB PN | 27-100422 | 27-100422 | 27-100422 | 27-100422
| Vendor | Cooler Master | AVC | Auras | Cooler Master
| MPN | Cooler Master : LC-05191-01-GP2S2 | AVC : SFA5480001 | Auras : 0S53B00086 | Cooler Master : LC-05191-01-GP2S2
| Quantity | 1 | 1 | 1 | 1
DVT hose kit cold 6ft | ODM PN | TEMP-S000230378 | TEMP-S000233232 | TEMP-S000231834 | TEMP-S000230378 |  | Follow Rack Manifold supplier
| FB PN | 27-100421 | 27-100421 | 27-100421 | 27-100421
| Vendor | Cooler Master | AVC | Auras | Cooler Master
| MPN | Cooler Master : LC-05193-01-GP2S2 | AVC : SFA5490001 | Auras : 0S53B00087 | Cooler Master : LC-05193-01-GP2S2
| Quantity | 2 | 2 | 2 | 2
DVT hose kit hot 4ft | ODM PN | TEMP-S000230380 | TEMP-S000233233 | TEMP-S000231835 | TEMP-S000230380 |  | Follow Rack Manifold supplier
| FB PN | 27-100424 | 27-100424 | 27-100424 | 27-100424
| Vendor | Cooler Master | AVC | Auras | Cooler Master
| MPN | Cooler Master : LC-05192-01-GP2S2 | AVC : SFA5460001 | Auras : 0S53B00088 | Cooler Master : LC-05192-01-GP2S2
| Quantity | 1 | 1 | 1 | 1
DVT hose kit hot 6ft | ODM PN | TEMP-S000230381 | TEMP-S000233234 | TEMP-S000231836 | TEMP-S000230381 |  | Follow Rack Manifold supplier
| FB PN | 27-100423 | 27-100423 | 27-100423 | 27-100423
| Vendor | Cooler Master | AVC | Auras | Cooler Master
| MPN | Cooler Master : LC-05194-01-GP2S2 | AVC : SFA5470001 | Auras : 0S53B00089 | Cooler Master : LC-05194-01-GP2S2
| Quantity | 2 | 2 | 2 | 2
14- Power Shelf | ODM PN | TEMP-S000225752 | TEMP-S000225752 | TEMP-S000225752 | TEMP-S000225752 |  | Update follow config (only AEI)
| FB PN | 14-100015 | 14-100015 | 14-100015 | 14-100015
| Vendor | AEI | AEI | AEI | AEI
| MPN | AEI : 700-037148-1000 | AEI : 700-037148-1000 | AEI : 700-037148-1000 | AEI : 700-037148-1000
| Quantity | 4 | 4 | 4 | 4
03- PSU (5.5 KW) | ODM PN | TEMP-S000225753 | TEMP-S000225753 | TEMP-S000225753 | TEMP-S000225753 |  | Update follow config (only AEI)
| FB PN | 03-100049 | 03-100049 | 03-100049 | 03-100049
| Vendor | AEI | AEI | AEI | AEI
| MPN | AEI :700-037147-0000 | AEI :700-037147-0000 | AEI :700-037147-0000 | AEI :700-037147-0000
| Quantity | 24 | 24 | 24 | 24
07- ORV3 AC Whip, 1600MM | ODM PN | TEMP-S000232312 | TEMP-S000232312 | TEMP-S000232312 | TEMP-S000232312 |  | Update by new design(1600MM*4, 3800MM*4)
| FB PN | 07-100775 | 07-100775 | 07-100775 | 07-100775
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | 10178161-C7A301 | 10178161-C7A301 | 10178161-C7A301 | 10178161-C7A301
| Quantity | 4 | 4 | 4 | 4
07- ORV3 AC Whip, 3800MM | ODM PN | TEMP-S000227146 | TEMP-S000227146 | TEMP-S000227146 | TEMP-S000227146 |  | Update by new design(1600MM*4, 3800MM*4)
| FB PN | 07-100609 | 07-100609 | 07-100609 | 07-100609
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | 10178161-C7A303 | 10178161-C7A303 | 10178161-C7A303 | 10178161-C7A303
| Quantity | 8 --> 4 | 8 --> 4 | 8 --> 4 | 8 --> 4 |  | Update Quantity
54 - Network Sub-assy | ODM PN | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G
| FB PN | 54-100107 | 54-100107 | 54-100107 | 54-100107
| Vendor | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2
| MPN | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G
| Quantity | 1 | 1 | 1 | 1
20 - Minipack3 ORV3 DC bundle (include PSU + power cord) | ODM PN | TEMP-S000224821 TEMP-S000234481 | TEMP-S000224821 TEMP-S000234481 | TEMP-S000224821 TEMP-S000234481 | TEMP-S000224821 TEMP-S000234481 |  | Update ODM PN
| FB PN | 30-100062 | 30-100062 | 30-100062 | 30-100062
| Vendor | Celestica | Celestica | Celestica | Celestica
| MPN | R3214-F9013-A2 R3214-F9013-A3 | R3214-F9013-A2 R3214-F9013-A3 | R3214-F9013-A2 R3214-F9013-A3 | R3214-F9013-A2 R3214-F9013-A3 |  | Update MPN
| Quantity | 1 | 1 | 1 | 1
27- MiniPack3 Outer shelf | ODM PN | TEMP-S000227194 | TEMP-S000227194 | TEMP-S000227194 | TEMP-S000227194
| FB PN | 27-100124 | 27-100124 | 27-100124 | 27-100124
| Vendor | IMG | IMG | IMG | IMG
| MPN | R4002-F0101-03 | R4002-F0101-03 | R4002-F0101-03 | R4002-F0101-03
| Quantity | 1 | 1 | 1 | 1
20- Management Switch 7010, come with tray | ODM PN | TEMP-S000222287 | TEMP-S000222287 | TEMP-S000222287 | TEMP-S000222287
| FB PN | 20-100100 | 20-100100 | 20-100100 | 20-100100
| Vendor | Arista | Arista | Arista | Arista
| MPN | FB-7010TX-48C-DC-RV3-F | FB-7010TX-48C-DC-RV3-F | FB-7010TX-48C-DC-RV3-F | FB-7010TX-48C-DC-RV3-F
| Quantity | 1 | 1 | 1 | 1
07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 1m | ODM PN | TEMP-S000235725 | TEMP-S000235670 | TEMP-S000235841 | TEMP-S000235725
| FB PN | 07-100822 | 07-100822 | 07-100822 | 07-100822
| Vendor | Credo | Molex | Amphenol | Credo
| MPN | Credo : CAC81X321A1B-C1-MT | Molex : 2253611217 | Amphenol : NNDGJA-F301 | Credo : CAC81X321A1B-C1-MT
| Quantity | 56 | 56 | 56 | 56 |  | Update Quantity
07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 1.2m | ODM PN | TEMP-S000235724 | TEMP-S000235669 | TEMP-S000235842 | TEMP-S000235724
| FB PN | 07-100821 | 07-100821 | 07-100821 | 07-100821
| Vendor | Credo | Molex | Amphenol | Credo
| MPN | Credo : CAC812321A1B-C1-MT | Molex : 2253611218 | Amphenol : NNDGJA-F314 | Credo : CAC812321A1B-C1-MT
| Quantity | 16 | 16 | 16 | 16 |  | Update Quantity
07- 800G OSFP to 2x400G OSFP DAC, 1.5 m | ODM PN | TEMP-S000235723 | TEMP-S000235838 | TEMP-S000230888 | TEMP-S000235723
| FB PN | 07-100711 | 07-100711 | 07-100711 | 07-100711
| Vendor | Amphenol | TE | Molex | Amphenol
| MPN | Amphenol : NND1DE-F307 | TE : 1-2494894-1 | Molex : 2111776115 | Amphenol : NND1DE-F307
| Quantity | 6 | 6 | 6 | 6 |  | Update Quantity
07- 800G OSFP to 2x400G OSFP DAC, 1.7 m | ODM PN | TEMP-S000236285 | TEMP-S000230889 | TEMP-S000235722 | TEMP-S000236285
| FB PN | 07-100957 | 07-100957 | 07-100957 | 07-100957
| Vendor | Amphenol | TE | Molex | Amphenol
| MPN | Amphenol : NND1DE-F336 | TE : 2494894-9 | Molex : 2111776117 | Amphenol : NND1DE-F336
| Quantity | 4 | 4 | 4 | 4 |  | Update Quantity
07- 800G OSFP to 2x400G OSFP DAC, 2.2 m | ODM PN | TEMP-S000236286 | TEMP-S000235840 | TEMP-S000235839 | TEMP-S000236286
| FB PN | 07-100958 | 07-100958 | 07-100958 | 07-100958
| Vendor | Amphenol | TE | Molex | Amphenol
| MPN | Amphenol : NND1DM-F330 | TE : 2498990-5 | Molex : 2111776322 | Amphenol : NND1DM-F330
| Quantity | 8 | 8 | 8 | 8 |  | Update Quantity
07- 10G DAC -2500mm (SFP+ to SFP+) | ODM PN | LXP : TEMP-S000222299 Bellwether : TEMP-S000230893 | LXP : TEMP-S000222299 Bellwether : TEMP-S000230893 | LXP : TEMP-S000222299 Bellwether : TEMP-S000230893 | LXP : TEMP-S000222299 Bellwether : TEMP-S000230893
| FB PN | 07-100679 | 07-100679 | 07-100679 | 07-100679
| Vendor | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether
| MPN | LXP : L02SF085-SD-H Bellwether : 76697-904W | LXP : L02SF085-SD-H Bellwether : 76697-904W | LXP : L02SF085-SD-H Bellwether : 76697-904W | LXP : L02SF085-SD-H Bellwether : 76697-904W
| Quantity | 1 | 1 | 1 | 1
07- 10G DAC -2500mm (SFP+ to QSFP28) | ODM PN | LXP : TEMP-S000227577 Bellwether : TEMP-S000230894 | LXP : TEMP-S000227577 Bellwether : TEMP-S000230894 | LXP : TEMP-S000227577 Bellwether : TEMP-S000230894 | LXP : TEMP-S000227577 Bellwether : TEMP-S000230894
| FB PN | 07-100676 | 07-100676 | 07-100676 | 07-100676
| Vendor | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether
| MPN | LXP : L02QF025-SD-H Bellwether : 76697-903W | LXP : L02QF025-SD-H Bellwether : 76697-903W | LXP : L02QF025-SD-H Bellwether : 76697-903W | LXP : L02QF025-SD-H Bellwether : 76697-903W
| Quantity | 2 --> 1 | 2 --> 1 | 2 --> 1 | 2 --> 1
07- 10G DAC - RESW to RASW - 2500mm | ODM PN | TBD | TBD | TBD | TBD
| FB PN | 07-100970 | 07-100970 | 07-100970 | 07-100970
| Vendor | TBD | TBD | TBD | TBD
| MPN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
07- RJ45 Cable, shield, Yellow - 300mm | ODM PN | GLE : TEMP-S000235673 Bellwether : TEMP-S000235721 | GLE : TEMP-S000235673 Bellwether : TEMP-S000235721 | GLE : TEMP-S000235673 Bellwether : TEMP-S000235721 | GLE : TEMP-S000235673 Bellwether : TEMP-S000235721
| FB PN | 07-100959 | 07-100959 | 07-100959 | 07-100959
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250706B Bellwether : 76183-460R | GLE : WJE250706B Bellwether : 76183-460R | GLE : WJE250706B Bellwether : 76183-460R | GLE : WJE250706B Bellwether : 76183-460R
| Quantity | 4 | 4 | 4 | 4
07- RJ45 Cable, shield, Yellow - 1000mm | ODM PN | GLE : TEMP-S000222302 Bellwether : TEMP-S000235719 | GLE : TEMP-S000222302 Bellwether : TEMP-S000235719 | GLE : TEMP-S000222302 Bellwether : TEMP-S000235719 | GLE : TEMP-S000222302 Bellwether : TEMP-S000235719
| FB PN | 07-100353 | 07-100353 | 07-100353 | 07-100353
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240762B Bellwether : 76183-461R | GLE : WJE240762B Bellwether : 76183-461R | GLE : WJE240762B Bellwether : 76183-461R | GLE : WJE240762B Bellwether : 76183-461R
| Quantity | 10 --> 5 | 10 --> 5 | 10 --> 5 | 10 --> 5
07- RJ45 Cable, shield, Yellow - 1200mm | ODM PN | GLE : TEMP-S000222304 Bellwether : TEMP-S000235718 | GLE : TEMP-S000222304 Bellwether : TEMP-S000235718 | GLE : TEMP-S000222304 Bellwether : TEMP-S000235718 | GLE : TEMP-S000222304 Bellwether : TEMP-S000235718
| FB PN | 07-100355 | 07-100355 | 07-100355 | 07-100355
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240791B Bellwether : 76183-462R | GLE : WJE240791B Bellwether : 76183-462R | GLE : WJE240791B Bellwether : 76183-462R | GLE : WJE240791B Bellwether : 76183-462R
| Quantity | 8 --> 4 | 8 --> 4 | 8 --> 4 | 8 --> 4
07- RJ45 Cable, shield, Yellow - 1550mm | ODM PN | GLE : TEMP-S000235674 Bellwether : TEMP-S000235720 | GLE : TEMP-S000235674 Bellwether : TEMP-S000235720 | GLE : TEMP-S000235674 Bellwether : TEMP-S000235720 | GLE : TEMP-S000235674 Bellwether : TEMP-S000235720
| FB PN | 07-100960 | 07-100960 | 07-100960 | 07-100960
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250716B Bellwether : 76183-463R | GLE : WJE250716B Bellwether : 76183-463R | GLE : WJE250716B Bellwether : 76183-463R | GLE : WJE250716B Bellwether : 76183-463R
| Quantity | 10 | 10 | 10 | 10
07- RJ45 Cable, shield, Yellow - 1800mm | ODM PN | GLE : TEMP-S000222323 Bellwether : TEMP-S000235715 | GLE : TEMP-S000222323 Bellwether : TEMP-S000235715 | GLE : TEMP-S000222323 Bellwether : TEMP-S000235715 | GLE : TEMP-S000222323 Bellwether : TEMP-S000235715
| FB PN | 07-100390 | 07-100390 | 07-100390 | 07-100390
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240797B Bellwether : 76183-464R | GLE : WJE240797B Bellwether : 76183-464R | GLE : WJE240797B Bellwether : 76183-464R | GLE : WJE240797B Bellwether : 76183-464R
| Quantity | 9 | 9 | 9 | 9
07- RJ45 Cable, shield, Yellow - 2000mm | ODM PN | GLE : TEMP-S000222325 Bellwether : TEMP-S000235714 | GLE : TEMP-S000222325 Bellwether : TEMP-S000235714 | GLE : TEMP-S000222325 Bellwether : TEMP-S000235714 | GLE : TEMP-S000222325 Bellwether : TEMP-S000235714
| FB PN | 07-100392 | 07-100392 | 07-100392 | 07-100392
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240799B Bellwether : 76183-457R | GLE : WJE240799B Bellwether : 76183-457R | GLE : WJE240799B Bellwether : 76183-457R | GLE : WJE240799B Bellwether : 76183-457R
| Quantity | 10 | 10 | 10 | 10
07- RJ45 Cable, shield, Yellow -5000mm | ODM PN | GLE : TEMP-S000236604 Bellwether : TEMP-S000236597 | GLE : TEMP-S000236604 Bellwether : TEMP-S000236597 | GLE : TEMP-S000236604 Bellwether : TEMP-S000236597 | GLE : TEMP-S000236604 Bellwether : TEMP-S000236597 |  | Update ODM PN
| FB PN | 07-100961 | 07-100961 | 07-100961 | 07-100961
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240850B Bellwether : 76183-469R | GLE : WJE240850B Bellwether : 76183-469R | GLE : WJE240850B Bellwether : 76183-469R | GLE : WJE240850B Bellwether : 76183-469R |  | Update MPN
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 600mm | ODM PN | GLE : TEMP-S000235705 Bellwether : TEMP-S000235706 | GLE : TEMP-S000235705 Bellwether : TEMP-S000235706 | GLE : TEMP-S000235705 Bellwether : TEMP-S000235706 | GLE : TEMP-S000235705 Bellwether : TEMP-S000235706
| FB PN | 07-100962 | 07-100962 | 07-100962 | 07-100962
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250718B Bellwether : 76183-470R | GLE : WJE250718B Bellwether : 76183-470R | GLE : WJE250718B Bellwether : 76183-470R | GLE : WJE250718B Bellwether : 76183-470R
| Quantity | 2 | 2 | 2 | 2
07- RJ45 Cable, no shield - NVSW_CP to Management Switch - 1000mm | ODM PN | TBD | TBD | TBD | TBD
| FB PN | 07-100971 | 07-100971 | 07-100971 | 07-100971
| Vendor | TBD | TBD | TBD | TBD
| MPN | TBD | TBD | TBD | TBD
| Quantity | 5 | 5 | 5 | 5
07- RJ45 Cable, no shield - NVSW_CP to Management Switch - 1200mm | ODM PN | TBD | TBD | TBD | TBD
| FB PN | 07-100972 | 07-100972 | 07-100972 | 07-100972
| Vendor | TBD | TBD | TBD | TBD
| MPN | TBD | TBD | TBD | TBD
| Quantity | 4 | 4 | 4 | 4
07- RJ45 Cable, shield, GREEN, 1300mm | ODM PN | GLE : TEMP-S000235707 Bellwether : TEMP-S000235708 | GLE : TEMP-S000235707 Bellwether : TEMP-S000235708 | GLE : TEMP-S000235707 Bellwether : TEMP-S000235708 | GLE : TEMP-S000235707 Bellwether : TEMP-S000235708
| FB PN | 07-100963 | 07-100963 | 07-100963 | 07-100963
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250719B Bellwether : 76183-471R | GLE : WJE250719B Bellwether : 76183-471R | GLE : WJE250719B Bellwether : 76183-471R | GLE : WJE250719B Bellwether : 76183-471R
| Quantity | 2 | 2 | 2 | 2
07- RJ45 Cable, shield, GREEN, 1800mm | ODM PN | GLE : TEMP-S000235717 Bellwether : TEMP-S000236708 | GLE : TEMP-S000235717 Bellwether : TEMP-S000236708 | GLE : TEMP-S000235717 Bellwether : TEMP-S000236708 | GLE : TEMP-S000235717 Bellwether : TEMP-S000236708
| FB PN | 07-100964 | 07-100964 | 07-100964 | 07-100964
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250720B Bellwether : 76183-474R | GLE : WJE250720B Bellwether : 76183-474R | GLE : WJE250720B Bellwether : 76183-474R | GLE : WJE250720B Bellwether : 76183-474R
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 2000mm | ODM PN | GLE : TEMP-S000235713 Bellwether : TEMP-S000236677 | GLE : TEMP-S000235713 Bellwether : TEMP-S000236677 | GLE : TEMP-S000235713 Bellwether : TEMP-S000236677 | GLE : TEMP-S000235713 Bellwether : TEMP-S000236677
| FB PN | 07-100965 | 07-100965 | 07-100965 | 07-100965
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250704B Bellwether : 76183-475R | GLE : WJE250704B Bellwether : 76183-475R | GLE : WJE250704B Bellwether : 76183-475R | GLE : WJE250704B Bellwether : 76183-475R
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 2100mm | ODM PN | GLE : TEMP-S000235711 Bellwether : TEMP-S000235712 | GLE : TEMP-S000235711 Bellwether : TEMP-S000235712 | GLE : TEMP-S000235711 Bellwether : TEMP-S000235712 | GLE : TEMP-S000235711 Bellwether : TEMP-S000235712
| FB PN | 07-100966 | 07-100966 | 07-100966 | 07-100966
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250721B Bellwether : 76183-476R | GLE : WJE250721B Bellwether : 76183-476R | GLE : WJE250721B Bellwether : 76183-476R | GLE : WJE250721B Bellwether : 76183-476R
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 2800mm | ODM PN | GLE : TEMP-S000235710 Bellwether : TEMP-S000235709 | GLE : TEMP-S000235710 Bellwether : TEMP-S000235709 | GLE : TEMP-S000235710 Bellwether : TEMP-S000235709 | GLE : TEMP-S000235710 Bellwether : TEMP-S000235709
| FB PN | 07-100967 | 07-100967 | 07-100967 | 07-100967
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250722B Bellwether : 76183-477R | GLE : WJE250722B Bellwether : 76183-477R | GLE : WJE250722B Bellwether : 76183-477R | GLE : WJE250722B Bellwether : 76183-477R
| Quantity | 2 --> 1 | 2 --> 1 | 2 --> 1 | 2 --> 1
07- Leakage sensor RJ45 cable - 5600mm | ODM PN | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704 | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704 | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704 | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704 | Not required per PQE
| FB PN | 07-100524 | 07-100524 | 07-100524 | 07-100524
| Vendor | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212 | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212 | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212 | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212
| Quantity | 1 | 1 | 1 | 1
07- Hot RMF leakage sensor cable - 5500mm | ODM PN | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705 | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705 | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705 | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705
| FB PN | 07-100968 | 07-100968 | 07-100968 | 07-100968
| Vendor | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211 | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211 | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211 | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211
| Quantity | 2 --> 3 | 2 --> 3 | 2 --> 3 | 2 --> 3
07- Cold RMF leakage sensor cable - 6500mm | ODM PN | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706 | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706 | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706 | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706
| FB PN | 07-100969 | 07-100969 | 07-100969 | 07-100969
| Vendor | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210 | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210 | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210 | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210
| Quantity | 1 | 1 | 1 | 1
Termination plug, 120 ohm | ODM PN | TEMP-S000227590 | TEMP-S000227590 | TEMP-S000227590 | TEMP-S000227590
| FB PN | 27-100417 | 27-100417 | 27-100417 | 27-100417
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | RJP-1MF-0002-HF | RJP-1MF-0002-HF | RJP-1MF-0002-HF | RJP-1MF-0002-HF
| Quantity | 1 | 1 | 1 | 1
1OU Pizza Box | ODM PN | TEMP-S000223211 | TEMP-S000223211 | TEMP-S000223211 | TEMP-S000223211
| FB PN | 05-000676 | 05-000676 | 05-000676 | 05-000676
| Vendor | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging
| MPN | BRP-61425.ARB | BRP-61425.ARB | BRP-61425.ARB | BRP-61425.ARB
| Quantity | 1 | 1 | 1 | 1
2OU Pizza Box | ODM PN | TEMP-S000223212 | TEMP-S000223212 | TEMP-S000223212 | TEMP-S000223212
| FB PN | 05-000677 | 05-000677 | 05-000677 | 05-000677
| Vendor | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging
| MPN | BRP-63320.ARB | BRP-63320.ARB | BRP-63320.ARB | BRP-63320.ARB
| Quantity | 3 | 3 | 3 | 3
Remark | Update
TBD
Delete

## GB300
DVT
| Vendor A | Vendor B | Vendor C | Vendor D | Vendor A % | Vendor B % | Vendor C % | Vendor D%
Commodity
2TB Data/Boot Drive | Samsung(PM9D3a) | Mricon (7450) | Kioxia (X7DP) | Samsung(PM9D3a) | 34% | 33% | 33%
4x 8TB E1.S 25mm data drive | Samsung(PM9D3a) | WD(SN861) | Micron(7550 | Samsung(PM9D3a) | 34% | 33% | 33%
Thermal
Cold plate w/ manifold | Cooler Master | AVC | Auras | Boyd | 120% | 100% | 20% | 20% |  |  | L10
Rack Manifold | Cooler Master | AVC | Auras | Cooler Master | 120% | 100% | 20% |  |  |  | L11
Fan | AVC | Sunon | AVC | Sunon | 125% | 125% |  |  | Need to check with Srinivas |  | L10
Cables
Busbar Cable | Amphenol | FIT | Amphenol | Amphenol | 100% | 0% | 0% |  | FIX RD samples for verify
Rack Power
5.5K PSU/Power Shelf | AEI | AEI | AEI | AEI | 100% |  |  |  | DVT ues AEI only to map HPR
L11
Rack Materials
800G DAC | Amphenol | TE | Molex | Amphenol | 40% | 35% | 25%
AEC | Credo | Molex | Ampheno | Credo | 50% | 50%% | 0 % |  | Amphenol has FW issue
PVT
| Vendor A | Vendor B | Vendor C | Vendor D | Vendor A % | Vendor B % | Vendor C % | Vendor D%
Commodity
2TB Data/Boot Drive | Samsung | Mricon | Kioxia | Kioxia | 34% | 33% | 33%
Thermal
Cold plate w/ manifold | Cooler Master | AVC | Auras | Boyd | 120% | 100% | 20% | 20%
Rack Manifold | Cooler Master | AVC | Auras | Cooler Master | 120% | 100% | 20%
Fan | AVC | Sunon | AVC | Sunon | 125% | 125%
Cables
Busbar Cable | Amphenol | FIT | Amphenol | Amphenol | 100% | 0% | 0%
Rack Power
PVT1- 5.5K PSU/Power Shelf | AEI | Delta | AEI | Delta | 62.5%% | 37.5%% |  |  | PVT1: all NSF | AEIx5 racks (4 to DC) / Deltax3 racks (IGS team)
PVT2- 5.5K PSU/Power Shelf | AEI | Delta | AEI | Delta | 50% | 50% |  |  | PVT2: 40 NSF + 28 DSF (40 NSF to DC + 27 DSF to DC) 1 DSF to IGS GB300
Rack Materials
800G DAC | Amphenol | TE | Molex | Amphenol | 40% | 35% | 25%
AEC | Credo | Molex | Ampheno | Credo | 50% | 25% | 25% |  | Need to check when Amphenol FW can be fixed
DSF only
Transceivers (Optics) | Eoptolink | Innolight | Eoptolink | Innolight
Fiber Cables