## Revision History
TS | Name | Changes
2025-05-07 | Rex Tsai | Ingrasys initial release PVT L10/L11 Build Matrix
2025-05-08 | Rex Tsai | Build 4 configs
2025-05-09 | Rex Tsai | ■ Update QD Matrix ■ BSM adjustment to 09 ■ Adjustment SCM assembly Structure ■ Adjustment E1.S BP qty (2 > 1)
2025-05-22 | Pedro Acosta | PVT - L10 Build Matrix Tab ROW#10 - Added GB300 Module FBPN 19-100774 ROW#122 - Updated GB300 HMC Module MPN ROW#146, 149, 152, 155, 160, 165, 168, 171, 174, 177, 180, 183 - Added new FBPNs PVT - L11 Build Matrix Tab ROW#19 - Added FBPN for NVSwitch 20-100201

## PVT - L10 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Config B | Config C | Config D | Meta Comments | Ingrasys Note
| Description | Vendor A | Vendor B | Vendor C | Vendor D
| Rack Qty | 1 | 1 | 1 | 1
01- CI Compute Tray Assy | ODM PN | 1A72G4C00-600-G (Samsung) 1A72G4D00-600-G (Micron) 1A72G4A00-600-G (WD) | 1A72G4C00-600-G (Samsung) 1A72G4D00-600-G (Micron) 1A72G4A00-600-G (WD) | 1A72G4C00-600-G (Samsung) 1A72G4D00-600-G (Micron) 1A72G4A00-600-G (WD) | 1A72G4C00-600-G (Samsung) 1A72G4D00-600-G (Micron) 1A72G4A00-600-G (WD)
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
19- GB300 Module (Bianca Compute Board for GB300, PVT) HPM + GPU | ODM PN | TEMP-S000235846 | TEMP-S000235846 | TEMP-S000235846 | TEMP-S000235846 | Need to update ODM PN on FBPN
| FB PN | 19-100774 | 19-100774 | 19-100774 | 19-100774
| Vendor | Nvidia | Nvidia | Nvidia | Nvidia
| MPN | 900-2G548-0081-000 | 900-2G548-0081-000 | 900-2G548-0081-000 | 900-2G548-0081-000
| Quantity | 2 | 2 | 2 | 2
19- GPU Assy | ODM PN
| FB PN | TBD | TBD | TBD | TBD
Vendor
MPN
| Quantity | 2 | 2 | 2 | 2
11- CPU | ODM PN
| FB PN | TBD | TBD | TBD | TBD
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | PHantom PN (FBPN=MPN) | PHantom PN (FBPN=MPN) | PHantom PN (FBPN=MPN) | PHantom PN (FBPN=MPN)
| Quantity | 1 | 1 | 1 | 1
10-Memory | ODM PN
| FB PN | TBD | TBD | TBD | TBD
Vendor
MPN
| Quantity | 1 | 1 | 1 | 1
01 - Bianca_QD Matrix1, PVT | ODM PN | CM: TEMP-S000236364 | AVC: TEMP-S000236368 | Auras: TEMP-S000236375 | BOYD: TEMP-S000236380
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000236364 | AVC: TEMP-S000236368 | Auras: TEMP-S000236375 | BOYD: TEMP-S000236380
| Quantity | 1 | 1 | 1 | 1
01 - Bianca_QD Matrix2, PVT | ODM PN | CM: TEMP-S000236365 | AVC: TEMP-S000236369 | Auras: TEMP-S000236377 | BOYD: TEMP-S000236383
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000236365 | AVC: TEMP-S000236369 | Auras: TEMP-S000236377 | BOYD: TEMP-S000236383
| Quantity | 1 | 1 | 1 | 1
01 - Bianca_QD Matrix3, PVT | ODM PN | CM: TEMP-S000236366 | AVC: TEMP-S000236370 | Auras: TEMP-S000236378 | BOYD: TEMP-S000236384
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000236366 | AVC: TEMP-S000236370 | Auras: TEMP-S000236378 | BOYD: TEMP-S000236384
| Quantity | 1 | 1 | 1 | 1
01 - Bianca_QD Matrix4, PVT | ODM PN | CM: TEMP-S000236367 | AVC: TEMP-S000236371 | Auras: TEMP-S000236379 | BOYD: TEMP-S000236385
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: TEMP-S000236367 | AVC: TEMP-S000236371 | Auras: TEMP-S000236379 | BOYD: TEMP-S000236385
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_L (Parker) | ODM PN | CM: TEMP-S000236335 | AVC: TEMP-S000236635 | Auras: TEMP-S000236649 | BOYD: TEMP-S000236279
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05447-01-GP3S2 | AVC: SFA6380002 | Auras: 0S51B00241 | BOYD: 123491
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_R (Parker) | ODM PN | CM: TEMP-S000236336 | AVC: TEMP-S000236636 | Auras: TEMP-S000236650 | BOYD: TEMP-S000236280
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05448-01-GP3S2 | AVC: SFA6390002 | Auras: 0S51B00242 | BOYD: 123492
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_L (Danfoss) | ODM PN | CM: TEMP-S000236333 | AVC: TEMP-S000236633 | Auras: TEMP-S000236647 | BOYD: TEMP-S000236276
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05445-01-GP3S2 | AVC: SFA6360002 | Auras: 0S51B00239 | BOYD: 123489
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Cold plate_R (Danfoss) | ODM PN | CM: TEMP-S000236334 | AVC: TEMP-S000236634 | Auras: TEMP-S000236648 | BOYD: TEMP-S000236277
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05446-01-GP3S2 | AVC: SFA6370002 | Auras: 0S51B00240 | BOYD: 123490
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L (Parker+Parker) | ODM PN | CM: TEMP-S000236358 | AVC: TEMP-S000236644 | Auras: TEMP-S000236657 | BOYD: TEMP-S000236284
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05452-01-GP3S2 | AVC: SFA6460002 | Auras: 0S53B00143 | BOYD: 123495
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R (Parker+Parker) | ODM PN | CM: TEMP-S000236360 | AVC: TEMP-S000236645 | Auras: TEMP-S000236658 | BOYD: TEMP-S000236292
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05453-01-GP3S2 | AVC: SFA6450002 | Auras: 0S53B00144 | BOYD: 123496
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L (Danfoss+Danfoss) | ODM PN | CM: TEMP-S000236356 | AVC: TEMP-S000236641 | Auras: TEMP-S000236655 | BOYD: TEMP-S000236283
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05450-01-GP3S2 | AVC: SFA6480002 | Auras: 0S53B00141 | BOYD: 123493
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R (Danfoss+Danfoss) | ODM PN | CM: TEMP-S000236357 | AVC: TEMP-S000236643 | Auras: TEMP-S000236656 | BOYD: TEMP-S000236291
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05451-01-GP3S2 | AVC: SFA6470002 | Auras: 0S53B00142 | BOYD: 123494
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L (CPC+Parker) | ODM PN | CM: TEMP-S000236348 | AVC: TEMP-S000236639 | Auras: TEMP-S000236653 | BOYD: TEMP-S000236282
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05456-01-GP3S2 | AVC: SFA6510002 | Auras: 0S53B00139 | BOYD: 123499
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R (CPC+Parker) | ODM PN | CM: TEMP-S000236352 | AVC: TEMP-S000236640 | Auras: TEMP-S000236654 | BOYD: TEMP-S000236289
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05457-01-GP3S2 | AVC: SFA6490002 | Auras: 0S53B00140 | BOYD: 123500
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_L (CPC+Danfoss) | ODM PN | CM: TEMP-S000236340 | AVC: TEMP-S000236637 | Auras: TEMP-S000236651 | BOYD: TEMP-S000236281
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05454-01-GP3S2 | AVC: SFA6430002 | Auras: 0S53B00137 | BOYD: 123497
| Quantity | 1 | 1 | 1 | 1
05- Bianca_Inner Manifold_R (CPC+Danfoss) | ODM PN | CM: TEMP-S000236346 | AVC: TEMP-S000236638 | Auras: TEMP-S000236652 | BOYD: TEMP-S000236287
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | BOYD
| MPN | CM: LC-05455-01-GP3S2 | AVC: SFA6440002 | Auras: 0S53B00138 | BOYD: 123498
| Quantity | 1 | 1 | 1 | 1
19- NIC Card CX8 Dual Port 800G | ODM PN | TEMP-S000235180 | TEMP-S000235180 | TEMP-S000235180 | TEMP-S000235180
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Nvidia | Nvidia | Nvidia | Nvidia
| MPN | 900-9X86E-00CX-SP0 900-9X86E-00CX-ST0 | 900-9X86E-00CX-SP0 900-9X86E-00CX-ST0 | 900-9X86E-00CX-SP0 900-9X86E-00CX-ST0 | 900-9X86E-00CX-SP0 900-9X86E-00CX-ST0
| Quantity | 2 | 2 | 2 | 2
19- CX7 Frontend NIC, IO board | ODM PN | TEMP-S000226360 | TEMP-S000226360 | TEMP-S000226360 | TEMP-S000226360
| FB PN | 19-100693 | 19-100693 | 19-100693 | 19-100693
| Vendor | Nvidia | Nvidia | Nvidia | Nvidia
| MPN | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB | CX75343AMC-NEAC_FB
| Quantity | 2 | 2 | 2 | 2
19- HMC module for GB300 | ODM PN | TEMP-S000236257 TBD | TEMP-S000236257 TBD | TEMP-S000236257 TBD | TEMP-S000236257 TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | 900-24764-0000-000 900-24764-0030-000 | 900-24764-0000-000 | 900-24764-0000-000 | 900-24764-0000-000
| Quantity | 1 | 1 | 1 | 1
27- HMC Bracket | ODM PN | 1A72FVN00-600-G | 1A72FVN00-600-G | 1A72FVN00-600-G | 1A72FVN00-600-G
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
09- 2TB E1.S boot drive | ODM PN | Samsung: TEMP-S000225741 | Micron: TEMP-S000225742 | Kioxia: TEMP-S000225743 | Kioxia: TEMP-S000225743
| ODM Assy PN | 1A72D4300-600-G | 1A72D4300-600-G | 1A72D4300-600-G | 1A72D4300-600-G
| FB PN | 09-100274 | 09-100274 | 09-100274 | 09-100274
| Vendor | Samsung | Micron | Kioxia | Kioxia
| MPN | Samsung: MZTL61T9HFJA-00AFB | Micron: MTFDKBT1T9TFR-1BC4DABVA | Kioxia: KXDZDRJJ1T92 | Kioxia: KXDZDRJJ1T92
| Quantity | 1 | 1 | 1 | 1
27- SSD holder | ODM PN | 1A72G6H00-600-G | 1A72G6H00-600-G | 1A72G6H00-600-G | 1A72G6H00-600-G
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
09- 8TB E1.S SSD | ODM PN | Samsung: TEMP-S000225744 Micron: TEMP-S000225746 WD: TEMP-S000225745 | Samsung: TEMP-S000225744 Micron: TEMP-S000225746 WD: TEMP-S000225745 | Samsung: TEMP-S000225744 Micron: TEMP-S000225746 WD: TEMP-S000225745 | Samsung: TEMP-S000225744 Micron: TEMP-S000225746 WD: TEMP-S000225745
| ODM Assy PN | 1A72D4300-600-G | 1A72D4300-600-G | 1A72D4300-600-G | 1A72D4300-600-G
| FB PN | Need one Assy FBPN 09-100273 (Samsung) 09-100272 (Micron) 09-100271 (WD) | Need one Assy FBPN 09-100273 (Samsung) 09-100272 (Micron) 09-100271 (WD) | Need one Assy FBPN 09-100273 (Samsung) 09-100272 (Micron) 09-100271 (WD) | Need one Assy FBPN 09-100273 (Samsung) 09-100272 (Micron) 09-100271 (WD) |  | Need Assy FBPN for each config
| Vendor | Samsung/WD/Micron | Samsung/WD/Micron | Samsung/WD/Micron | Samsung/WD/Micron
| MPN | Samsung: MZOL67T6HBLC-00AFB WD: WUS6A7676PJP8X7 Micron: MTFDLBU7T6THC-1BK4FABVA | Samsung: MZOL67T6HBLC-00AFB WD: WUS6A7676PJP8X7 Micron: MTFDLBU7T6THC-1BK4FABVA | Samsung: MZOL67T6HBLC-00AFB WD: WUS6A7676PJP8X7 Micron: MTFDLBU7T6THC-1BK4FABVA | Samsung: MZOL67T6HBLC-00AFB WD: WUS6A7676PJP8X7 Micron: MTFDLBU7T6THC-1BK4FABVA
| Quantity | 1 | 1 | 1 | 1
27 - 8TB Bracket | ODM PN | 1A72CL900-600-G | 1A72CL900-600-G | 1A72CL900-600-G | 1A72CL900-600-G
| FB PN | 27-100267 | 27-100267 | 27-100267 | 27-100267
| Quantity | 1 | 1 | 1 | 1
19- PDB | ODM PN
| FB PN | 19-100794 | 19-100794 | 19-100794 | 19-100794
| Quantity | 1 | 1 | 1 | 1
19- FIO board | ODM PN
| FB PN | 19-100795 | 19-100795 | 19-100795 | 19-100795
| Quantity | 1 | 1 | 1 | 1
19- OSFP Board | ODM PN
| FB PN | 19-100796 | 19-100796 | 19-100796 | 19-100796
| Quantity | 1 | 1 | 1 | 1
07 - Ultrapass cable (L) | ODM PN | TEMP-S000236570 | TEMP-S000236570 | TEMP-S000236570 | TEMP-S000236570
| FB PN | 07-100945 | 07-100945 | 07-100945 | 07-100945
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | KFGE25-18-A505G6A | KFGE25-18-A505G6A | KFGE25-18-A505G6A | KFGE25-18-A505G6A
| Quantity | 1 | 1 | 1 | 1 | Confirm Quantity
07 - Ultrapass cable (R) | ODM PN | TEMP-S000236571 | TEMP-S000236571 | TEMP-S000236571 | TEMP-S000236571
| FB PN | 07-100946 | 07-100946 | 07-100946 | 07-100946
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | KFGE25-18-A420G6A | KFGE25-18-A420G6A | KFGE25-18-A420G6A | KFGE25-18-A420G6A
| Quantity | 1 | 1 | 1 | 1 | Confirm Quantity
19- SCM BOARD ASSY, SCM + Sensor board + TPM | ODM PN | [5 empty] | NEW
| FB PN | 19-100797 | 19-100797 | 19-100797 | 19-100797
| Quantity | 1 | 1 | 1 | 1
19- SCM BOARD+Sensor board | ODM PN
| FB PN | 19-100798 | 19-100798 | 19-100798 | 19-100798
| Quantity | 2 | 2 | 2 | 2 | Confirm Quantity
19- TPM | ODM PN
| FB PN | 19-100799 | 19-100799 | 19-100799 | 19-100799
| Quantity | 2 | 2 | 2 | 2
27- SCM Bracket | ODM PN
| FB PN | 27-100383 | 27-100383 | 27-100383 | 27-100383
| Quantity | 1 | 1 | 1 | 1
09-BSM | ODM PN
| FB PN | 09-100319 | 09-100319 | 09-100319 | 09-100319
| Quantity | 1 | 1 | 1 | 1
19-E1.S backplane | ODM PN
| FB PN | 19-100800 | 19-100800 | 19-100800 | 19-100800
| Quantity | 1 | 1 | 1 | 1
19- Interposer | ODM PN
| FB PN | 19-100801 | 19-100801 | 19-100801 | 19-100801
| Quantity | 1 | 1 | 1 | 1
05- FAN 4056 | ODM PN | AVC: TEMP-S000235793 | Sunon: TEMP-S000236154 | AVC: TEMP-S000235793 | Sunon: TEMP-S000236154 |  | Foxconn: TEMP-S000235794 Delta: TEMP-S000235795 AVC: TEMP-S000235793 Sunon: TEMP-S000236154 | We have 4 suppliers
| FB PN | TBD | TBD | TBD | TBD |  | TBD
| Vendor | AVC | Sunon | AVC | Sunon |  | Foxconn/Delta/AVC/Sunon
| MPN | AVC: DFPU0456B2UY051 | Sunon: XG40561BX-1Q985-S9W | AVC: DFPU0456B2UY051 | Sunon: XG40561BX-1Q985-S9W |  | Foxconn: PIE040M12H-P77-AB Delta: GFB0412ES-FLUB AVC: DFPU0456B2UY051 Sunon: XG40561BX-1Q985-S9W
| Quantity | 8 | 8 | 8 | 8 |  | 8
07- Busbar Cable | ODM PN | Amphenol: TBD | FIT: TEMP-S000236298 | Amphenol: TBD | Amphenol: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol | FIT | Amphenol | Amphenol
| MPN | Amphenol: TBD | FIT: JPB15CT-ZZ661-DH | Amphenol: TBD | Amphenol: TBD
| Quantity | 1 | 1 | 1 | 1
07- NIC0 3-to-1 cable | ODM PN | Amphenol: TEMP-S000236240 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236240 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236240 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236240 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ168-1428 Molex: TBD FIT: TBD | Amphenol: HGZ168-1428 Molex: TBD FIT: TBD | Amphenol: HGZ168-1428 Molex: TBD FIT: TBD | Amphenol: HGZ168-1428 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- NIC1 3-to 1 cable | ODM PN | Amphenol: TEMP-S000236241 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236241 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236241 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236241 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ168-1429 Molex: TBD FIT: TBD | Amphenol: HGZ168-1429 Molex: TBD FIT: TBD | Amphenol: HGZ168-1429 Molex: TBD FIT: TBD | Amphenol: HGZ168-1429 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- Front IO board SlimSAS | ODM PN | Amphenol: TEMP-S000236242 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236242 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236242 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236242 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HSL38-4101 Molex: TBD FIT: TBD | Amphenol: HSL38-4101 Molex: TBD FIT: TBD | Amphenol: HSL38-4101 Molex: TBD FIT: TBD | Amphenol: HSL38-4101 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- E1.S Backplane power cable | ODM PN | Amphenol: TEMP-S000236237 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236237 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236237 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236237 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT50 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT50 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT50 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT50 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- E1.S Backplane MCIO Y cable L | ODM PN | Amphenol: TEMP-S000236238 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236238 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236238 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236238 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HMC74-D232 Molex: TBD FIT: TBD | Amphenol: HMC74-D232 Molex: TBD FIT: TBD | Amphenol: HMC74-D232 Molex: TBD FIT: TBD | Amphenol: HMC74-D232 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- E1.S Backplane MCIO Y cable R | ODM PN | Amphenol: TEMP-S000236239 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236239 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236239 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236239 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HMC74-D233 Molex: TBD FIT: TBD | Amphenol: HMC74-D233 Molex: TBD FIT: TBD | Amphenol: HMC74-D233 Molex: TBD FIT: TBD | Amphenol: HMC74-D233 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- OSFP PWR cable | ODM PN | Amphenol: TEMP-S000236244 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236244 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236244 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236244 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT47 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT47 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT47 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT47 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- OSFP sideband cable L | ODM PN | Amphenol: TEMP-S000236245 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236245 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236245 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236245 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT48 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT48 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT48 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT48 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- OSFP sideband cable R | ODM PN | Amphenol: TEMP-S000236246 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236246 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236246 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236246 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT49 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT49 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT49 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT49 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- E1.S SSD Y cable | ODM PN | Amphenol: TEMP-S000236243 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236243 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236243 Molex: TBD FIT: TBD | Amphenol: TEMP-S000236243 Molex: TBD FIT: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT | Amphenol/Molex/FIT
| MPN | Amphenol: HGZ56-0986 Molex: TBD FIT: TBD | Amphenol: HGZ56-0986 Molex: TBD FIT: TBD | Amphenol: HGZ56-0986 Molex: TBD FIT: TBD | Amphenol: HGZ56-0986 Molex: TBD FIT: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL, PDB_MB(R)(L) PWR cable | ODM PN | Amphenol: TEMP-S000236247 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236247 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236247 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236247 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT44 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT44 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT44 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT44 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL, CLINK Cable | ODM PN | Amphenol: 351265T00-245-G Bizlink: TEMP-S000236248 | Amphenol: 351265T00-245-G Bizlink: TEMP-S000236248 | Amphenol: 351265T00-245-G Bizlink: TEMP-S000236248 | Amphenol: 351265T00-245-G Bizlink: TEMP-S000236248
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bizlink | Amphenol/Bizlink | Amphenol/Bizlink | Amphenol/Bizlink
| MPN | Amphenol: HMC124-1795 Bizlink: 117H0-147602-R1 | Amphenol: HMC124-1795 Bizlink: 117H0-147602-R1 | Amphenol: HMC124-1795 Bizlink: 117H0-147602-R1 | Amphenol: HMC124-1795 Bizlink: 117H0-147602-R1
| Quantity | 1 | 1 | 1 | 1
07- 2P Management Crossover Cable | ODM PN | Amphenol: TEMP-S000235702 Bizlink: 35109QT00-GE7-G FIT: TEMP-S000236249 Luxshare: TEMP-S000236250 | Amphenol: TEMP-S000235702 Bizlink: 35109QT00-GE7-G FIT: TEMP-S000236249 Luxshare: TEMP-S000236250 | Amphenol: TEMP-S000235702 Bizlink: 35109QT00-GE7-G FIT: TEMP-S000236249 Luxshare: TEMP-S000236250 | Amphenol: TEMP-S000235702 Bizlink: 35109QT00-GE7-G FIT: TEMP-S000236249 Luxshare: TEMP-S000236250
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bizlink/FIT/Luxshare | Amphenol/Bizlink/FIT/Luxshare | Amphenol/Bizlink/FIT/Luxshare | Amphenol/Bizlink/FIT/Luxshare
| MPN | Amphenol: HGZ168-1082 Bizlink: 117H0-143926-R1 FIT: CAMK02L-ZZA01-DH Luxshare: L02GZ061-SD-H | Amphenol: HGZ168-1082 Bizlink: 117H0-143926-R1 FIT: CAMK02L-ZZA01-DH Luxshare: L02GZ061-SD-H | Amphenol: HGZ168-1082 Bizlink: 117H0-143926-R1 FIT: CAMK02L-ZZA01-DH Luxshare: L02GZ061-SD-H | Amphenol: HGZ168-1082 Bizlink: 117H0-143926-R1 FIT: CAMK02L-ZZA01-DH Luxshare: L02GZ061-SD-H
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-1 | ODM PN | Amphenol: TEMP-S000226002 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226002 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226002 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226002 Molex: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA93 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA93 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA93 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA93 Molex: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-2 | ODM PN | Amphenol: TEMP-S000226003 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226003 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226003 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226003 Molex: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA94 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA94 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA94 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA94 Molex: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-3 | ODM PN | Amphenol: TEMP-S000226004 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226004 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226004 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226004 Molex: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA95 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA95 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA95 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA95 Molex: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL, Leakage sensor cable-4 | ODM PN | Amphenol: TEMP-S000226005 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226005 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226005 Molex: TBD JPC: TBD | Amphenol: TEMP-S000226005 Molex: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC | Amphenol/Molex/JPC
| MPN | Amphenol: HWHHW-BA96 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA96 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA96 Molex: TBD JPC: TBD | Amphenol: HWHHW-BA96 Molex: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL,HMC_Interposer MCIO Cable1 | ODM PN | Amphenol: TEMP-S000236251 Luxshare: TBD | Amphenol: TEMP-S000236251 Luxshare: TBD | Amphenol: TEMP-S000236251 Luxshare: TBD | Amphenol: TEMP-S000236251 Luxshare: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare
| MPN | Amphenol: HMC74-D258 Luxshare: TBD | Amphenol: HMC74-D258 Luxshare: TBD | Amphenol: HMC74-D258 Luxshare: TBD | Amphenol: HMC74-D258 Luxshare: TBD
| Quantity | 1 | 1 | 1 | 1
07- CBL,HMC_Interposer MCIO Cable2 | ODM PN | Amphenol: TEMP-S000236252 Luxshare: TBD | Amphenol: TEMP-S000236252 Luxshare: TBD | Amphenol: TEMP-S000236252 Luxshare: TBD | Amphenol: TEMP-S000236252 Luxshare: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare | Amphenol/Luxshare
| MPN | Amphenol: HMC74-D259 Luxshare: TBD | Amphenol: HMC74-D259 Luxshare: TBD | Amphenol: HMC74-D259 Luxshare: TBD | Amphenol: HMC74-D259 Luxshare: TBD
| Quantity | 1 | 1 | 1 | 1
07- PDB Interposer PWR cable | ODM PN | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236253 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT62 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- PDB Interposer sideband cable | ODM PN | Amphenol: TEMP-S000236254 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236254 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236254 Bellwether: TBD JPC: TBD | Amphenol: TEMP-S000236254 Bellwether: TBD JPC: TBD
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC | Amphenol/Bellwether/JPC
| MPN | Amphenol: HWHHW-BT63 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT63 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT63 Bellwether: TBD JPC: TBD | Amphenol: HWHHW-BT63 Bellwether: TBD JPC: TBD
| Quantity | 1 | 1 | 1 | 1
07- MB 12V+GND Busbar 1 | ODM PN | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436 | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436 | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436 | Interplex: TEMP-S000236255 Amphenol: TEMP-S000222436
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol
| MPN | Interplex: 102417-02-SD Amphenol: 730220001 | Interplex: 102417-02-SD Amphenol: 730220001 | Interplex: 102417-02-SD Amphenol: 730220001 | Interplex: 102417-02-SD Amphenol: 730220001
| Quantity | 1 | 1 | 1 | 1
07- MB 12V+GND Busbar 2 | ODM PN | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435 | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435 | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435 | Interplex: TEMP-S000236256 Amphenol: TEMP-S000222435
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol | Interplex/Amphenol
| MPN | Interplex: 102417-01-SD Amphenol: 730210001 | Interplex: 102417-01-SD Amphenol: 730210001 | Interplex: 102417-01-SD Amphenol: 730210001 | Interplex: 102417-01-SD Amphenol: 730210001
| Quantity | 1 | 1 | 1 | 1
27- Compute Tray Chassis Assy | ODM PN | 1A72G0P00-600-G | 1A72G0P00-600-G | 1A72G0P00-600-G | 1A72G0P00-600-G
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 1 | 1 | 1 | 1
Coolant | ODM PN | TEMP-S000189576 | TEMP-S000189576 | TEMP-S000189576 | TEMP-S000189576
| FB PN | 05-100229 | 05-100229 | 05-100229 | 05-100229
| Quantity | 0 | 0 | 0 | 0
Remark | Update
TBD
Delete

## PVT- L11 Build Matrix
For Meta
For Ingrasys
Ingrasys | Configuration | Config A | Config B | Config C | Config D | Meta Comments | Ingrasys Note
| Description | Vendor A | Vendor B | Vendor C | Vendor D
| Rack Qty | 1 | 1 | 1 | 1
Meta Clemente_L11 Rack ASSY, NSF | FBPN | TBD | TBD | TBD | TBD
| ODM PN | 1A72GA900-600-G | 1A72GA900-600-G | 1A72GA900-600-G | 1A72GA900-600-G
Meta Clemente_L11 Rack ASSY, DSF | FBPN | TBD | TBD | TBD | TBD
| ODM PN | 1A72GAA00-600-G | 1A72GAA00-600-G | 1A72GAA00-600-G | 1A72GAA00-600-G
01- CI Compute Tray Assy | ODM PN | 1A72G4C00-600-G (Samsung) 1A72G4D00-600-G (Micron) 1A72G4A00-600-G (WD) | 1A72G4C00-600-G (Samsung) 1A72G4D00-600-G (Micron) 1A72G4A00-600-G (WD) | 1A72G4C00-600-G (Samsung) 1A72G4D00-600-G (Micron) 1A72G4A00-600-G (WD) | 1A72G4C00-600-G (Samsung) 1A72G4D00-600-G (Micron) 1A72G4A00-600-G (WD)
| FB PN | TBD | TBD | TBD | TBD
| Quantity | 18 | 18 | 18 | 18
01- CI RMC Tray Assy | ODM PN | TEMP-S000235726 | TEMP-S000235726 | TEMP-S000235726 | TEMP-S000235726
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Qunta | Qunta | Qunta | Qunta
| MPN | 3RL05MA00A0 | 3RL05MA00A0 | 3RL05MA00A0 | 3RL05MA00A0
| Quantity | 1 | 1 | 1 | 1
20 - CI NVSO Tray Assy | ODM PN | TEMP-S000228117 | TEMP-S000228117 | TEMP-S000228117 | TEMP-S000228117 | Need to update ODM PN on FBPN
| FB PN | 20-100201 | 20-100201 | 20-100201 | 20-100201
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | 920-9K33R-00MV-GS0 | 920-9K33R-00MV-GS0 | 920-9K33R-00MV-GS0 | 920-9K33R-00MV-GS0
| Quantity | 9 | 9 | 9 | 9
55 - Rack & Power Sub-assy | ODM PN | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G
| FB PN | TBD | TBD | TBD | TBD
| Vendor | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2
| MPN | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G | 1A72E3W00-600-G
| Quantity | 1 | 1 | 1 | 1
06- IT Rack Frame | ODM PN | TEMP-S000229614 | TEMP-S000229614 | TEMP-S000229614 | TEMP-S000229614
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Rittal | Rittal | Rittal | Rittal
| MPN | 7844664 | 7844664 | 7844664 | 7844664
| Quantity | 1 | 1 | 1 | 1
Canister | ODM PN | 1A72B7000-600-G2 | 1A72B7000-600-G2 | 1A72B7000-600-G2 | 1A72B7000-600-G2 |  | Add this item from EVT Build Matrix
| FB PN | 27-100238 | 27-100238 | 27-100238 | 27-100238 | Initially created for Quanta, Can we use the same FBPN for Ingrasys?
| Quantity | 1 | 1 | 1 | 1
Cable Cartridge (Left/Right) | ODM PN | TEMP-S000224304 | TEMP-S000224304 | TEMP-S000224304 | TEMP-S000224304 |  | Add this item from EVT Build Matrix
| FB PN | 07-100580 | 07-100580 | 07-100580 | 07-100580
| Vendor | NVIDIA | NVIDIA | NVIDIA | NVIDIA
| MPN | 965-24972-0020-000 | 965-24972-0020-000 | 965-24972-0020-000 | 965-24972-0020-000
| Quantity | 1 | 1 | 1 | 1
27- ORV3 power shelf rail | ODM PN | TEMP-S000222271 | TEMP-S000222271 | TEMP-S000222271 | TEMP-S000222271
| FB PN | 27-001501 | 27-001501 | 27-001501 | 27-001501
| Vendor | Rittal | Rittal | Rittal | Rittal
| MPN | 7844557 | 7844557 | 7844557 | 7844557
| Quantity | 8 | 8 | 8 | 8
27- ORV3 IT rail | ODM PN | TEMP-S000222274 | TEMP-S000222274 | TEMP-S000222274 | TEMP-S000222274
| FB PN | 27-001499 | 27-001499 | 27-001499 | 27-001499
| Vendor | Rittal | Rittal | Rittal | Rittal
| MPN | 7844556 | 7844556 | 7844556 | 7844556
| Quantity | 3 | 3 | 3 | 3
27- MiniPack3 Railkit | ODM PN | TEMP-S000227145 | TEMP-S000227145 | TEMP-S000227145 | TEMP-S000227145
| FB PN | 27-001629 | 27-001629 | 27-001629 | 27-001629
| Vendor | KingSlide | KingSlide | KingSlide | KingSlide
| MPN | U602-625-IM | U602-625-IM | U602-625-IM | U602-625-IM
| Quantity | 1 | 1 | 1 | 1
27- L10 system rail kit | ODM PN | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736 | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736 | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736 | KS1: TEMP-S000222734 KS2: TEMP-S000222735 KS3: TEMP-S000222736
| FB PN | 27-100239 | 27-100239 | 27-100239 | 27-100239
| Vendor | Kingslide | Kingslide | Kingslide | Kingslide
| MPN | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP | Kingslide1: A5682627DPZZBNQ Kingslide2: A5682627DPZZANQ Kingslide3: A5682627CPZZ1NP
| Quantity | 27 | 27 | 27 | 27
DVT cold rack manifold | ODM PN | TEMP-S000227453 TEMP-S000230373 TEMP-S000230374 | TEMP-S000232114 TEMP-S000232115 TEMP-S000232116 | TEMP-S000230502 TEMP-S000230503 TEMP-S000231831 | TEMP-S000227453 TEMP-S000230373 TEMP-S000230374
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | Cooler Master
| MPN | Cooler Master : LC-05124-01-GP2S1 Cooler Master : LC-05250-01-GP2S1 Cooler Master : LC-05251-01-GP2S1 | AVC : SFA4890001 AVC : SFA4360001 AVC : SFA4920001 | Auras : 0S53B00059 Auras : 0S53B00072 Auras : 0S53B00084 | Cooler Master : LC-05124-01-GP2S1 Cooler Master : LC-05250-01-GP2S1 Cooler Master : LC-05251-01-GP2S1
| Quantity | 1 | 1 | 1 | 1
DVT hot rack manifold | ODM PN | TEMP-S000227454 TEMP-S000230375 TEMP-S000230376 | TEMP-S000232117 TEMP-S000232118 TEMP-S000232119 | TEMP-S000230504 TEMP-S000230505 TEMP-S000231832 | TEMP-S000227454 TEMP-S000230375 TEMP-S000230376
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master | AVC | Auras | Cooler Master
| MPN | Cooler Master : LC-05125-01-GP2S1 Cooler Master : LC-05252-01-GP2S1 Cooler Master : LC-05253-01-GP2S1 | AVC : SFA4880001 AVC : SFA4370001 AVC : SFA4930001 | Auras : 0S53B00060 Auras : 0S53B00073 Auras : 0S53B00085 | Cooler Master : LC-05125-01-GP2S1 Cooler Master : LC-05252-01-GP2S1 Cooler Master : LC-05253-01-GP2S1
| Quantity | 1 | 1 | 1 | 1
DVT hose kit cold 4ft | ODM PN | TEMP-S000230377 TEMP-S000232120 TEMP-S000231833 | TEMP-S000230377 TEMP-S000232120 TEMP-S000231833 | TEMP-S000230377 TEMP-S000232120 TEMP-S000231833 | TEMP-S000230377 TEMP-S000232120 TEMP-S000231833
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05191-01-GP2S2 AVC : P130000010 Auras : 0S53B00086 | Cooler Master : LC-05191-01-GP2S2 AVC : P130000010 Auras : 0S53B00086 | Cooler Master : LC-05191-01-GP2S2 AVC : P130000010 Auras : 0S53B00086 | Cooler Master : LC-05191-01-GP2S2 AVC : P130000010 Auras : 0S53B00086
| Quantity | 1 | 1 | 1 | 1
DVT hose kit cold 6ft | ODM PN | TEMP-S000230378 TEMP-S000232121 TEMP-S000231834 | TEMP-S000230378 TEMP-S000232121 TEMP-S000231834 | TEMP-S000230378 TEMP-S000232121 TEMP-S000231834 | TEMP-S000230378 TEMP-S000232121 TEMP-S000231834
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05193-01-GP2S2 AVC : P130000012 Auras : 0S53B00087 | Cooler Master : LC-05193-01-GP2S2 AVC : P130000012 Auras : 0S53B00087 | Cooler Master : LC-05193-01-GP2S2 AVC : P130000012 Auras : 0S53B00087 | Cooler Master : LC-05193-01-GP2S2 AVC : P130000012 Auras : 0S53B00087
| Quantity | 2 | 2 | 2 | 2
DVT hose kit hot 4ft | ODM PN | TEMP-S000230380 TEMP-S000232122 TEMP-S000231835 | TEMP-S000230380 TEMP-S000232122 TEMP-S000231835 | TEMP-S000230380 TEMP-S000232122 TEMP-S000231835 | TEMP-S000230380 TEMP-S000232122 TEMP-S000231835
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05192-01-GP2S2 AVC : P130000014 Auras : 0S53B00088 | Cooler Master : LC-05192-01-GP2S2 AVC : P130000014 Auras : 0S53B00088 | Cooler Master : LC-05192-01-GP2S2 AVC : P130000014 Auras : 0S53B00088 | Cooler Master : LC-05192-01-GP2S2 AVC : P130000014 Auras : 0S53B00088
| Quantity | 1 | 1 | 1 | 1
DVT hose kit hot 6ft | ODM PN | TEMP-S000230381 TEMP-S000232123 TEMP-S000231836 | TEMP-S000230381 TEMP-S000232123 TEMP-S000231836 | TEMP-S000230381 TEMP-S000232123 TEMP-S000231836 | TEMP-S000230381 TEMP-S000232123 TEMP-S000231836
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras | Cooler Master/ AVC/ Auras
| MPN | Cooler Master : LC-05194-01-GP2S2 AVC : P130000016 Auras : 0S53B00089 | Cooler Master : LC-05194-01-GP2S2 AVC : P130000016 Auras : 0S53B00089 | Cooler Master : LC-05194-01-GP2S2 AVC : P130000016 Auras : 0S53B00089 | Cooler Master : LC-05194-01-GP2S2 AVC : P130000016 Auras : 0S53B00089
| Quantity | 2 | 2 | 2 | 2
14- Power Shelf | ODM PN | TEMP-S000225752 | TEMP-S000222275 | TEMP-S000225752 | TEMP-S000222275
| FB PN | 14-100015 14-100009 | 14-100015 14-100009 | 14-100015 14-100009 | 14-100015 14-100009
| Vendor | AEI | Delta | AEI | Delta
| MPN | AEI : 700-037148-1000 | Delta : ECD68000020 | AEI : 700-037148-1000 | Delta : ECD68000020
| Quantity | 4 | 4 | 4 | 4
03- PSU (5.5 KW) | ODM PN | TEMP-S000225753 | TEMP-S000222284 | TEMP-S000225753 | TEMP-S000222284
| FB PN | 03-100049 03-100038 | 03-100049 03-100038 | 03-100049 03-100038 | 03-100049 03-100038
| Vendor | AEI | Delta | AEI | Delta
| MPN | AEI :700-037147-0000 | Delta : ECD17010021 REV.02/P2 | AEI :700-037147-0000 | Delta : ECD17010021 REV.02/P2
| Quantity | 24 | 24 | 24 | 24
07- ORV3 AC Whip, 1600MM | ODM PN | TEMP-S000232312 | TEMP-S000232312 | TEMP-S000232312 | TEMP-S000232312 |  | Update by new design(1600MM*4, 3800MM*4)
| FB PN | 07-100775 | 07-100775 | 07-100775 | 07-100775
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | 10178161-C7A301 | 10178161-C7A301 | 10178161-C7A301 | 10178161-C7A301
| Quantity | 4 | 4 | 4 | 4
07- ORV3 AC Whip, 3800MM | ODM PN | TEMP-S000227146 | TEMP-S000227146 | TEMP-S000227146 | TEMP-S000227146 |  | Update by new design(1600MM*4, 3800MM*4)
| FB PN | 07-100609 | 07-100609 | 07-100609 | 07-100609
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | 10178161-C7A303 | 10178161-C7A303 | 10178161-C7A303 | 10178161-C7A303
| Quantity | 8 --> 4 | 8 --> 4 | 8 --> 4 | 8 --> 4 |  | Update Quantity
54 - Network Sub-assy | ODM PN | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G
| FB PN | TBD | TBD | TBD | TBD
| Vendor | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2 | FOXCONN/EPD2
| MPN | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G | 1A72E4000-600-G
| Quantity | 1 | 1 | 1 | 1
20 - Minipack3 ORV3 DC bundle (include PSU + power cord) | ODM PN | TEMP-S000224821 | TEMP-S000224821 | TEMP-S000224821 | TEMP-S000224821
| FB PN | 30-100078 | 30-100078 | 30-100078 | 30-100078
| Vendor | Celestica | Celestica | Celestica | Celestica
| MPN | R3214-F9013-A2 | R3214-F9013-A2 | R3214-F9013-A2 | R3214-F9013-A2
| Quantity | 1 | 1 | 1 | 1
27- MiniPack3 Outer shelf | ODM PN | TEMP-S000227194 | TEMP-S000227194 | TEMP-S000227194 | TEMP-S000227194
| FB PN | 27-100124 | 27-100124 | 27-100124 | 27-100124
| Vendor | IMG | IMG | IMG | IMG
| MPN | R4002-F0101-03 | R4002-F0101-03 | R4002-F0101-03 | R4002-F0101-03
| Quantity | 1 | 1 | 1 | 1
20- Management Switch 7010, come with tray | ODM PN | TEMP-S000222287 | TEMP-S000222287 | TEMP-S000222287 | TEMP-S000222287
| FB PN | 20-100100 | 20-100100 | 20-100100 | 20-100100
| Vendor | Arista | Arista | Arista | Arista
| MPN | FB-7010TX-48C-DC-RV3-F | FB-7010TX-48C-DC-RV3-F | FB-7010TX-48C-DC-RV3-F | FB-7010TX-48C-DC-RV3-F
| Quantity | 1 | 1 | 1 | 1
07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 1m | ODM PN | TEMP-S000235725 | TEMP-S000235670 | TEMP-S000235841 | TEMP-S000235725
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Credo | Molex | Amphenol | Credo
| MPN | Credo : CAC81X321A1B-C1-MT | Molex : 2253611217 | Amphenol : NNDGJA-F301 | Credo : CAC81X321A1B-C1-MT
| Quantity | 48 | 48 | 48 | 48
07- 800G AEC/DAC ( Compute/GPU tray to MP3 RTSW) - 1.2m | ODM PN | TEMP-S000235724 | TEMP-S000235669 | TEMP-S000235842 | TEMP-S000235724
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Credo | Molex | Amphenol | Credo
| MPN | Credo : CAC812321A1B-C1-MT | Molex : 2253611218 | Amphenol : NNDGJA-F314 | Credo : CAC812321A1B-C1-MT
| Quantity | 24 | 24 | 24 | 24
07- 800G OSFP to 2x400G OSFP DAC, 1.5 m | ODM PN | TEMP-S000235723 | TEMP-S000235838 | TEMP-S000230888 | TEMP-S000235723
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol | TE | Molex | Amphenol
| MPN | Amphenol : NND1DE-F307 | TE : 1-2494894-1 | Molex : 2111776115 | Amphenol : NND1DE-F307
| Quantity | 10 | 10 | 10 | 10
07- 800G OSFP to 2x400G OSFP DAC, 1.7 m | ODM PN | TEMP-S000236285 | TEMP-S000230889 | TEMP-S000235722 | TEMP-S000236285
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol | TE | Molex | Amphenol
| MPN | Amphenol : NND1DE-F336 | TE : 2494894-9 | Molex : 2111776117 | Amphenol : NND1DE-F336
| Quantity | 5 | 5 | 5 | 5
07- 800G OSFP to 2x400G OSFP DAC, 2.2 m | ODM PN | TEMP-S000236286 | TEMP-S000235840 | TEMP-S000235839 | TEMP-S000236286
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol | TE | Molex | Amphenol
| MPN | Amphenol : NND1DM-F330 | TE : 2498990-5 | Molex : 2111776322 | Amphenol : NND1DM-F330
| Quantity | 3 | 3 | 3 | 3
07- 10G DAC -2500mm (SFP+ to SFP+) | ODM PN | TEMP-S000222299 TEMP-S000230893 | TEMP-S000222299 TEMP-S000230893 | TEMP-S000222299 TEMP-S000230893 | TEMP-S000222299 TEMP-S000230893
| FB PN | 07-100679 | 07-100679 | 07-100679 | 07-100679
| Vendor | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether
| MPN | LXP : L02SF085-SD-H Bellwether : 76697-904W | LXP : L02SF085-SD-H Bellwether : 76697-904W | LXP : L02SF085-SD-H Bellwether : 76697-904W | LXP : L02SF085-SD-H Bellwether : 76697-904W
| Quantity | 1 | 1 | 1 | 1
07- 10G DAC -2500mm (SFP+ to QSFP28) | ODM PN | TEMP-S000227577 TEMP-S000230894 | TEMP-S000227577 TEMP-S000230894 | TEMP-S000227577 TEMP-S000230894 | TEMP-S000227577 TEMP-S000230894
| FB PN | 07-100676 | 07-100676 | 07-100676 | 07-100676
| Vendor | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether | LXP/ Bellwether
| MPN | LXP : L02QF025-SD-H Bellwether : 76697-903W | LXP : L02QF025-SD-H Bellwether : 76697-903W | LXP : L02QF025-SD-H Bellwether : 76697-903W | LXP : L02QF025-SD-H Bellwether : 76697-903W
| Quantity | 2 | 2 | 2 | 2
07- RJ45 Cable, shield, Yellow - 300mm | ODM PN | TEMP-S000235673 TEMP-S000235721 | TEMP-S000235673 TEMP-S000235721 | TEMP-S000235673 TEMP-S000235721 | TEMP-S000235673 TEMP-S000235721
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250706B Bellwether : 76183-460R | GLE : WJE250706B Bellwether : 76183-460R | GLE : WJE250706B Bellwether : 76183-460R | GLE : WJE250706B Bellwether : 76183-460R
| Quantity | 4 | 4 | 4 | 4
07- RJ45 Cable, shield, Yellow - 1000mm | ODM PN | TEMP-S000222302 TEMP-S000235719 | TEMP-S000222302 TEMP-S000235719 | TEMP-S000222302 TEMP-S000235719 | TEMP-S000222302 TEMP-S000235719
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240762B Bellwether : 76183-461R | GLE : WJE240762B Bellwether : 76183-461R | GLE : WJE240762B Bellwether : 76183-461R | GLE : WJE240762B Bellwether : 76183-461R
| Quantity | 10 | 10 | 10 | 10
07- RJ45 Cable, shield, Yellow - 1200mm | ODM PN | TEMP-S000222304 TEMP-S000235718 | TEMP-S000222304 TEMP-S000235718 | TEMP-S000222304 TEMP-S000235718 | TEMP-S000222304 TEMP-S000235718
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240791B Bellwether : 76183-462R | GLE : WJE240791B Bellwether : 76183-462R | GLE : WJE240791B Bellwether : 76183-462R | GLE : WJE240791B Bellwether : 76183-462R
| Quantity | 8 | 8 | 8 | 8
07- RJ45 Cable, shield, Yellow - 1550mm | ODM PN | TEMP-S000235674 TEMP-S000235720 | TEMP-S000235674 TEMP-S000235720 | TEMP-S000235674 TEMP-S000235720 | TEMP-S000235674 TEMP-S000235720
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250716B Bellwether : 76183-463R | GLE : WJE250716B Bellwether : 76183-463R | GLE : WJE250716B Bellwether : 76183-463R | GLE : WJE250716B Bellwether : 76183-463R
| Quantity | 10 | 10 | 10 | 10
07- RJ45 Cable, shield, Yellow - 1800mm | ODM PN | TEMP-S000222323 TEMP-S000235715 | TEMP-S000222323 TEMP-S000235715 | TEMP-S000222323 TEMP-S000235715 | TEMP-S000222323 TEMP-S000235715
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240797B Bellwether : 76183-464R | GLE : WJE240797B Bellwether : 76183-464R | GLE : WJE240797B Bellwether : 76183-464R | GLE : WJE240797B Bellwether : 76183-464R
| Quantity | 9 | 9 | 9 | 9
07- RJ45 Cable, shield, Yellow - 2000mm | ODM PN | TEMP-S000222325 TEMP-S000230898 | TEMP-S000222325 TEMP-S000230898 | TEMP-S000222325 TEMP-S000230898 | TEMP-S000222325 TEMP-S000230898
| FB PN | 07-100392 | 07-100392 | 07-100392 | 07-100392
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE240799B Bellwether : 76183-457R | GLE : WJE240799B Bellwether : 76183-457R | GLE : WJE240799B Bellwether : 76183-457R | GLE : WJE240799B Bellwether : 76183-457R
| Quantity | 10 | 10 | 10 | 10
07- RJ45 Cable, shield, Yellow -6500mm | ODM PN | TEMP-S000226126 TEMP-S000230899 | TEMP-S000226126 TEMP-S000230899 | TEMP-S000226126 TEMP-S000230899 | TEMP-S000226126 TEMP-S000230899
| FB PN | 07-100684 | 07-100684 | 07-100684 | 07-100684
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250008B Bellwether : 76183-455R | GLE : WJE250008B Bellwether : 76183-455R | GLE : WJE250008B Bellwether : 76183-455R | GLE : WJE250008B Bellwether : 76183-455R
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 600mm | ODM PN | TEMP-S000235705 TEMP-S000235706 | TEMP-S000235705 TEMP-S000235706 | TEMP-S000235705 TEMP-S000235706 | TEMP-S000235705 TEMP-S000235706
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250718B Bellwether : 76183-470R | GLE : WJE250718B Bellwether : 76183-470R | GLE : WJE250718B Bellwether : 76183-470R | GLE : WJE250718B Bellwether : 76183-470R
| Quantity | 2 | 2 | 2 | 2
07- RJ45 Cable, shield, GREEN, 1300mm | ODM PN | TEMP-S000235707 TEMP-S000235708 | TEMP-S000235707 TEMP-S000235708 | TEMP-S000235707 TEMP-S000235708 | TEMP-S000235707 TEMP-S000235708
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250719B Bellwether : 76183-471R | GLE : WJE250719B Bellwether : 76183-471R | GLE : WJE250719B Bellwether : 76183-471R | GLE : WJE250719B Bellwether : 76183-471R
| Quantity | 2 | 2 | 2 | 2
07- RJ45 Cable, shield, GREEN, 1800mm | ODM PN | TEMP-S000235717 TEMP-S000235715 | TEMP-S000235717 TEMP-S000235715 | TEMP-S000235717 TEMP-S000235715 | TEMP-S000235717 TEMP-S000235715
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250720B Bellwether : 76183-464R | GLE : WJE250720B Bellwether : 76183-464R | GLE : WJE250720B Bellwether : 76183-464R | GLE : WJE250720B Bellwether : 76183-464R
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 2000mm | ODM PN | TEMP-S000235713 TEMP-S000235714 | TEMP-S000235713 TEMP-S000235714 | TEMP-S000235713 TEMP-S000235714 | TEMP-S000235713 TEMP-S000235714
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250704B Bellwether : 76183-465R | GLE : WJE250704B Bellwether : 76183-465R | GLE : WJE250704B Bellwether : 76183-465R | GLE : WJE250704B Bellwether : 76183-465R
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 2100mm | ODM PN | TEMP-S000235711 TEMP-S000235712 | TEMP-S000235711 TEMP-S000235712 | TEMP-S000235711 TEMP-S000235712 | TEMP-S000235711 TEMP-S000235712
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250721B Bellwether : 76183-476R | GLE : WJE250721B Bellwether : 76183-476R | GLE : WJE250721B Bellwether : 76183-476R | GLE : WJE250721B Bellwether : 76183-476R
| Quantity | 6 | 6 | 6 | 6
07- RJ45 Cable, shield, GREEN, 2800mm | ODM PN | TEMP-S000235710 TEMP-S000235709 | TEMP-S000235710 TEMP-S000235709 | TEMP-S000235710 TEMP-S000235709 | TEMP-S000235710 TEMP-S000235709
| FB PN | TBD | TBD | TBD | TBD
| Vendor | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether | GLE/ Bellwether
| MPN | GLE : WJE250722B Bellwether : 76183-477R | GLE : WJE250722B Bellwether : 76183-477R | GLE : WJE250722B Bellwether : 76183-477R | GLE : WJE250722B Bellwether : 76183-477R
| Quantity | 2 | 2 | 2 | 2
07- Leakage sensor RJ45 cable - 5600mm | ODM PN | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704 | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704 | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704 | TEMP-S000222267 TEMP-S000230369 TEMP-S000231548 TEMP-S000232704
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212 | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212 | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212 | Amphenpl : HWHHW-AA08 Amphenpl : HWHHW-BF76 JPC : PCB012701444-1 Molex : 686031212
| Quantity | 1 | 1 | 1 | 1
07- Hot RMF leakage sensor cable - 5500mm | ODM PN | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705 | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705 | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705 | TEMP-S000230781 TEMP-S000231549 TEMP-S000232705
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211 | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211 | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211 | Amphenpl : HWHHW-AW42 JPC : PCB012701444-3 Molex : 686031211
| Quantity | 1 | 1 | 1 | 1
07- Cold RMF leakage sensor cable - 6500mm | ODM PN | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706 | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706 | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706 | TEMP-S000230782 TEMP-S000231550 TEMP-S000232706
| FB PN | TBD | TBD | TBD | TBD
| Vendor | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex | Amphenol/ JPC/ Molex
| MPN | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210 | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210 | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210 | Amphenpl : HWHHW-AW41 JPC : PCB012701444-2 Molex : 686031210
| Quantity | 1 | 1 | 1 | 1
Termination plug, 120 ohm | ODM PN | TEMP-S000227590 | TEMP-S000227590 | TEMP-S000227590 | TEMP-S000227590
| FB PN | 27-100417 | 27-100417 | 27-100417 | 27-100417
| Vendor | Amphenol | Amphenol | Amphenol | Amphenol
| MPN | RJP-1MF-0002-HF | RJP-1MF-0002-HF | RJP-1MF-0002-HF | RJP-1MF-0002-HF
| Quantity | 1 | 1 | 1 | 1
1OU Pizza Box | ODM PN | TEMP-S000223211 | TEMP-S000223211 | TEMP-S000223211 | TEMP-S000223211
| FB PN | 05-000676 | 05-000676 | 05-000676 | 05-000676
| Vendor | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging
| MPN | BRP-61425.ARB | BRP-61425.ARB | BRP-61425.ARB | BRP-61425.ARB
| Quantity | 1 | 1 | 1 | 1
2OU Pizza Box | ODM PN | TEMP-S000223212 | TEMP-S000223212 | TEMP-S000223212 | TEMP-S000223212
| FB PN | 05-000677 | 05-000677 | 05-000677 | 05-000677
| Vendor | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging | Blue Rose Packaging
| MPN | BRP-63320.ARB | BRP-63320.ARB | BRP-63320.ARB | BRP-63320.ARB
| Quantity | 3 | 3 | 3 | 3
Remark | Update
TBD
Delete

## GB300
DVT
| Vendor A | Vendor B | Vendor C | Vendor D | Vendor A % | Vendor B % | Vendor C % | Vendor D%
Commodity
2TB Data/Boot Drive | Samsung(PM9D3a) | Mricon (7450) | Kioxia (X7DP) | Samsung(PM9D3a) | 34% | 33% | 33%
4x 8TB E1.S 25mm data drive | Samsung(PM9D3a) | WD(SN861) | Micron(7550 | Samsung(PM9D3a) | 34% | 33% | 33%
Thermal
Cold plate w/ manifold | Cooler Master | AVC | Auras | Boyd | 120% | 100% | 20% | 20% |  |  | L10
Rack Manifold | Cooler Master | AVC | Auras | Cooler Master | 120% | 100% | 20% |  |  |  | L11
Fan | AVC | Sunon | AVC | Sunon | 125% | 125% |  |  | Need to check with Srinivas |  | L10
Cables
Busbar Cable | Amphenol | FIT | Amphenol | Amphenol | 100% | 0% | 0% |  | FIX RD samples for verify
Rack Power
5.5K PSU/Power Shelf | AEI | AEI | AEI | AEI | 100% |  |  |  | DVT ues AEI only to map HPR
L11
Rack Materials
800G DAC | Amphenol | TE | Molex | Amphenol | 40% | 35% | 25%
AEC | Credo | Molex | Ampheno | Credo | 50% | 50%% | 0 % |  | Amphenol has FW issue
PVT
| Vendor A | Vendor B | Vendor C | Vendor D | Vendor A % | Vendor B % | Vendor C % | Vendor D%
Commodity
2TB Data/Boot Drive | Samsung | Mricon | Kioxia | Kioxia | 34% | 33% | 33%
Thermal
Cold plate w/ manifold | Cooler Master | AVC | Auras | Boyd | 120% | 100% | 20% | 20%
Rack Manifold | Cooler Master | AVC | Auras | Cooler Master | 120% | 100% | 20%
Fan | AVC | Sunon | AVC | Sunon | 125% | 125%
Cables
Busbar Cable | Amphenol | FIT | Amphenol | Amphenol | 100% | 0% | 0%
Rack Power
PVT1- 5.5K PSU/Power Shelf | AEI | Delta | AEI | Delta | 62.5%% | 37.5%% |  |  | PVT1: all NSF | AEIx5 racks (4 to DC) / Deltax3 racks (IGS team)
PVT2- 5.5K PSU/Power Shelf | AEI | Delta | AEI | Delta | 50% | 50% |  |  | PVT2: 40 NSF + 28 DSF (40 NSF to DC + 27 DSF to DC) 1 DSF to IGS GB300
Rack Materials
800G DAC | Amphenol | TE | Molex | Amphenol | 40% | 35% | 25%
AEC | Credo | Molex | Ampheno | Credo | 50% | 25% | 25% |  | Need to check when Amphenol FW can be fixed
DSF only
Transceivers (Optics) | Eoptolink | Innolight | Eoptolink | Innolight
Fiber Cables